## Slide 1: 3D-projection detector prototypes for DAMSA
Haohui Che (WashU)
Guang Yang (BNL Mentor)

## Slide 2: 3D-projection scintillator detector (3DSD)
3D array of optically isolated scintillator cubes
Cube size and material can vary. For this talk I will focus on 1cm plastic cube.
3D readout with 3 WLS fibers passing through each cube and connected to MPPCs (multi-pixel photon counters)
2018 JINST 13 P02006 NIM A936 (2019) 136-138
Fully active!
Single fiber 0.9 ns timing resolution: Fast timing!
1-cm-scale size:
Fine granularity!
>50 PE/MeV each readout: High light yield!

## Slide 3: In neutrino experiments - serving as target + tracker + calorimeter
Not only tagging, this detector can measure the neutron kinematics!
SuperFGD in T2K near detector (being built)
3DST in DUNE near detector (proposed)

## Slide 4: Data (Cosmic muon)

## Slide 5: Trigger and Spill system
GlobalTag
(int, 10𝜇s)
0
1
3
2
4
5
6
7
0
spillTimeGTag
(int, 10ns)
GTrigTime
(int, 10𝜇s)
leadTime
(int, 2.5𝜇s)
hitTimefromSpill
(int, 2.5ns)
Spill = External Trigger

## Slide 6: Analysis flow
feb#.daq
TDMunpack
slot1.daq
slot2.daq
slot0.daq
…
unpack
raw.root
Calibration
calib.root
EventStructure_12free
events.root
EventDisplayLite
event_display.root
Event_PNG  event#.png
3D_EventTrajectory
3D_AllEvents
GroupRes.root

## Slide 7: Event Selection
List of 2D hits
Filter >20PE
List of 2D hits >20PE (Seeds)
Sort by time
Spill 0
Select first seed
Check 10ticks b/a for seeds
Y/N
Group the seed
Check for hits in seed group range
Add seeds and hits to event
Make Event0
Event 0
Mark all hits as used
Select first seed (unused)
Make Event+1
Spill +1
Check smaller than Spill size-1
Y/N
events.root
Events 0-n
Event 0
Filter >15PE
List of hits >15PE
Check if size > 17
Y/N
Event Discarded
Plot Three View Histogram

## Slide 8: Voxel reconstruction
Hit0
(XY)
Hit1
(XZ)
Hit2
(ZY)
.
.
.
.
.
.
.
.
.
Hit0
(XY)
Get X
Iterative matching between XZ hits
Get Y
Iterative matching between XZ hits
Potential Coinc. Hits (XZ)
Potential Coinc. Hits (ZY)
Get Z
Get Z
Iterative matching
(XZ to ZY)
Y/N
Full view hits list
Store Full view hit
Hits released
Unused hits list
Hits marked used
Next HitA (XY)
Some additional nuance not included
All XY Hits checked
Dual view hits matching

## Slide 9: Dual view hits matching
Unused
HitA
(XY)
Get X
Iterative matching between XZ hits
Matched Hits (XZ)
Mark hits as used
2 View Hits list (XY-XZ)
Non- Matching XZ
Hits Released
Unused Hits list
Next HitA (XY)
All XY Hits checked
2 View Hits Matching (XY-ZY)
All XY Hits checked
2 View Hits Matching (ZY-XZ)
Mark hits as used
2 View Hits list (XY-ZY)
Mark hits as used
2 View Hits list (ZY-XZ)

## Slide 10: Pre resolve results

## Slide 11: Dual View Hits Resolution
Hit0
(FV)
Hit1
(PV XY-XZ)
Hit2
(PV XY-ZY)
.
.
.
.
.
.
.
.
.
Hit2
(PV ZY-XZ)
.
.
.
Hit0
(FV)
Check XY View Overlap
Group XY Overlapped Hits
Hit1
(PV)
Identify Missing View
Hits-Missing view match
Check XZ View Overlap
Group XZ Overlapped Hits
Check ZY View Overlap
Group ZY Overlapped Hits
Loop through PV hits
Check if missing view = overlapped view
Resolve missing view timing as Overlapped FV
Loop through PV hits
Loop through PV hits
Charge interpolation
h3D_All TTree
Calculate max time difference between views for PV
Assign Confidence level with dT
h3D_Alpha TTree

## Slide 12: Post resolve results

## Slide 13: Theta Phi distribution
Match Expectations!
Theta drops off near 0 (Straight down) because of solid angle effects
10% error bar to account for multi-tracks and split/bent/decay events

## Slide 14: Thank You!
Haohui Che