## Slide 1: Tracing proposals for non-beam components by BE-GM
Anna-Sarah Mezzatesta – HL-LHC Integration Meeting – 04/07/2025

## Slide 2: Support of BE-GM for HL-LHC installation
HL-LHC installation will present significant challenges, given the participation of multiple equipment owners and the tight installation tolerances.
Avoid any interferences between equipment and delays in the installation
In response to the HL-LHC project’s request, the BE-GM group proposes to offer its support for the tracing of non-beam elements (out of the BE-GM mandate).
  Significant increase of the tracing requirements
  Need to define a new workflow & Automatise the tracing process that is today still done manually
  Assure an efficient and accurate tracing for an efficient and accurate installation
Equipment owners are responsible for supplying their input and are required to ensure the quality control of the data they provide.

## Slide 3: Definition of the tracing requirements
More than 20 discussions organized with Equipment Owners and teams responsible for the installation
Definition of the tracing needs for each of the teams
Gathering the inputs
Tracing proposals according to the robotic solution constraints

## Slide 4: Pre-Installation Key Points
BE-GM will perform a 3D scan of the LHC tunnel after deinstallation, the result will be provided to the Integration team to study the offsets between the theoretical tunnel and the real one.
The tunnel floor will be refurbished before tracing
We need a clean and empty tunnel to perform an accurate tracing (no coactivity)

## Slide 5
CAD File :
Network points
Obstacles in the area
Elements to print
Link with Total Station
Transmission to the robot
Set Up Total Station
The robotic tracing system : HP SitePrint
How does it work ?
5

## Slide 7
Tracing a line
From 5 m to 80 m from Total Station
Tracing texts
Different inks level and durability
60 m in 5 minutes
Robot’s demonstration in July !

## Slide 8: Robotic Solution Constraints
The robot can not mark in the tunnel gutter or ‘caniveau’
The robot can not trace closer than 20 cm from an obstacle
Some of the required points will need to be offset by a minimum of 30 cm to allow a margin
Marking in 2 or 3 colour categories :
BEAM Points
NON-BEAM Points
NON-BEAM Points on the vault

## Slide 9
Providing the data for tracing:
Definition of a new workflow for non-beam components
Selection of the points to trace
In the local model
SURVEY DB
Integration team
E-O
Provide the data to the Integration team in a to be defined format
E-O
Offset of the points, if necessary,
In the local model
ROBOTIC TRACING
∆z : Theoretical floor – Real measured floor
Export of the points to trace in a .csv file
Conversion in CCS
Vertical projection
Following local gravity and according to the theoretical height of the model
In a model with the tunnel slope
Verification of the projected points with the E-O
E-O
Integration team

## Slide 10: Non-beam-Components Common References
Elements traced during the first tracing campaign and usable by every team

## Slide 11
EN-CV
Beam line
Beam height
Follows the tunnel slope
IP5 DCUM 45.000 m
DCUM from IP (1 or 5) every 5 m
Tracing of common references :
No specific tracing needed. The common references will be traced and can help for the installation.
Demineralized Water pipe
Compressed Air pipe
PPS2 removed
Notes: The following slides for EN-CV illustrated that EN-CV services have very different positions depending on the tunnel section.

## Slide 12
Cable trays
GSM
High-voltage cables
Lights
Fibers
Flat cable
for emergency lights
EN-EL
Goulotte de sécurité
Beam line
Beam height
Follows the tunnel slope
IP5 DCUM 45,000 m
DCUM from IP (1 or 5) every 5 m
No specific tracing needed. The common references will be traced and can help for the installation.
Tracing of common references :

## Slide 13
Tracing of common references
Relative DCUM from IP every 5 meters :
IP
5.000
10.000
15.000
20.000
25.000
30.000
35.000
40.000
45.000
5.000
10.000
15.000
20.000
25.000
30.000
35.000
40.000
45.000
Naming of the points :
IP5
5L-NAME1
5L-NAME2
5L-NAME6
…
5R-NAMEA
5R-NAMEB
5R-NAMEC

## Slide 14: Non-beam-Components Specific needs

## Slide 15
BE-GM-HPA
Tracing for HLS pipe :
5R-HLS
5R-HLS
The point to trace on the vault are still under discussion
No Robot Tracing
HPA will provide the coordinates of the points in CCS directly to the BE-GM
HPA

## Slide 16
BE-GM-HPA
5R-PWPS
Tracing for WPS pillars :
Traced on the floor : One cross for each pillar
HPA
Integration

## Slide 17
Local Vertical
5R-SDXF
WP6a
5R-DXF
WP6a
Integration
Connexion to DCM
Beamline
Tracing for DXF installation :
IP

## Slide 18
Local Vertical
5R-RDFMB
5R-RDFMA
5R-SDFM1
5R-SDFM2
5R-SDFM3
5R-SDFM4
WP6a
Tracing for DFM installation :
WP6a
Integration
D2
IP

## Slide 19
WP6a
Tracing for DXF installation :
Tracing for DFM installation :
Diagrams by Rita Perez Martinez in WP6a tracing questionnaire
5R-SDXF
5R-DXF
5R-RDFMB
5R-RDFMA
5R-SDFM4
5R-SDFM3
5R-SDFM2
5R-SDFM1
3-5 mm
10 mm

## Slide 20
TE-CRG
Tracing for QXL external supports :
Traced : Beamline vertical projection
Traced : Reference DCUM points from IP every 5 m
Measured by the robot and provided in digital format : ∆z in mm Theoretical floor – Real measured floor of the tunnel at the DCUM points
+ possibility to use the scan of the tunnel done by BE-GM
Beam line
IP5 DCUM 45.000 m
Beam height
Follows the tunnel slope

## Slide 21
TE-CRG
Tracing for QXL sub-assemblies :
Traced : offset and projected vacuum vessel flange at extremities (1) and (3)
Traced : offset and projected jumper interface vacuum vessel flange (2)
For each of these 3 points :
Provided in digital format : ∆z in mm
Theoretical floor – Real measured floor of the tunnel of the points above.
Traced : value of the offset defined by TE-CRG.
TE-CRG
Integration
Diagram from Fabio Merli presentation on QXL tracing needs
The tracing robot can not trace in the gutter or ‘caniveau’ : the points will need to be offset
Offset between the theoretical and the real gutter to be checked

## Slide 22
https://edms.cern.ch/document/2678695/AA
Drawing extracted from the HL-LHC QXL Layout IP1R, this diagram has no scale.
Local Vertical
1R-QXLBB_E
1R-QXLBB_S
1R-QXLCB_E
1R-QXLCB_S
Gutter edge
Offset points at least 30 cm from the ‘caniveau’ edge
TE-CRG
Tracing for QXL sub-assemblies :
Side view
Top view
1R-QXLBB_J
1R-QXLCB_J
TE-CRG
Integration
Beamline
Offset 350 mm
min 30 cm
Offset 350 mm
Offset 350 mm
Offset 350 mm
Offset 350 mm
Offset 350 mm

## Slide 23
Central axis of the real core
Local Vertical
Offset value defined by TE-CRG
TE-CRG
Tracing for tee axis installation :
Diagrams from Fabio Merli presentation on QXL tracing needs
Central axis of the theoretical core
5L-TC
5L-RC
Traced : Beamline vertical projection
Traced : Theoretical centre of the UL-LHC core
Offset defined by TE-CRG and following the tracing workflow
Traced : Real centre of the UL-LHC core
Procedure to measure the real cores to be defined by BE-GM

## Slide 24
Local Vertical
Beginning pillar
5R-TAXNSA
End pillar
5R-TAXNSB
IP
EN-HE
EN-HE
Integration
Tracing for TAXN mini-crane :
IP

## Slide 25
EN-HE
Beginning pillar
5R-TAXNSA
End pillar
5R-TAXNSB
Mini-crane design 1 :
Mini-crane design 2 :
End pillars
5L-TAXNSC
Beginning pillars 2
5L-TAXNSB
Beginning pillars
5L-TAXNSA
Tracing for TAXN mini-crane :

## Slide 26
Tunnel extremity
Tunnel extremity
Rail axis
30 cm
30 cm
5R-S1R1A
5R-S1R1B
5R-S1R2A
5R-S1R2B
5R-S2R1A
5R-S2R1B
5R-S2R2A
5R-S2R2B
Tunnel extremity
30 cm
EN-HE
Tracing for rails in the ‘nose’ area:
Drawings extracted from ‘MCEW4 - RAILS DE-&INSTALLATION IN THE IT REGION (P1 & P5)’
The tracing robot can not trace less than 20 cm from an obstacle : the points to trace will be offset from the tunnel extremity by 30 cm.
EN-HE

## Slide 27
DCM
Local Vertical
Tracing for DCM installation :

## Slide 28
DCM
Beam height
Follows the tunnel slope
Tracing for DCM installation :
Local Vertical

## Slide 29
Providing the data for tracing:
Definition of a new workflow for non-beam components
Selection of the points to trace
In the local model
SURVEY DB
Integration team
E-O
Provide the data to the Integration team in a to be defined format
E-O
Offset of the points, if necessary,
In the local model
ROBOTIC TRACING
∆z : Theoretical floor – Real measured floor
Export of the points to trace in a .csv file
Conversion in CCS
Vertical projection
Following local gravity and according to the theoretical height of the model
In a model with the tunnel slope
Verification of the projected points with the E-O
E-O
Integration team

## Slide 30: Points to discuss
The deviation of the floor tunnel measured with the 3D scan must be communicated to the Equipment Owners : Analyse will be under the responsibility of the Integration Team ?
Data format of the E-O input for integration team : .csv, .txt, catia, dxf
Validation of the projected point coordinates between the integration team and E-O
Naming of the points
Tracing of the absolute DCUM every 10 m : any need ? The relative DCUM will be marked on the floor w.r.t. IP1 / IP5
General feedback about the tracing proposals

## Slide 31: Thank you very much for your collaboration and the constructive discussions that helped shape this work !