## Slide 1: RMS Status
What’s added since last MACS Week

## Slide 2: Cycle Codes
Definition of available cycle codes

## Slide 3: MTG Manager – timing sequences

## Slide 4: MTG Manager – run definition

## Slide 5: MAD Sequences
Definition of MAD Sequences
Assignment of devices to MAD Sequences

## Slide 6: MAD k-values
Assignment of multiple k-values for each individual device

## Slide 7: Cable database extension
Cables
Cable Tray Roads
Circuits

## Slide 8: Reminder: MACS configuration chain
XML documents for device definition
Database filled from XML documents
Configuration created in RMS
Configuration exported to configuration files
Configuration files are read by the individual systems
RMS
DB
Exporter
config files
XML
File
Importer
MACS

## Slide 9: Importer: missing items
Set-point sequences
Timing sequences
Cycle Codes
Cycle Group entries and Cycle Groups
MAD import
Machines

## Slide 10: Exporter: missing items
WinCC OA alarm definition
Navigator configuration
MAD export
Setpoint sequence files
Files for MTS (timing sequences, event type identifier
OPC GENI (configuration files)
RF
ProShell

## Slide 11: What’s do be done next?
Fill the database
with DATA!