## Slide 1: Patrol Control System Hannes Pavetits
R. Gutleber

## Slide 2: Overview
  Why is the PCS needed?
  Scope of the PCS
  Areas protected by the PCS
  Access states of an area
  Hardware / Software

## Slide 3: Why is the PCS needed?
  Automation of patrol
  Access control
  Access restriction during beam
  Interlock when access violation (PCS-BIS connection)

## Slide 4: Scope of the PCS

## Slide 5: Areas protected by the PCS

## Slide 6: Access states of an area
  NO access – no persons allowed except patient
  Patrol – no persons allowed except patrolling person
  Access – for personnel with dedicated access rights

## Slide 7
Hardware / Software
PROFIBUS
BIS
PCS
Door sensors
Access system
Visual Indicators
Audio Indicators
Buttons
Digital I/O signals
Siemens PLC (S7 400)
Distributed Periphery
Digital I/O Modules
Standard PLC programming language

## Slide 8: Status

## Slide 9: September - now
Start of Requirements document
Meetings with RP: patrol procedure, warning lights and consoles
Start defining the layout of the PCS consoles in front of the areas

## Slide 10: Outlook
End of Nov: finishing Requirement document PCS
End of 2011: finishing Analysis/Design document PCS
risk analysis of PCS
beginning 2012: start of the PCS-PLC Program