## Slide 1: Characterization of Ar/N2 gaseous mixtures for MPGD-based detectors.
EP-DT Training Seminar
Genaro Barco
Supervisors:
Diego Gonzalez Diaz
Florian Brunbauer
Pablo Amedo
Notes: Add DRD1 logo

## Slide 2
Technological challenge
Noble gases scintillate in the VUV (2nd continuum)
Photoelectric effect causes feedback in Gaseous detectors!
VUV -Quenchers are added to Ar (e.g., CH4), to eliminate VUV-scintillation and increase maximum gain
05.08.2025
2
D. Gonzalez Diaz - Primary Scintillation in Ar-based Mixtures Aimed at Providing a To-signal in DUNE ND-Gar – 14.09.2021
Notes: Explain what you want the quencher to transfer energy to the visible range

## Slide 3
Optical Readout
Gas scintillation spectra need to be matched with sensor QE
Barco, G.
05.08.2025
3
Lukas Lazek – ‘High-Speed Optical Readout of MPGDs for Beam Monitoring Applications’ - EP-DT Summer Student Presentations – 22.07.2025
Notes: We want an alternative to CF4. Lukas reference!!! Make explicit primary and secondary scintillation

## Slide 4
Barco, G.
05 - 08 - 2025
4
Environmental Point of view
Beatrice Mandelli– ‘Exploration of alternatives to greenhouse gases’ – 3rd International Conference on
Detector Stability and Aging Phenomena in Gaseous Detectors - 09.11.2023
Notes: Reference!

## Slide 5
Nitrogen deactivates the Ar emission and scintillates on its own
05 - 08 - 2025
5

## Slide 6
F. Sauli – CERN Yellow paper - 1977
T. Zhao, A study of gas mixtures for ATLAS MDT, Atlas internal note, 1995
Drift Velocity
Avalanche size
Barco, G.
6
Previous studies of electrical properties of N2 mixtures
Notes: A possible solution, what will I add to this knowledge? Scintillation properties have to be studied by spectroscopy, and by that we can study the effectiveness of the quenching. Why? Optical readout.

## Slide 7
Set-up

## Slide 8
X-rays
Fiber
05 - 08 - 2025
8
RGA = Residual Gas Analyzer

## Slide 9
Barco, G.
05 - 08 - 2025
9

## Slide 10
Barco, G.
05 - 08 - 2025
10

## Slide 11
Nitric Oxide
Nitrogen
Argon
Barco, G.
05 - 08 - 2025
11
CF4

## Slide 12
12

## Slide 13
Results:
Field dependence of scintillation spectra in Ar/N2 mixture
Notes: We might expect recombination if the are space charge, but we don’t expect it in primary scintillation

## Slide 14
Saturation Current
Max. Collection Field
Barco, G.
05 - 08 - 2025
14

## Slide 15
15

## Slide 16
16

## Slide 17
17

## Slide 18
Results:
Effect of Nitric Oxide (NO) contamination in Ar/N2 scintillation spectra
Notes: We do not put NO, it formed in the chamber

## Slide 19
~1,5 ppm
< 0,1 ppm
19

## Slide 20
~6 ppm
< 0,6 ppm
20

## Slide 21
~10 ppm
< 1 ppm
21

## Slide 22
Sequence of transitions
22
Barco, G.
05 - 08 - 2025
Scintillation mechanism
[*] B. Wen, H. Eilers – ‘Potential interference mechanism for the detection of explosives via laser-based standoff techniques’ -Appl Phys B (2012) 106:473–482 DOI 10.1007/s00340-011-4713-y
[*]

## Slide 23
NO contamination
NO Scintillation
Ar Scintillation
100 nm – 150 nm
200 nm – 300 nm
N2 Scintillation
300 nm – 450 nm
23
Barco, G.
05 - 08 - 2025

## Slide 24
Results:
Scintillation yield of Ar/N2 mixtures

## Slide 25
25
Barco, G.
05 - 08 - 2025

## Slide 26
26
Barco, G.
05 - 08 - 2025
Notes: You are comparing INTEGRATION of the spectrums

## Slide 27
27
Barco, G.
05 - 08 - 2025
Notes: Comparison of spectrums, not the addition of N2

## Slide 28: Conclusions
N2 seems to be a nice VUV- quencher, producing a wavelength-shift to the range of 300-450nm.
Ar/N2 mixtures present a plateau between 0,5% and 10% where the best scintillation yield is measured. Meanwhile, this yield presents a dependence with pressure, being 1 bar its best performance.
Small quantities of N2 allow a scintillation yield much greater than pure N2 and pure Ar.
Nitric Oxide contamination at ppm scale produces UV-light that can affect the stability of the detector. But it could also be another useful source of scintillation. Further research is required.
Barco, G.
05 - 08 - 2025
28

## Slide 29: Outlook
A study of secondary scintillation of Ar/N2 gas mixtures is scheduled to start in the next few weeks. Many mechanisms seen in Primary Scintillation are expected to be the same.
Other gas mixtures will be tested using this set-up.
Scintillation of Nitric Oxide and its capacity to be used as a useful source is reserved for research to be done.
Barco, G.
05 - 08 - 2025
29

## Slide 30: Thank you!
Genaro Barco
Supervisors:
Florian Brunbauer
Pablo Amedo
Diego Gonzalez Diaz
Notes: Add DRD1 logo

## Slide 31
Appendix

## Slide 33
10 ppm
30 ppm

## Slide 34
Notes: Legend in bottom right plot