## Slide 2: Cryogenics for Gravitational Wave Detection
Torsten Koettig, CERN TE/CRG-CL
Contributions from R. Nawrodt, University of Stuttgart, Germany

## Slide 3: Content
Detection principle
How to achieve sufficient sensitivity?
Future generations of GWD => towards Einstein Telescope
Noise limitations
Cryogenic approach

## Slide 4: detection principle

## Slide 5: How should a GW signal look like?
Typical plot of an experimentalist what to expect
x 10-21
strength
time (s)
0.25
0.45
[S. Kroker]

## Slide 6: What signals have been detected so far?
This plot shows the masses of all compact binaries detected by LIGO/Virgo, with black holes in blue and neutron stars in orange. Also shown are stellar mass black holes (purple) and neutron stars (yellow) discovered with electromagnetic observations. Credits: LIGO/Virgo/Northwestern Univ./Frank Elavsky.

## Slide 7: Currently available detectors
Source: R. Nawrodt, Thermal Noise in Precision Instrumentation, 2017

## Slide 8: The „strength“ of gravitational waves
DL
L
h=DL/L
(„strength“ of a GW)

## Slide 9: Michelson-based interferometers
proposed by R. Weiss in 1972

## Slide 10: Michelson-based interferometers
Michelson-interferometer acts as a phase-to-amplitude converter
accuracy needed:
L ~ km, h ~ 10-21  DL = 10-18 m
L ~ distance earth – sun  DL = 10-10 m
L ~ distance sun – next star  DL = 10-5 m
suspending test masses:
to create „free-fall“ on Earth
to decouple from seismic motion

## Slide 11: Sensitivity of modern detectors
Sensitivity of GEO600
Seismic
Quantum noise
Thermal
noise
Frequency (Hz)

## Slide 12: Sensitivity of modern detectors - Seismic
Sensitivity of GEO600
Seismic
Frequency (Hz)

## Slide 13: How to establish free-falling test mass on Earth?
free-fall for particles needed along the laser direction
idea: use of simple pendulum above resonance
free gift: seismic decoupling
frequency
amplitude
free test mass
(with damping)
pendulum

## Slide 14: Seismic decoupling
Multi-stage suspensions allow better filtering

## Slide 15: Sensitivity of modern detectors – Quantum noise
Sensitivity of GEO600
Quantum noise
Frequency (Hz)

## Slide 16: Quantum noise (2)
Two types:
Radiation pressure noise (low frequency)
=> active compensation, large mirror mass
Shot noise (high frequency)
=> Laser quality and power
Suspended
mirror
Thermal light

## Slide 17: Sensitivity of modern detectors – Thermal noise
Sensitivity of GEO600
Thermal
noise
Frequency (Hz)

## Slide 18: Thermal noise (2)
How stable are the arms of the interferometer?
  Optic elements, atoms at the surface fluctuate  Virtual length change
Brownian motion => noise

## Slide 19: Thermal noise (3) example of Brownian motion

## Slide 20
Goals for Advanced Detectors
Better decoupling from seismic
Much lower thermal noise from test masses and suspension
Lower quantum noise at all frequencies
Higher Laser power
Lower thermal noise
1. Generation
2. Generation
3. Generation
Better decoupling by larger masses

## Slide 21: Where could we get?
GRB050509B
Einstein Telescope
aLIGO AdV KAGRA
1ST GENERATION
[G. Cagnoli, LMA)

## Slide 22
Technologies:
• Size: 10 km arm length • Xylophone design: ET-LF, ET-HF
• ET-Low Frequency:
  Underground
  Cryogenics
  Silicon (Sapphire) test masses
  Large test masses (~ 200 kg)
  New coatings
  New laser wavelength
  Seismic suspensions
  Frequency dependent squeezing
• ET-High Frequency:
  High power laser
  Large test masses
  New coatings
  Thermal compensation
  Frequency dependent squeezing
Planned ET Infrastructure
Courtesy: P. Rapagnani, Cryogenics Einstein Telescope 3rd generation GW Interferometer

## Slide 23: Going beyond => space mission for low frequency => LISA
LISA 20 deg. following Earth
Will be launched with Ariane 6
Courtesy: C. Zanoni, Laser Interferometer Space Antenna, INFN, 11/2022

## Slide 24: Going beyond => space mission for low frequency => LISA
Courtesy: C. Zanoni, Laser Interferometer Space Antenna, INFN, 11/2022
CERN courier: Sources and sensitivities GW sources (shaded) and detector sensitivities (lines), including those for the space-based interferometer LISA and the ground-based interferometers LIGO and the Einstein Telescope. Accelerator-based detection methods and sources are superimposed based on optimistic assumptions which require future confirmation. The LHC’s sensitivity to longitudinal synchrotron resonances, assuming 1 ps noise in the proton-bunch “travel time”, or its measurement (red line), is based on work by Suvrat Rao. The sensitivity of a 37 km ring with GW-antenna optics to transverse betatron resonances, assuming 1 pm (blue line) and 1 nm (green line) beam-position resolutions, is based on estimates by Katsunobu Oide, Giuliano Franchetti and Frank Zimmermann. The predicted strength of the LHC as a source of coherent “gravitational synchrotron radiation”, assuming all protons in a beam are contributing coherently (red star), is based on work by Pisin Chen. Credit: http://gwplotter.com / S. Rao et al. / K. Oide, G. Franchetti & F. Zimmermann / P. Chen.

## Slide 25: Low thermal noise operation

## Slide 26: Fluctuation-Dissipation-Theorem
Macroscopic vibration
Microscopic states
Heat bath
Loss/friction f
Dissipation
Fluctuation / noise
Large loss  large noise

## Slide 27: A wonderful construction material at room temperature
Fused silica (amorphous high purity SiO2-glass)
  Very strong (7 GPa breaking strength under tension)
  Easy to pull fibres, polish, weld
  Chemically (nearly) inert
  Available in large pieces
  Extremely low mechanical loss ~ 10-9 at room temperature

## Slide 28: Thermal noise of optical components
Two types of thermal noise in opto-mechanical systems:
  driven by thermal energy (Brownian thermal noise)
  driven by temperature fluctuations T
  T  x, 
  coupling done via material properties (e.g. coefficient of thermal expansion , thermo-optic coefficient dn/dT, etc.)
  Example: typical material  ~ 10-6 1/K, T = 1 K  L/L ~ 10-6

## Slide 29: Brownian thermal noise of optical materials
Fluctuation-dissipation-theorem tells us about the correlation between noise and loss:
Sx(w,T) ~ T × 
Two possible options:
  operate at low temperatures
  utilize low mechanical loss materials (widely unknown parameter)
  use a clever design

## Slide 30: Measuring mechanical losses
Time
Amplitude
f0
Df
Frequency
Amplitude
Resonant modes
Sample

## Slide 31: Measuring mechanical losses

## Slide 32: Measuring mechanical losses
0
1
2
3
4
5
6
7
8
0.5
0
1.0
1.5
2.0
2.5
3.0
Zeit (h)
Amplitude (nm)
data
fit function
Si(100),  76,2 mm  12 mm, 5.8 K, f0 = 14886 Hz
Q = 4.5  108
f = 2.2  10-9
Q = p × f0 × t

## Slide 33: Temperature dependence of mechanical losses
Sx(w,T) ~ T × 

## Slide 34: Coatings

## Slide 35: Reflective layers – coatings vs. wave guide structures
1 µm
Novel grating based reﬂectors that have been developed at the Institute for Applied Physics, University of Jena, Germany
a) Schematic of a coating design; b) Bright-field 110 TEM image of the coating
Source: Ligo collaboration, https://www.ligo.org/multimedia/gallery/opt.php.

## Slide 36: suspension

## Slide 37: Thermal noise of suspensions/mirror
Thermal noise = all noise forms that couple into phase shift
Beam splitter
End mirror
e.g. sapphire α=0 @ 18 K and 125 K
Noise sources:
coating on mirrors => fct.(T)
bulk => fct.(T)
Heat
flow
~1 W?
T~ 10-20 K
Noise sources:
stress in suspension
violin modes
fluctuations of suspension  change of centre of mass
Cooling tasks:
Path along suspension
Bonding interfaces suspension to mirrors
Surface quality and stress influence to thermal conductivity, geometry effect
Thermal shield strategy
Cold baffles at ~ 4 K => no cryosorption at mirrors
Cooldown time
Recovery time
T~ 2-5 K
to cold source
T~ 10-20 K
Heat
flow
~1 W?
T~ 2-5 K
to cold source

## Slide 38: Thermal noise of suspensions/mirror
Suspension material and cross section sapphire vs. silicon
Beam splitter
End mirror
Heat
flow
~1 W?
T= 10-20 K
T= 4 K
to cold source
Source: J Degallaix, et al., Class. Quantum Grav. 31 (2014) 185010 (13pp)
Heat
flow
~1 W?
T = 20 K ?
T= 4 K
to cold source
Calculated silicon mirror temperature vs. silicon suspension cross section
L=1 m, th. conductivity= fct.(T), Tcold= 4 K

## Slide 39
Some open points:
- Dealing with cooldown => one month?
- Loss of resonance conditions for the Laser
Q increases by factor 10 of Watt,
warm up inner shield by scattered light
Courtesy:
S. Grohmann, ICEC24, Geneva

## Slide 40: Summary
Gravitational wave detection opens up a new field in astronomy
2nd generation detectors are deployed
3rd generation of detectors need cryogenics
Study of material properties at low temperatures
Cooling strategies with extremely low noise are required
Look on the general picture when suggesting cooling solutions