## Slide 1
RF absorbers  NEG coated ceramic (alumina)
HL-LHC Wire Scanner CST Model
More info: 96th IWG and 98th IWG Meetings
Bake-out of the wire scanner will be done at 150 oC.
NEG activation temperature is at 180 oC. This may change the surface resistivity of the coating.
Another possible coating material?
 Titanium? (higher activation temperature)
Comment from Coating Team
H. Bursali
101st IWG Meeting
15.07.2025
SY-RF-BR