## Slide 1: Revaluation of the TSO role (HSE HOR WP5.3) SCE collaboration with the TSO’s
Gunnar Lindell, HSE DSO
27 August 2025
EDMS xxxxxxx v.1.0.0

## Slide 2
Support to the TSO’s
Clarify how the campus maintained
Be aware of all aspects of safety in the building. Available support for the TSO’s.
Clarify who can help resolving safety issues.
Clarify who is paying.
Wish list for improvements.
SCE ideas/proposals for imrovements

## Slide 3
Infrastructure lifecycle
Construction
No maintenance
Operation
Retrofits / Projects / Processes / Upgrade
Demolition / Renovation
Regular maintenance
Cyclical maintenance
Corrective maintenance
Preventive regular maintenance
  Roofs
  Buried networks
  Machine building's exterior doors
  Smoke extraction systems
  Green spaces
Safety verifications to technical installations
Emergency intervention
Funded by SCE Operation budget ~8.5MCHF/Y
Planification cyclical maintenance
Well identified set of works planned to 10-years time (including campaigns)
Group activities in the same area
Aim: full renovation
Emergencies that cannot be covered by Operation budget
Safety works prioritized together with HSE and DSOC chair : asbestos removal, compliance with fire standards, roof access, etc.
Funded by SITE-CONS budget ~10MCHF/Y
Maintenance (OPE budget)
Consolidation (CONS budget)
Retrofits / Projects / Processes related works funded by client’s budget ~8MCHF in 2024
HOW DO WE MAINTAIN THE CAMPUS?
Courtesy SCE
Notes: Corrective maintenance = repair or replace malfunctioning asset. Some examples?
Preventive regular maintenance also covering?: HVAC,

## Slide 4
Chart: kCHF
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
CAMPAIGN | 3493 | 5074 | 7223 | 4475 | 5888 | 2730 | 2907 | 3705 | 4260 | 4215 | 4160 | 4160 | 4160
PREVENTIVE | 822 | 458
OPERATION | 1009 | 917 | 1076 | 315 | 700 | 700 | 700 | 700 | 750 | 750 | 750 | 750 | 750
DEMOLITION | 418 | 46 | 3 | 21 | 100 | 145 | 200 | 250 | 500 | 350 | 400 | 400 | 400
CORRECTIVE | 11490 | 6366 | 1517 | 4720 | 1825 | 20 | 675 | 6040 | 5134 | 6689 | 6689 | 6619
UPGRADE | 914 | 1427 | 1842 | 1748 | 1410 | 980 | 980 | 887 | 380 | 380 | 380 | 380 | 380
RESERVE | 171 | 250 | 241 | 249 | 467 | 1705 | 1780 | 916 | 731 | 2201 | 651 | 651 | 721
M2P | 881 | 490 | 789 | 881 | 943 | 965 | 898 | 898 | 898 | 898 | 898 | 898 | 898
Safety | 0.24496 | 0.30505 | 0.26737 | 0.23481 | 0.28987 | 0.30555 | 0.27582 | 0.30886 | 0.3065 | 0.29364 | 0.28954 | 0.28954 | 0.28969
Environment + Energetic performance | 0.1407 | 0.1413 | 0.20934 | 0.25339 | 0.28035 | 0.36287 | 0.3313 | 0.19397 | 0.31022 | 0.29528 | 0.32732 | 0.32732 | 0.32586
Entry into the SITE CONS programme
Stratus outcome (<0.8) x 3S Factorization:
Strategy
Safety
Sustainability
Quarterly Steering committee – Decision gate
Strategy
Capital investment plan
Plan proposal
Steering committee
Plan update
Production follow-up
Prioritization
(Workshops)
CONTINUOUS INTERVENTIONS
TARGETED INVESTMENTS
Including DSOC chair for safety-related projects
HOW DO WE PRIORITIZE IN CONSOLIDATION PLAN?
Courtesy SCE

## Slide 5
1. SCE (and others) maintaining the campus
General principles on the TSO Info hub page?
Maintenance
- Preventive, corrective, safety verifications, emergency verifications. Give examples
Consolidation
- Ongoing projects, planning for future campaigns. Including ELECNCSOL?

## Slide 6
2. TSO mandate
Be aware of all aspects of safety in the building.
Available support
Check lists for the TSO’s. Update ongoing
Safety inspections from HSE. General and technical.
Safety rounds from guards.
Information about interventions (works, repairs, maintenance on equipment/installation/building.)
Information about changes (activities, equipment, building…)
Information about accidents.

## Slide 7
3. Where to find help to resolve safety issues in the bldg?
Service now
Create a general ticket.
SCE has extensive information. Is it enough? Easy to find?
EN has extensive information. Is it enough? Easy to find?
Other Departments?
DSO/LEXGLIMOS, HSE experts, etc

## Slide 8
4. Who is paying?
Example:
Automatic doors (Free maintenance but BC for repairs).
Entrance mats (BC). Several Dep. sharing bldg.?
Standard cleaning, recycling bins, cleaning after pollution….

## Slide 9
5. Proposals/ideas for improvements?
Example:
Announcement of upcoming interventions. The activities should be known by the TSO.
Supervision of the contractors doing the work. Not the job of the TSO’s.
Leave work sites clean. Not the job of the TSO’s to tidy up.
Tickets answered without reminders – what is the root cause?

## Slide 10
6. SCE whish list for improvements?