## Slide 1
Awake CSCP Meeting #18 Simplified Layout and Integration
Frédéric Galleazzi EN/ACE/INT
08/10/2025

## Slide 2
Experimental Area : Beam Line Layout
Awake Run 2C – Experimental Area Beam Line
Plasma Cell 1
QNL (Quad)
QNL (Quad)
QNL (Quad)
HB2 (Dipole)
e- 150 MeV
Last dipole
Start of Period
TCC4
Period 412500-End Line
Period 412400-412500
Plasma Cell 2
Start of Period
Period 412400-412500
Period 412500-End Line
Reminder

## Slide 3
Experimental Area : Beam Line Layout
Awake Run 2C – Experimental Area Beam Line
Layout Drawing

## Slide 4
Experimental Area : Beam Line Layout
Awake Run 2C – Experimental Area Beam Line
Same codes as previous configuration…

## Slide 5
Experimental Area : Beam Line Layout
Awake Run 2C – Experimental Area Beam Line
Magnets QNL : QNLD ? – QNLF ?
Magnet HB2 ?

## Slide 6
Layout Drawing
e- (150 MeV) Beam Line : Layout
Awake Run 2C – TT451 Beam Line (e- 150 MeV)

## Slide 7
Codes of Elements ? - Origin of Beam Line ?
e- (150 MeV) Beam Line : Layout
Awake Run 2C – TT451 Beam Line (e- 150 MeV)
Origin
proposed
Origin
proposed
Scale
Functionnal Positions ?

## Slide 8
Codes of Elements ?
e- (150 MeV) Beam Line : Layout
Awake Run 2C – TT451 Beam Line (e- 150 MeV)

## Slide 9
TCC4
TCC4 : Extension of Trenches (for Cable Trays)
Awake Run 2C – TCC4 - Trenches
TSG4
TSG42
TSG44
TSG43
Same extension for TSG45 and TSG46

## Slide 10
TCC4
TCC4 : Extension of Trenches (for Cable Trays)
Awake Run 2C – TCC4 - Trenches
TSG42
Gap Trench / Vault = 10 cm
Extension :
Same depth as existing part

## Slide 11
TCC4
TCC4 : Extension of Trenches (for Cable Trays)
Awake Run 2C – TCC4 - Trenches
TSG43
Extension Proposed by SCE
TSG44
Same extension for TSG45 and TSG46

## Slide 12
TCC4 : Extension of Trenches (for Cable Trays)
Awake Run 2C – TCC4 – Trenches vs Supports
Supports on Trenches

## Slide 13
TCC4
Existing Ventilation Duct
1st Modification proposed
TCC4-TSG4 : Ventilation
Awake Run 2C – Ventilation
TSG4
TSG42
TSG43
New Routing 2 ?
REMINDER
New Routing 1 ?
No Space for Additional Ventilation Duct…

## Slide 14
TCC4
Existing Ventilation Duct
1st Modification proposed
TCC4-TSG4 : Ventilation
Awake Run 2C – Ventilation
TSG4
TSG42
TSG43
New Routing 2
New Routing 1 ?
Not possible
X
X
What routing for the ventilation duct ?
The final routing could have big impact on the current studies !!!

## Slide 15
TSG42 Area :
Awake Run 2C – TSG42
Vincent is working on the drawing.
It will be available soon
Ventilation ?
Existing Services to be modified
Cable Trays Access
Vacuum
Pump

## Slide 16
TCC4 Area :
Awake Run 2C – Laser Beam Lines
Vincent is working on the drawing.
It will be available soon
Access ? Cover Handling ?
600 mm
Free Passage !!

## Slide 17
TCC4 Area :
Awake Run 2C – RF Wire Guides
Wire Guides Study on going
Check by Integration to be done

## Slide 18
TSG4 Area :
TSG4
Awake Run 2C – TSG4
TSG4
TSG45
TSG46
STREAK ROOM
TSG47
8 NEW RACKS
TSG46
TSG47
TSG48
VENTILATION UNIT
4 NEW RACKS
14 NEW RACKS
14 NEW RACKS
8 NEW RACKS
COOLING UNIT ?
FREE SPACE NEW RACKS ?
Shieldings
3 NEW RACKS

## Slide 19
TSG4 Area :
Awake Run 2C – TSG4
Vincent is working on the drawing.
It will be available soon