## Slide 1
MULTIPAC and PACBIT-
Third Generation TDPAC
Björn Dörschel Master Student 23.09.2025 bjoern.doerschel@uni-due.de
Supervisors

## Slide 2
MULTIPAC and PACBit
MULTIPAC
Combines VSM and TDPAC
Up to 7.5 T
3K to 375K
Moved to SSP lab in 508 in 2026
PACBit
Main goal a real-time R(t)
Data acquisition software
Post processing
Coincidence search
R(t) fitting

## Slide 3
TDPAC Theory (Basics)

## Slide 4
TDPAC Theory (Polycrystal only)
For , the intermediate state a spin of 5/2
Angular Correlation function without perturbation:

## Slide 5
TDPAC Theory (Polycrystal only)

## Slide 6
TDPAC Theory (Polycrystal only)
Relative Variation
Mean Value

## Slide 7
TDPAC Theory (Polycrystal only)
Relative Variation
Mean Value
DOI: 10.1103/PhysRevLett.134.216702

## Slide 8
Post Processing
Steps:
Smoothing
Filtering
Integration
Rise time determination

## Slide 9
U5310A Digitizer
U5310A Digitizer
10 Bit resolution
10 GS/s sampling rate (0.1 ns)
1 Volt range
 0.001 V quantisation step

## Slide 10
U5310A Digitizer
U5310A Digitizer
10 Bit resolution
10 GS/s sampling rate (0.1 ns)
1 Volt range
0.001 V quantisation step
Fourier transformation of pulse
Meaningfull frequencies up to 0.1GHz

## Slide 11
Post Processing (Smoothing)
Butterworth smoother (digital low-pass filter)
Noise reduction
Equal weighting of all frequencies
Cutoff frequency set to 0.1GHz

## Slide 12
Post Processing (Smoothing)
Butterworth smoother (digital low-pass filter)
Noise reduction
Equal weighting of all frequencies
Cutoff frequency set to 0.1GHz

## Slide 13
Post Processing (After Pulse Detection and Elimination)
Measure time is a fixed window (after trigger):
Two gamma rays in the same time window.
Afterpulses are a problem!

## Slide 14
Post Processing (After Pulse Detection and Elimination)
How can secondary pulses be found? Horizontal intersection lines
(depending on the peak value).
Intersection > 2 for any line:
 discarded

## Slide 15
Post Processing (Exact Rise Time determination)
Exact rise time determination (detection time):
Must be amplitude independent
Different amplitudes = different slopes
= different rise times
Instead of CFD, use a normalized LED

## Slide 16
Post Processing (Exact Rise Time determination)
Exact rise time determination (detection time):
Must be amplitude independent
Different amplitudes = different slopes
= different rise times
Instead of CFD, use a normalized LED
- Divide the integration value by the constant
- Check when the pulse reaches this value.

## Slide 17
Coincidence Search

## Slide 18
Coincidence Search

## Slide 19
Coincidence Search

## Slide 20
MULTIPAC and PACBIT-
Third Generation TDPAC
Björn Dörschel Master Student 23.09.2025 bjoern.doerschel@uni-due.de
Supervisors