PVSS Evolution
in Relation to Databases
Piotr Golonka
CERN EN/ICE-SCD
Databases TEG Workshop
09 November 2011

---
PVSS (WinCC OA) at CERN
- Commercial SCADA s/w from ETM, part of Siemens
  => Simatic WinCC Open Architecture
- Around 600 PVSS production servers
  - (Grouped in applications via PVSS distribution mechanism)
- Present in all CERN Domains
  - Experiments
    - DCS for LHC experiments, COMPASS, HARP, NA62
    - ECS for LHCb
  - Accelerator systems
    - Cryogenics, Quench Protection, Vacuum,etc.
  - Infrastructure
    - C&V

---
PVSS Architecture
  - Highly modular and scalable
PVSS
Dist
Manager
Drv
Event
Manager
Drv
Archive
Data
Manager
Drv
O(100)

---
PVSS & Databases
- Archiving
  - Oracle RDB Archiver
    - Values
      - Meta data: 1 temperature readout != 4 bytes
        - Timestamp, quality, user, manager, etc.
      - Online Trends,
      - Offline data analysis (“conditions” data)
    - Alerts
      - Full alarm cycle (CAME, WENT, acknowledge, comment)
- Configuration
  - JCOP Framework Configuration Database Tool (Oracle)
    - Small amount of data compared to Archiving...

---
PVSS Oracle Archiver: history
- Data storage
  - Fruit of collaboration of CERN and ETM
    - IT/DB, ALICE DCS, EN/ICE
  - Made application scale for RAC servers
    - Optimized; direct path, temporary tables, partitioning, etc...
  - ~ 250.000 values/s into 6-node RAC in 2009 (150 PVSS systems)
- Data retrieval
  - generic “direct” queries
  - data processing in PVSS (dpQuery/dpGetPeriod)
  - Other online tools (via RDB API)

---
PVSS Evolution
- WinCC OA 3.X
  - Yearly release cycle
2009
2010
2011
2012
2013
2013
2014
3.12
4.0
3.11
3.10
3.9
3.8

---
PVSS Evolution
- WinCC OA 3.X
  - Yearly release cycle, service-packs
2009
2010
2011
2012
2013
2013
2014
3.12
4.0
3.11
3.10
3.9
3.8SP2
3.8
3.8SP1
3.10SP1

---
PVSS Evolution
- WinCC OA 3.X
  - Yearly release cycle, service-packs
  - Planned features (related to databases)
    - No fundamental change;
    - HDB-RDB synchronization, cascaded hierarchy of archives & DBs
    - “archive compression” in the database (in 3.10)
      - Pre-calculate reduced (aggregated) data sets to optimize queries
        - e.g. hourly,daily average(), min(), max() of values
      - Tests ongoing in EN/ICE & IT/DB
2009
2010
2011
2012
2013
2013
2014
3.12
4.0
3.11
3.10
3.9
3.8SP2
3.8

---
PVSS Evolution (Medium Term)
- WinCC OA 4.0 : Autumn 2014 (?)
  - (r)Evolution in architecture
    - Managers, distributed systems
    - “Logging Services” to replace the current archivers
      - Separate DB-part from WinCC_OA-part
      - Plugins for database frontends
      - Generic “storage” interface
        - Targetted to SQL (relational-model) systems
  - Openlab work-packages with Siemens
    - Fellow in EN/ICE Marcin Bogusz
    - Oracle plugin for future WinCC OA logging service
      - ETM already has plugins for MS SQL Server and sqlite
    - Trying to convince ETM to have a more abstract interface
      (not focussed on SQL)