## Slide 1: WIC2 for SPS-LHC Transfer Lines
TE-MPE-MI Powering Interlocks meeting, 03.09.2025

## Slide 2: Infrastructure
Ti8:
  Fiber optic:
    Installed
    Tested
  Worldfip:
    Installed
    Tested
TT40 and TT41:
  Worldfip:
    Installed
    Tested
Ti8:
  34x 16ch I/O boards:
    Produced
    Tested
  19x DIOT crates with rad-tol components:
    Produced
    Tested
TT40 and TT41:
  12x 16ch I/O boards:
    Produced
    Tested
  7x DIOT crates with rad-tol components:
    Produced
    Tested
Production
NOTE: 6x spare DIOT crates with rad-tol components are tested and available

## Slide 3: Software
Generic UNICOS software for rad-tol WIC2
Generic SCADA panels for rad-tol WIC2
Python scripts for specification file generation
Documentation
ECR approved
Open points
RaToPuS DC/DC production – some design modifications are on the way
Rad-Tol system board production – some design modifications are on the way
Deployment schedule – possible installation of TT40 during YETS25/26