| PS Booster |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Machine Coordinator last week |  |  | F. Asvesta, G.P. Di Giovanni |  |  |  |
| Machine Coordinator this week |  |  | C. Bracco |  |  |  |
| Beam Scheduled |  |  |  |  |  |  |
| ISOLDE | Yes |  |  | PS |  | Yes |
| Beam Availability by Destination (AFT) |  |  |  |  |  |  |
| ISOLDE | 99.2 % |  |  | PS | 99 2 % |  |
| Facility Status |  |  |  |  |  |  |
| Summary | Overall, a good week in the PSB with only minor faults. All users needed for the LHC MD block have been prepared and tested. Various special requests from ISOLDE during the week, configurations with different current, intensity and supercycle composition. LIU Reliability Run with the PS ongoing smoothly. Preparation of the 1.7 GeV cycle to ISOLDE, beam checked during the weekend. Debugging of the cruise control application following a strange observation with the number of turns as the trim history was not matching the setting. |  |  |  |  |  |
| Issues | On Tuesday a wrong manipulation with the access system, during the PS access, tripped POPS-B and led to 18min downtime. On Sunday morning a fault of the distributor took a bit longer than usual to reset leading to ~20min downtime. Otherwise only short faults of extraction elements with a radiation alarm as a consequence. |  |  |  |  |  |
| Plans | Provide beam to downstream users and MDs as requested. |  |  |  |  |  |
| Intervention Request |  |  |  |  |  |  |
| No | Duration |  |  | Preferred date/time |  |  |
| Reason |  |  |  |  |  |  |
| Impact |  |  |  |  |  |  |