| Technical Infrastructure (TI) |  |  |
| --- | --- | --- |
| Facility Coordinator last week |  | Jesper Nielsen |
| Facility Coordinator this week |  | Jesper Nielsen |
| Statistics |  |  |
| Alarms |  |  |
| Phone calls |  |  |
| ODMs |  |  |
| Facility Status |  |  |
| Summary | Quite a quiet week in TI, with only minor events recorded. |  |
| Issues | Tue 30/09/25 17:02 Toxic alarm received in LHC USC55. Piquet had to go on-site to reset the installation. The alarm was caused by a manipulation error in the experiment. Sat 04/10/25 02:27 Alarm on FCUE-00002 Evaporative cooling installation for ATLAS tracker. Required an intervention on-site to restart the cooling station. |  |