## Slide 1: Building107 Update
New surface finishing workshop

## Slide 2: Building107 Update
Goals to be achieved
General overview (of the building)
Into the details

## Slide 3: Building107 Update
Goals to be achieved
Safety:
  Space for maintenance;
  Avoid workshop air contamination (extraction);
  Containment of chemicals.
Environmental:
  Avoid water and soil pollution;
  Avoid outside air pollution;
  Reduce water consumption.
Centralisation of activities:
  Move B867 cleaning workshop & electrochemical laboratory into the new facility.

## Slide 4: Building107 Update
General Overview

## Slide 5: Building107 Update
General Overview
Salève side

## Slide 6: Building107 Update
General Overview
B. 29 side

## Slide 7: Building107 Update
General Overview
Jura side

## Slide 8: Building107 Update
General Overview
Layout

## Slide 9: Building107 Update
Into the details
Functional Areas
Chemicals Storage
Parts Storage
Preparation
Workshop
867
Poly
Acid
Prep.
Cyanide
Sol/Blast
Electrochemical lab
Offices/CR/Meeting room

## Slide 10: Building107 Update
Into the details
Access
Parts
Emergency exits
Persons

## Slide 11: Building107 Update
Into the details
Access
Chemicals path

## Slide 12: Building107 Update
Into the details
Floor levels + Basins/Retentions
Coated
concrete
0.0 m
Grated floor
-1.2 m
-1.2 m
- 4 m
-1.2 m
-1.2 m
-0.2 m

## Slide 13: Building107 Update
Into details
Floor levels + Basins/Retentions

## Slide 14: Building107 Update
Into details
Floor levels + Basins/Retentions
Tanks concept

## Slide 15: Building107 Update
Into details
Extraction networks
Acid/Cr/Alkaline
Cyanide
Solvent

## Slide 16: Building107 Update
Into details
Extraction networks

## Slide 17: Building107 Update
Into details
Extraction networks

## Slide 18: Building107 Update
Into details
Extraction networks
Tanks concept

## Slide 19: Building107 Update
Into details
Space for maintenance

## Slide 20: Building107 Update
Into details
Space for maintenance

## Slide 21: Building107 Update
Questions