## Slide 1: ALICE LS3 GAS OPERATIONS
Pumps to send to manufacturer x 2
Checks and replace used pieces
TPC pumps maintenance

## Slide 2: ALICE LS3 GAS OPERATIONS
Filter change / improve places
TOF Filters operations

## Slide 3: ALICE LS3 GAS OPERATIONS
Filter change / improve instalation
TPC Filters operations

## Slide 4: ALICE LS3 GAS OPERATIONS
MID humidifier filling improvement
Humidifier MID

## Slide 5: ALICE LS3 GAS OPERATIONS
MID humidifier dewpoint
Analysis check and calibrations

## Slide 6: ALICE LS3 GAS OPERATIONS
TPC / TRD / MID / TOF buffers
Buffers and volumes pressure tests

## Slide 7: ALICE LS3 GAS OPERATIONS
SAFETY VALVES checks

## Slide 8: ALICE LS3 GAS OPERATIONS
Electrical part
Grounding checks
Power supplies checks
Connections checks
Disjunctors checks
Drawings improvement
…….