## Slide 1: Update on Emittance diagnostics
Debdeep Ghosal, J. Wolfenden, C. Welsch
16th Oct., ‘25
AWAKE collab meet

## Slide 2: Overview
dghosal@liverpool.ac.uk debdeep.ghosal@cockcroft.ac.uk
Key points…
Emittance measurement
Overview of 2024 and update on 2025 (Experiment/Simulation/Analysis)
Outlook

## Slide 3: Emittance measurement
dghosal@liverpool.ac.uk debdeep.ghosal@cockcroft.ac.uk
Advantages of Pepper-pot & Corresponding Optical Mapping
- Single shot (over multi-shot Quad scans) - Phase space mapping
Lower energy-limitation of Slit/pinhole scans & pepper-pot —> Possible solution: Optical version
K
σ2
K
screen
Quad

## Slide 4: Emittance measurement
dghosal@liverpool.ac.uk debdeep.ghosal@cockcroft.ac.uk
Advantages of Pepper-pot & Corresponding Optical Mapping
- Single shot (over multi-shot Quad scans) - Phase space mapping
Lower energy-limitation of Slit/pinhole scans & pepper-pot —> Possible solution: Optical version
K
σ2
K
screen
Quad
Non-/minimally invasive optical radiation sources can be used (OTR, OSR)
Increase in Divergence resol. with energy, Real-time monitoring…
Advantage of 4D transverse phase space reconstruction

## Slide 5: Status of Emittance measurement
dghosal@liverpool.ac.uk debdeep.ghosal@cockcroft.ac.uk
OTR + OSR (@CLEAR (’24 & ’25) demonstrated

## Slide 6: Status of Emittance measurement
dghosal@liverpool.ac.uk debdeep.ghosal@cockcroft.ac.uk
OTR + OSR (@CLEAR (’24 & ’25) demonstrated

## Slide 7: Emittance measurement
dghosal@liverpool.ac.uk debdeep.ghosal@cockcroft.ac.uk
OSR (@CLEAR (’24 & ’25) demonstrated
Parameters | Values
E (MeV) | 198 ± 5
Q (nC) | 0.1 - 2
ΔE | 1.5-2 %
Angular
Spatial
MLA
Beam path
Benchmarked Emittance | Values
εx (mm.mrad) | 16 ± 2.6
εy (mm.mrad) | 4.5 ± 0.7

## Slide 8: Emittance measurement
dghosal@liverpool.ac.uk debdeep.ghosal@cockcroft.ac.uk
OSR (@CLEAR (’24 & ’25) demonstrated
Parameters | Values
E (MeV) | 198 ± 5
Q (nC) | 0.1 - 2
ΔE | 1.5-2 %
Angular
Spatial
MLA
Beam path
Benchmarked Emittance | Values
εx (mm.mrad) | 16 ± 2.6
εy (mm.mrad) | 4.5 ± 0.7

## Slide 9: Emittance measurement
dghosal@liverpool.ac.uk debdeep.ghosal@cockcroft.ac.uk
OTR (@CLEAR (’24 & ’25) demonstrated
Wide dataset range (700pC to 2.2nC @200 MeV)
Quad scanning to feasible/reliable range
Sufficient for PoC measurements
Initial proof of principle results looked promising
Twiss patterns to be checked for resolution limit behavior (error in the actual hardware misalignment or beam characteristics!)
Simulation study to define resol. limit

## Slide 10: OSR Simulation
dghosal@liverpool.ac.uk debdeep.ghosal@cockcroft.ac.uk
SRW <—> Zemax (Full end-to-end integration) with parametric scans
Image plane MLAfocal Plane

## Slide 11: OSR Simulation
dghosal@liverpool.ac.uk debdeep.ghosal@cockcroft.ac.uk
SRW <—> Zemax (Full end-to-end integration) with parametric scans
Image plane MLAfocal Plane

## Slide 12: OSR Simulation
dghosal@liverpool.ac.uk debdeep.ghosal@cockcroft.ac.uk
SRW <—> Zemax (Full end-to-end integration) with parametric scans
Image plane MLAfocal Plane

## Slide 13: Equipment Status for run-2c and other Updates
dghosal@liverpool.ac.uk debdeep.ghosal@cockcroft.ac.uk
System design and beamtime
PCO Edge 26 (~£10k) to Basler ace2 a2A2048-37gmPRO (~£370) Camera comparison carried out
Much smaller sensor (not relevant), comparable resolution, slightly worse noise floor
DN63 CF finalized with Nicolas, Marlene… (more angular acceptance)
OTR quad scan simulation —> sampling issue almost resolved
Installation and beamtime (OTR) at CLARA confirmed in Feb/March; OSR to follow later…
Source: CLARA
Joe
Thorlabs
OSR
OTR

## Slide 14: To Wrap up!
dghosal@liverpool.ac.uk debdeep.ghosal@cockcroft.ac.uk
Emittance
Long. Profile
While in contact with Marlene and Nicolas, UoL to lead the final stages of development and integration in collab. with CERN BI + UCL
OSR simulation is at the final stage
DN63 CF flange (4.50" OD) decided for the window
Installation and confirmed beamtime OTR (and also possibly OSR later on) at CLARA, Daresbury
A new PhD recruitment in place, already receiving applications (possible LTA during commissioning, integration for run-2c)
Outlook…

## Slide 15
Thank you!

## Slide 16: Back up!
dghosal@liverpool.ac.uk debdeep.ghosal@cockcroft.ac.uk

## Slide 17: OSR Simulation
dghosal@liverpool.ac.uk debdeep.ghosal@cockcroft.ac.uk
SRW & Zemax
https://github.com/ochubar/SRW
SRW is a comprehensive software toolkit developed (by O. Chubar & P. Elleaume, @ESRF) for simulating the emission, propagation, and interaction of SR with materials. Fast computation of SR emitted by relativistic electrons in mag. field of arb. configuration
SR wavefront propagation
Simulation of experiments involving SR
Python-based API
Accurate Field computation
Zemax is used to simulate the optical path for OSR collection and imaging
Helpful with ray tracing, PoP and spot size analysis
SR
SRW
Zemax
B
e-
Detector