## Slide 1
Markus Münster & Michael Berghold
11. Dezember 2025
Progress of OPHANIM in 2025

## Slide 2
System Architecture
Limits of the System
First Pbars and Damage
Resolution Assessment
Pattern!

## Slide 3
System Architecture
Limits of the System
First Pbars and Damage
Resolution Assessment
Pattern!

## Slide 4: Hardware Overview
60 SONY IMX686 CMOS Sensors
 Total: 3850 MP
Notes: Entire system developed and built by our Team consisting of Dr. FG, MB and me

## Slide 5: Host Driver: Overview
Setup
Arming for Transmission
Triggering
Data Reception
Post Acquisition Checks + Processing
Link Health Monitoring
Prepare for next Transmission
1-2s
Ca. 35-40s atm
Depends on Exposure Time
Go To Standby = Sensor Board Off
10s Timeout
1-2s
After 10min Timeout or Automatic immediately
Leave Standby = Sensor Board On + Set Sensor Config
Turn Off RO Cards
After 2h Timeout
15-30s

## Slide 6
System Architecture
Limits of the System
First Pbars and Damage
Resolution Assessment
Pattern!

## Slide 7: Trigger Mechanism
Sensor
TTL Trigger Signal
Set Start Register
GPIO Input
I2C Block
Camera Controller
Rising Edge Detected
Introduce:
Delay
Jitter
Trigger Signal via USB
Option A
Option B
Notes: Along pipeline: delay, jitter  important to know to determine the time when the trigger is sent vs. all pixels of ophanim are active

## Slide 8: Trigger Performance Analysis
Procedure:
LED on before Exposure started  Full Brightness
LED on after Exposure is finished  Only Background
Notes: LED Turn on delay: trigger to when Led is turned on
Rolling shutter
Only look at first block, remoive background and normalize from 0% to 100%
Want to measure acquisition start delay and its jitter

## Slide 9: Trigger Performance Analysis
Linear Interpolation to invert the Function
Intersection: Time, at which Measurement crosses RMS Brightness
Jitter: Standard Deviation of Time Deltas
 Median Jitter: ±4.99 μs
I2C Bus Frequency: 100kHz
Notes: - Brightness decline in between ca. 13000 and 14400 us, but not linear
Exposure: 1418.614 μs
Acquisition start delay is ca. 13000 ti 13100 us
For jitter: assumption
Mean
Look at detail

## Slide 10: Trigger Performance Analysis
Turn on Delay smaller than 13100 μs
Jitter: ±4.99 μs
Rolling Shutter: ca. 542.4 ms
Trigger to be issued at least ca. 556 ms before incoming Particles are expected
For option A: Additional jitter of max. ±1ms due to USB Scheduling
Notes: For exact turn on delay, more detailed scans would be necessary
Not necessary due to much longer rolling shutter
Engineers advice: assume 600 ms to be safe
542.415

## Slide 11: Bottleneck Analysis for Data Reception
Notes: A lot of data in a short time
Investigate for bottlenecks to optimize throughput and avoid data loss
Go through components top to bottom

## Slide 12: Ophanim Data Bus
Sonnet Allegro PCIe Cards
SSP on each port simultaneously PROMISED
Link Bandwidths (actual Payload)
  8x SSP: 8x ca. 1.1 GB/s
  PCIe 3.0 x8: ca. 7.8 GB/s
Devices enumerate only as SS, not SSP
10 Gbps each
5 Gbps each
20 Gbps in total
Notes: Actually system of busses
Bottom to top
  60 sensors connected to 60 camera controllers via MIPI CSI-2
  Each five camera controllers on one RO card connected to a hub with a USB SS connection
  12 RO cards have each one SSP upstream connection
  Task: 12 SSP connections to host each, with full 10 Gbps bandwidth
    On mother board: Intel PCH: up to 20 Gbps  can handle 2 SSP connection
    Extra ports with 2 PCIe cards
      Manufact. Promises full SSP bandwidth on all ports simultaneously
      Scanning used components reveals: PCIe connection to weak
      Attached devices do not enumerate as SSP dev. (commercial devices as well)

## Slide 13: Bottleneck Analysis: PCIe
Would bottleneck, if 2 SSP devices attached to any USB Controller
128 GT/s
 Much more performant than USB controller
20 Gbps in total
Most performant USB configuration:
One Device per ASM2142/3142
Four Devices at Intel PCH USB Controller
PCIe 3.0 x8 performant enough
Notes: Right: DMI overpowered compared to USB  no problem
PCIe x8 evenly split  each controller gets 2 lanes
Enough for one SSP device per controller (however, devices only go to SS anyways)  8 RO cards attached to 8 controllers of PCIe cards  PCIe is performant enough to handle this
4 RO cards left connected to PCH controller
 Experimentally proven to be most performant config, PCIe not a bottleneck

## Slide 14: Bottleneck Analysis: USB
actual Payload
10 Gbps

920 to 960 MB/s
of usable Payload
Only doable with USB controllers supporting SSP on all their used ports simultaneously
 Shared by 5 Devices
Can be achieved with entire detector with given hardware
Ca. 730 MB/s on Hub  USB Controller Connection
Exceeding expected max. of SS (ca. 460 – 480 MB/s)
Internal Sensor Clock Dictating the Pixel-Readout Frequency
Notes: Actual payload speed  other only with special equipment
Single sensor, camera controller pair first
Data rate dictated by sensor settings  define “output rate” of sensor, everything else has to follow, as there is no memory to store the image data on the pipeline
Absolute limit for SSP  shared by 5 devices
Only doable with proper controller (PCH)
Below 40 MHz, green  achievable with given hardware with entire detector
Blue: limit for reliable transfer with entire detector: exceeds SS limits  even though RO cards connected to the PCIe cards are only enumerated as SS devices and PCH controller should not be able to handle data rate of 4x 730 MB/s

## Slide 15: Bottleneck Analysis: USB
With better USB Controllers: at least 11.4 GB/s should be possible
Notes: Green area translates into up 8.2 GB/s over entire ophanim detector
With all SSP capcable USB controllers: 45 MHz and up to 11.4 GB/s should be possible with entire detector

## Slide 16: Bottleneck Analysis: MIPI CSI-2
 Shrinkage of Range of working Parameter Settings for the MIPI CSI-2 Link for high frequencies
Limit for reliable MIPI CSI-2 Link
Notes: Scan all sensors on sensor board: some stop working at higher data rates
Working set of parameters for all sensors is harder and harder to find  anything above 45 MHz not reliable over entire sensor board, however, trend is not clear
Anyways above what USB can do

## Slide 17: Bottleneck Analysis: Conclusion
Bottleneck: ASM2142/3142 USB Controllers
MIPI CSI-2 Link only allows slightly higher data rates

## Slide 18
System Architecture
Limits of the System
First Pbars and Damage
Resolution Assessment
Pattern!

## Slide 19: First on Ophanim and Sensor Damage
Img of ophanim at anti-sun

## Slide 20
“Dark” Background Acquisition

## Slide 21
“Dark” Background Acquisition

## Slide 22: Under the hood…

## Slide 23: Under the hood…

## Slide 24: Under the hood…

## Slide 25: Under the hood…

## Slide 26
Optical Light Image

## Slide 27
Optical Light Image
etc...

## Slide 28: Our Theory
The Timeline
May
June
July
2025
August
OPAHNIM is delivered to CERN and installed in CF-Cross
No Damage visible at this point
Installation of OPHANIM onto
Anti-Sun
Extensive sensor damage as shown
specs of dust / microscopic debris

## Slide 29: A Potential Solution?

## Slide 30
Dead Pixel Mask
Dead:
513 MPx
13.45 %

## Slide 31: Finally: First on Ophanim
Zero-Suppression Algorithm:
4.8 GB (uncompressed)
↓
30MB per acquisition
+ one uncompressed
4.8 GB background / 2 hrs
= 80 GB/day
Flux (catch & dump):
ca. 2500 vertexable / shot
on Ophanim
(Area ca. 2440 mm^2)

## Slide 32: And now some more…
The Starry Night
Artist: AEgIS et al.
Year: 2025
Medium: on Silicon
In total (no catching):
ca. 300e6
vertexable Pbars collected
with / without degrader

## Slide 33: On the Ophanim Sensor Boards
Board No. 1
Board No. 2

## Slide 34: On the Ophanim Sensor Boards
Five original Sensor PCBs (5k€ total):
Sensor Board Nr. 1: First to be installed at AEgIS
(6 Sensors defunct, remainder
significantly damaged)
Sensor Board Nr. 2: Currently installed at AEgIS
(5 Sensors defunct, remainder in perfect order)
Remaining Sensor Boards were needed to find process control & integration testing -> no longer available

## Slide 35: On the Ophanim Sensor Boards
Wires of
20 µm thickness
100 Bondwires
per Sensor
Special Thanks to
Herbert Schiffner

## Slide 36: On the Ophanim Sensor Boards
5 More Sensor Boards currently in Production
Delivery in Feb. 2026
Already in contact with specialized wirebonding company
More advanced process and QA
Pricerange around 7.5 k€ for 3 Boards
V2

## Slide 37
System Architecture
Limits of the System
First Pbars and Damage
Resolution Assessment
Pattern!

## Slide 38: Vertexing Algorithms: SOLD2
SOLD2: Self-supervised Occlusion-aware Line Description and Detection (Pautrat et. al.)
Feature Extraction
Line Detection with SOLD2
Weighted Vertexing
Notes: Self supervised:
Training on Synthetic data with known ground truth
Homography Adaptation on real images  Pseudo ground Truth
Training on real images using the pseudo ground truth

## Slide 39: Vertexing Algorithms: SOLD2
SOLD2: Self-supervised Occlusion-aware Line Description and Detection (Pautrat et. al.)
Feature Extraction
Line Detection with SOLD2
Weighted Vertexing
Line Detector
 Struggling with Dots
Notes: Self supervised:
Training on Synthetic data with known ground truth
Homography Adaptation on real images  Pseudo ground Truth
Training on real images using the pseudo ground truth

## Slide 40: Vertexing Algorithms: ARIADNE
Feature Extraction
Ellipse Detection for Combination of Gaussian Mixture Model and Bayesian Information Criterion
Vertexing
Notes: Aggregate Recomposition (divisive) with Integrated Analysis and Dimensionality (PCA)

## Slide 41: Vertexing Algorithms: ARIADNE

## Slide 42: Quantifying the Resolution
Pbars
Recap of 2023

## Slide 43: Quantifying the Resolution
Recap of 2023

## Slide 44: Quantifying the Resolution
Recap of 2023

## Slide 45
100 keV
Grid Image with ?
Quantifying the Resolution

## Slide 46
Quantifying the Resolution
Preliminary

## Slide 47
Quantifying the Resolution
Misalignment?
B-Field?

## Slide 48
Quantifying the Resolution (IMX682)

## Slide 49
Resolution = 4.9 µm

Resolution = 3 µm
:/
ARIADNE
Quantifying the Resolution (IMX682)
SOLD2

## Slide 50
System Architecture
Limits of the System
First Pbars and Damage
Resolution Assessment
Pattern!

## Slide 51: 100keV Pbars from ELENA

## Slide 52: Non-monochromatic Pbars

## Slide 53
Thank you for your attention
I am happy to answer any questions you may have
Notes: Before any questions: thank Bergi and Francesco!

## Slide 54: Vertexing Algorithms: ARIADNE
Feature Extraction
Ellipse Detection for Combination of Gaussian Mixture Model and Bayesian Information Criterion
Vertexing

## Slide 55: Host Driver: Overview
Setup
Arming for Transmission
Triggering
Data Reception
Post Acquisition Checks + Processing
Link Health Monitoring
Prepare for next Transmission
Libusb used for USB communication

## Slide 56: 3.5 Characterization
Power Rails:
  1.1V: 5 parallel MOSFETs
  1.8V: 2 parallel MOSFETs
  2.9V: single MOSFET
Allowed Currents: max. drain current for each IRF540N Power MOSFET: 110 A pulsed, 33 A continous (at 25°C)
Allowed Output Voltage Range: +/- 0.1 V compared to the nominal Value

## Slide 57: Software Overview
Acquisition Driver manages
  Camera Controllers
  Sensors
  Data Reception
PSU Driver manages PSU
Notes: Two main drivers
PSU driver
  Connects to MCU of PSU
  Reads various parameters of the power rails
  Allows user and acquisition driver to control PSU
Acquisition driver
  Connects to and manages the camera controllers
  Attached sensors
  Main: data reception
GUI for control and monitoring for user

## Slide 58: Bottleneck Analysis: CPU & Driver
Ring Buffer for TRBs
Queueing of multiple Transfers per Device simultaneously
Asynchronous Transfer Handling
Multithreaded Transfer Handling leveraging Libusb contexts
Notes: Cpu performance closely related to driver program
Linux USB stack with libusb
Firstt: async to be used  allows to queue multiple transfers in a non blocking manner
Transfer submitted  goes through stack and put into ring buffer of xHCI  multiple per deive have toi be queued here to ensure, that there is always a transfer ready to be filled with data
After transfer is finished, handled by cb of user space program  just copy data into memory buffer and resubmit transfer
Not enough with 60 devices!  multithreading

## Slide 59
Single Thread: CPU overwhelmed
   Data Loss
Bottleneck Analysis: CPU & Driver
Notes: Single thread: at 100% for long time; cannot keep up, data is lost, because ring buffer overwrites it

## Slide 60
Single Thread: CPU overwhelmed
  Data Loss
Solution: Multithreading by hacking Libusb’s context scheme
Bottleneck Analysis: CPU & Driver
Notes: Contexts are made for allowing multiple libusb based programs to run in parallel, not to run multiple contexts in the same program, but can be exploited for it
Each context has 2 or three devices, transfer submission and cb handling handled inside the same context inside the same thread  one thread only has to handle 2 or 3 devices
Cpu has 24 physical cores, with hyperthreading 48  distributed devices as evenly as possible among all physical cores
Also using other helpers, like pinning threads to cores and giving them high priorities  plenty of cores are used and none ever exceeds usage of 60%

## Slide 61: 3.2 ADC Optimization
ADC Input
Multiplexer
Signal
optional
Processor
Circuit Design of Analog Inputs:

## Slide 62: 4.2 Mark 0
MIPI CSI-2 Connection to Sensors
Hub enumerates as SSP Hub
Devices Downstream of Hub do not enumerate as SS Devices

## Slide 63: 4.2 Mark 0
Camera Controllers can enumerate as SS Devices when hub is bypassed
No Devices Downstream of Hub enumerate as SS Devices
Hub  CX3: Mixed up USB SS RX/TX Connections  manual repair has no effect
Device Enumeration Behavior dependent on distance to hub
 closer to hub “closer“ to SS
Wireshark: Hub Downstream Ports not enabled

## Slide 64: 4.2 Mark 0
Potential Causes
USB SSP Hub
Interconnect Hub  Device
Re-Design with:
different USB SSP Hub
Short and carefully routed SS Lanes

## Slide 65: 4.3 Mark 1
Bad: Stub Effect
Good: No Stubs

## Slide 66: 5.3.1 CPU & Driver
Additional Measures
Binding threads to cores (sched_setaffinity())
Assign high Priorities to threads (pthread_setschedparam())
Locking relevant Data structures into memory (mlock())
Notes: Exposure: 1418.614 μs
Add estimation  explains why this is interesting!

## Slide 67: 6.2 Thermal Performance in UHV
Notes: Exposure: 1418.614 μs
Add estimation  explains why this is interesting!

## Slide 68: 6.2 Thermal Performance in UHV
Measured with internal temperature sensors of SONY IMX686: ±3°C Accuracy

## Slide 69: 6.2 Thermal Performance in UHV
Only Passive Cooling
Water-Cooling
Notes: Exposure: 1418.614 μs
Add estimation  explains why this is interesting!