EATM ACTION ITEMS & Follow Ups – Nov 18th 2025

| Nr | Item | Responsible | Comment | Status |
| --- | --- | --- | --- | --- |
| 1 | Procedure for galleries access | J. Bernhard | Comments received. EDMS 2391345 and 1748425 merged. Draft to be circulated. | Ongoing |
| 2 | Write / Update CEDAR installation and commissioning procedure | M. Santos, K. Sidorowski, V. Marchand | Updated checklist being prepared for this year. Following the completion of the new clean room the procedure will be fully updated including this checklist as well (2025 end). | Ongoing |
| 3 | Naming update for North Area devices | G. Romagnoli, Equipment experts | Naming convention updated for the North Area. All databases to be updated as a result. Status of the naming change in different databases to be verified and experts/responsible to be contacted to perform the changes. Follow-up to be scheduled after the summer. | Ongoing. |

NA-CONS Related Activities

| Nr | Item | Responsible | Comment | Status |
| --- | --- | --- | --- | --- |