## Slide 1: Ghosts and Satellites measured with the LHC LDM
LUMI days 2012
CERN
Adam Jeff

## Slide 2: Satellites, Ghosts: definitions

## Slide 3: Satellites, Ghosts: definitions

## Slide 4: Satellites, Ghosts: definitions
Satellites
Ghosts
Ghosts ≠ debunched beam

## Slide 5: Satellites, Ghosts: definitions
DCCT integrates all beam current
-> affects fast BCT normalisation
Fast BCT integrates some satellites
-> affects relative bunch currents

## Slide 6: The LDM: how it works
APD
TDC
synchrotron light
LHC turn clock
Electrical pulse
Arrival time
Undulator
Dipole
Synchrotron light from BSRT
Dipole and undulator at point 4
Separate system for each beam

## Slide 7: The LDM: instrument response
Histogram integrated over 1,000,000 pulses
Average 0.5 photons per pulse
Diffusion tail

## Slide 8: The LDM: count rate

## Slide 9: The LDM: deadtime correction
Availability of the detector in bin i:
Correction for deadtime:
Correction for deadtime and pile-up:

## Slide 10: The LDM: deadtime correction
Availability of the detector in bin i:
Correction for deadtime:
Correction for deadtime and pile-up:
Lab test with pulsed LED

## Slide 11: The LDM: afterpulse correction
Trapped charge carriers can generate a false avalanche
Happens at the end of the deadtime or some time after:
- multiple exponential decay, half-life 100ns to few μs
Parameters found by experiment
Correct by subtracting multiple IIRs

## Slide 12
Main bunch
Satellites
Afterpulsing
Deadtime
Ghost bunches

## Slide 13
Corrected for deadtime

## Slide 14
Corrected for deadtime and afterpulsing
Corrected for deadtime

## Slide 15: Average slots & Baseline

## Slide 16: Average slots & Baseline
Mostly due to under- / over- correction of afterpulsing
Not equal around the ring – but we are only interested in average

## Slide 17: Average slots & Baseline
Average full slot:
The +1 bucket is swamped by the diffusion tail of the main bunch.
-4 to -1 and +2 to +5 are counted as satellites.

## Slide 18: VdM results: ghost charge
 | Beam 1 |  | Beam 2 | 
November 2010 | n/a |  | 2.5 | +2.5/-0.6
March 2011 | n/a |  | 0.6 | +0.6/-0.2
May | 0.18 | +0.18/-0.04 | 0.40 | +0.4/-0.1
October | 0.69 | +0.7/-0.2 | 0.71 | +0.7/-0.2
December f2335 | 3.1 | +3.1/-0.8 | 2.8 | +2.8/-0.7
December f2337 | 2.1 | +2.1/-0.5 | 2.3 | +2.3/-0.6
Definition: % of total beam population which is outside the filled slots

## Slide 19: VdM results: satellites
 | Beam 1 |  | Beam 2 | 
November 2010 | n/a |  | 0.4 | +/- 0.1
March 2011 | n/a |  | 0.1 | +0.05/-0.03
May | 0.02 | +0.03/-0.01 | 0.12 | +/- 0.03
October | 0.21 | +0.06/-0.08 | 0.57 | +0.17/-0.12
December f2335 | 0.38 | +/- 0.1 | 0.34 | +0.1/-0.08
December f2337 | 0.28 | +0.08/-0.06 | 0.29 | +0.08/-0.06
Definition: % of filled slot population which is outside the filled bucket or the following bucket
Averaged for whole time of scan and for all filled slots – results for a subset of bunches can be calculated if you ask nicely.

## Slide 20: Error inventory
 | Error for ghost charge | Error for Satellites
Statistical | 10 % | 5 %
Baseline uncertainty | 12 % | 3 %
Emittance dependence | 20 % | 20 %
Debunched beam | 100 % ?! | 25 % ?!
Typical values - 68 % CL
Total | -25% / +100% | -20% / + 30%
LDM baseline correction assumes zero debunched beam
- consistent with beam gas and abort gap monitor

## Slide 21: LDM vs fBCT
Disagreement between LDM and fast BCT on main bunch populations is usually <2%
Occasionally up to 5%, probably due to emittance spread.

## Slide 22: Emittance dependence
Active area of APD is only 50 microns
Beam spot size ~300 microns
Samples only part of the beam spot
>>> Measured bunch population depends on transverse size

## Slide 23: Thanks for your attention