Gaseous Beam Position Detectors, with Low Cost and Low Material Budget
Gyula Bencédi
on behalf of the REGaRD group
MTA KFKI RMKI, ELTE
November 29, 2011, 11. Zimányi Winter School, Budapest

---
Outline
- Physics Motivation
- Newish MWPCs, the Close Cathode Chamber technology
- The Beam Position Detector (with reduced material budget)
- Construction of a cost-efficient BPD Chamber
- Test measurements (in Lab and @ CERN PS)
- BPD upgrade and first tests (Oct-Nov 2011)
- Summary

---
Physics Motivation I.
ALICE upgrade: HMPID → Very “HMPID”
Very High Momentum Particle Identification Detector: High PT (5-25 GeV/c) Trigger Detector (tracking and PID, |η|<0.5)
HMPIDs
MWPCs (GEMs, TGEMs)
VHMPID
Detector
Layout
CsI Photon Detector,
Padsize: 8x8.4mm^2
VHMPIDs

---
Physics Motivation II.
- Small Padsize → need good spatial resolution (~1mm, <1mm) MWPCs	→ track-by-track Particle Detection
- REGaRD group (from 2009, RMKI-ELTE Gaseous Research and Development)	→ develop gaseous particle detectors (MWPC, GEM, TGEM+CCC Photon Detector)	→ state-of-the-art MWPCs, with Close Cathode Chamber technology
1.) Low cost, low material budget
+
2.) >1mm resolution so far...
1.) - 2.) improvable!
Possibility for Beam Position Detectors

---
Newish MWPCs, the Close Cathode Chamber technology I.
- Multi Wire Proportional Chambers (Charpak, 1968)
  → Thin anode wires (Sense wires (+), ~10-100 um) → Cathode plates → Closed, noble-gas (e.g. Ar) filled volume + few % quenching gas (e.g. CO2)
Construction's Drawback:
“bad” (~ 10um) mechanical tolerance
→ Need robust frame → increasing material budget
→ rising unwanted secondary interactions
Possible improvement:
asymmetric wire-pad distance → CCC technology
Amplification of ionization

---
Newish MWPCs, the Close Cathode Chamber technology II.
CCC option: + Thicker “Field wires” + Asymmetric wire-padplane layout + Optimal settings of high voltages (Sw/Fw)
SW
(+)
FW
(-)
Gain does not depend on Sense wire's charges
Better mechanical tolerance (~ 100um) → less material budget

---
The Beam Position Detector (with reduced material budget)
BPD (~5-15cm) CCC version,
2010 - 2011
L0,MIP (~1m) CCC version,
Aug. 2011
Size
Old	~ 5cmx4cm
New ~ 15cmx15cm
L0	~ 1mx0.5m
MIP ~ 0.5mx0.5m
Material thickness (PCB)
~ 2-3mm
~ 0.8-1.5mm
Weights (total)
~ 2-3kgs
< 0.05kgs
Support Structure
Al bars
none

---
Construction of a cost-efficient BPD Chamber (Oct. 2011)
Wiring, gluing, soldering ...
Raw, thin PCB plates
Ready for measurements

---
Test measurements in Lab I.
Basic cosmic-muon tests with analog and digital 2D readout (on wires and pads)
Pad hits “x”
Wire hits “x”
6 layers of BPDs
layer distance:30mm
Some parameters right after the run
Trigger speed: ~1.85 event/min
→ too slow to study in detail
→ need beam tests @ CERN PS
Typical cosmic setup with
6 layers of BPDs (Feb. 2011)

---
Test measurements in Lab II.
Hitmap of triggered cosmic muons
Reasonable Landau-distribution

---
Test measurements in Lab III.
Efficiency
Uniformity
Cluster Sizes vs Efficiencies
Efficiencies : OK (> 90%)
Uniformities: OK (> 90%)
Cluster Sizes remain small

---
Test measurements @ CERN PS I.
Shadow of a small scintillator (2x3cm), on front side
→ triggered effective surface
Efficiency > 98%
Beam test of the 6 layers of BPDs @ CERN, Aug. 2011

---
Test measurements @ CERN PS II.
Efficiency cut > 90%
Spatial resolution ~1mm can be reached,
with digital readout
→ Efficiencies, Uniformities: OK
→ Spatial resolutions are such as we expected (generally 1-2mm, best case ~1mm)
To increase the resolutions more: BPDs need to be upgraded →	new construction → capable to readout with HMPID electronics

---
BPD upgrade and first tests (Oct-Nov 2011)
16 Chs of FWs
32 Chs of PADs
At first run:
~95% efficiency
New BPDs , new TCPD
First run in VHMPID beam test, Nov 2011
Included in Alice DAQ
First cosmic test, 22nd Oct 2011
Simultaneously readout with TCPD
Upgrade: 16 → 32 channel PAD, thiner PCBs (0.5mm !), included HMPID Gassiplex connectors
Gassiplex card

---
Ongoing analysis from the latest data, preliminary...
Pad 1
Fw 2
δ~ 800 μm
δ~ 600 μm
Pad 3
Fw 4
δ~ 900 μm
δ~ 600 μm

---
Summary
- BPDs are potentially good candidates to measure charged particle track positions with high efficiency (The Close Cathode Chamber technology works fine)
- Spatial resolution is good, it can be even better in the upgraded version (expected to be under 500 microns due to the newly developed version)
- Manifestly easy to construct relatively cheap BPDs, containing low amount/cost material budget
- Hopefully they will serve reasonable resolutions in VHMPID beam tests, and in other applications as well