## Slide 1: Quiescent Observation of Bioluminescence in the Deep Sea
J. Brunner
24/05/2012

## Slide 2: Motivation - Specifications
Quiescent Observation
  in its natural environment
  undisturbed by noise, light or turbulences
  Non-distructive (leave them alive !)
Deep Sea
  At least 2000m below surface
Self triggering system
  Bioluminescence light itself must trigger the readout
  Permanent connection to the shore station
  Automatic data transfer to shore station

## Slide 3: ANTARES – a deep sea cabled network
70 m
450 m
Junction
Box
Interlink cables
40 km to
shore
2500m
885 PMTs
12 lines
25 storeys / line
3 PMTs / storey

## Slide 4: ANTARES location
Mediterranean Sea
Depth: 2475m

## Slide 5: Real events from ANTARES photomultipliers
Bioluminescent organisms exist at the ANTARES site
ANTARES
ANTARES
Literature

## Slide 6
Some more examples of bioluminescence bursts
Try to add spatial information to these counting rates  deep sea cameras

## Slide 7: Instrumentation line (IL07)
ANTARES

## Slide 8
Cameras on floor 1 and floor 5 together with an OM and an ADCP
Floor 1
  2400 m below surface
  80m above sea floor
Floor 5
  2200 m below surface
  270m above sea floor
Installation of cameras on IL07

## Slide 9: Camera
AXIS221 videosurveillance
Night view capabilities
View field up to 90 degree
Sensitive into infrared
View field & focus can be set manually
Diaphragm & exposure time automatically / remotely controlled
Data output
Ethernet
Power 12-24V, 5W
Control of external device

## Slide 10: IR Source
Absorption in water less than 1m – no interference with PMTs on other lines
~60 LED 850nm
Can be controlled (switched ON/OFF) by camera

## Slide 11: Mechanics & Electronics @ CPPM
Test setup for water tests
Final mechanics frame to hold camera
And IR source (not yet mounted)

## Slide 12: Mounting on OMF (floor 5)
Try to maximize overlap of field of view between camera and OM

## Slide 13
Electronics from CPPM
CAMETH
CAMPOW
Conversion of Ethernet signals
From electric to optic
Power supply and IR control

## Slide 14: Combined tests with ISIT
ISIT IR AXIS
ISIT : intensified silicon intensifier tube
University Aberdeen
1995, 20,000 Euro
Claimed sensitivity ~ 10-6 lux
Bacteria sample

## Slide 15: Combined tests with ISIT
Bacteria sample
AXIS
AXIS, IR ON
ISIT

## Slide 16: Calibration with laser
laser
OM
Splitter
16x
Diffuser
Geometrical factor 0.1
Camera
lens
100-1000 Hz
Integration variable
1cm2

## Slide 17: Calibration with laser
AXIS 1sec
AXIS 1/25sec
ISIT 1/25 sec
3.10-5 lux
3.10-6 lux
ISIT ~ factor 20 more sensitive ; AXIS better resolution
Missing sensitivity can be compensated by longer exposure time
Worst case scenario : isotropic light (as from K40)
PMT 1MHz = 108 photons/m2/sec = 3 10-8 lux
Expect to see pointlike signals at few tens of MHz depending on geometry

## Slide 18: Dec 2007 July 2007
Floor 5
Floor 1
ADCP
Camera
OM
ADCP
Camera
OM

## Slide 19: Test Images
Camera at Floor 1 has storey structure in field of view
Can serve as scale to estimate size and distance of objects

## Slide 20: Camera Operation
Since early 2008 cameras are permanently active at the ANTARES site
2007
2008
2009
2010
2011
Deployment
IL07 disconnection
ebCMOS camera
installation
Commissioning
33 months of standard operation

## Slide 21: Early image 2sec exposure

## Slide 22
Sequences of 2 images: 0.2 sec exposure each

## Slide 23
Examples of short flashes
visible only on one or two single image of 100 msec

## Slide 24: Galaxy on CCD
Standard Astrophotography
Long exposure time
Same structures !
Traces from charged particles
Remnants from Cosmic ray showers

## Slide 25: Passing object illuminated in IR light

## Slide 26: Small bright object

## Slide 27: Extended object

## Slide 28: Dancing Spots

## Slide 29: Trigger statistics
?
?
2008 2009 2010
2008 2009 2010
Activity varies between years and also between seasons
Shallower camera has more trigger in periods of high activity
44 83 64
46 91 107
Total per year
4.9 6.9 8.0
5.1 7.6 13.4
Rate per month

## Slide 30: Bioluminescence versus Cosmic Rays
?
?
2008 2009 2010
2008 2009 2010
CR events do not show seasonal or year dependent variations
No CR events on camera 1
  more stringent trigger due to storey visibility in field of view
43 71 44
46 91 107
Total per year
4.8 5.9 5.5
5.1 7.6 13.4
Rate per month

## Slide 31: Particle physics with cameras
Sanity check:
CR frequency is compatible with Poisson-fluctuating constant rate (red) or Gauss-Fit (black)
Total Mean Rate : 5.4 events / month
ANTARES measurement of depth dependent muon rate (E > 4 GeV)
R = 0.3 events / month / cm2
An effective surface of only 4x4 cm2 around CCD sufficient to match the numbers !
Lower energy muons, delta-electrons spallation neutrons also help

## Slide 32: Summary IL07 cameras
Concept has been proven
Successful data taking for almost 3 years
435 biolum triggers accumulated
Full analysis ongoing
Next Step
Improve performance by applying new technologies
Design of next generation deep sea camera

## Slide 33: New Biocam Project team
IPNL ebCMOS group R. Barbier, T. Cajgfinger, P. Calabria, E. Chabanat, D. Chaize, P. Depasse, A. Dominjon, C. Guérin, J. Houlès, D. Quang Tuyen, L. Vagneron
CPPM Antares/Biocam M. Ageron, M. Billault, J. Brunner
DT-INSU K. Bernardet, C. Gojak, Y. Lenault, K. Mahiouz
Detector R&D in collaboration with IPHC Strasbourg and PHOTONIS

## Slide 34: New camera location
ANTARES
Module attached to
Secondary Junction Box

## Slide 35: ebCMOS working principle
400x400 CMOS chip
  10 mm pitch
  detection size : 4x4 mm2
gain with HV 2-4 kV
  1 photon gives 1 photoelectron E=2-4 keV detected in CMOS
  multiplication gain 300 with CCE about 60%
  single photon sensitivity
S20 cathode
  20% quantum efficiency around 500 nm
  wavelength sensitivity from green to blue, strongly decreases going to red
photoelectrons
carrier
HV
photocathode
< 1 mm
thinned CMOS
E
vaccum
g

## Slide 36: schematic view
Camera
MII
Ethernet+ PS
Sea floor
Embedded Computer
SSD
SJB
Ethernet+ PS

## Slide 37: operating mode
record data without any additionnal light : bioluminescence observation
continuous readout can’t be stored (400x400 pixels @ 62.5 fps with 1 byte/pixel give 600 MB/min or 80 Mbits/s) we share the network bandwidth with other measurements on the MII
gain (HV) is ON and continuous readout is buffered on local disk untill some trigger occurs, then the circular buffer is read out while signal remains above the threshold
the trigger is very simple : if photons number exceeds 14, event is stored. no assumption on the size or the form of the signal.
everything is dropped except 5 s before trigger and 15s after the object comes out the field of view
typical event : 5s, 50 MBytes

## Slide 38: General View
Integration into standard ANTARES pressure resistant electronics cylinder

## Slide 39
ebCMOS
lens
Single Board Computer
DAQ System
Power Supply part
detector working temperature = 15°C thanks to peltier cooling
test without cooling shows a stabilized temp. of 18°C

## Slide 40
Instrumented Interface Module
C.Gojak, K.Mahiouz, Y.Lenault, K.Bernardet, Z.Hafidi (DT INSU)
O2, CTD, P
BioCam
Courantometer
Turbidity
Electronic Container
CDC Connector for extension
Interlink Cable

## Slide 41: Final integration into MII module
60 cm long
diameter 15 cm

## Slide 42: Camera Operation
Since early 2008 cameras are permanently active at the ANTARES site
2007
2008
2009
2010
2011
Deployment
IL07 disconnection
ebCMOS camera
installation
Commissioning
33 months of standard operation

## Slide 43: photons reconstruction
photoelectron pattern
  1 central seed Q>3
  30% of pixels > 50% Qseed
  50% of pixels > 30% Qseed
a single hot pixel is not identified as a photoelectron
fake photons & hot pixels efficiently suppressed

## Slide 44: Triggering & Images
Typical image
Trigger on only 14 photons (!)
Majority single frame triggers from ion feedback
Per month 150 genuine biolum events
About 20 x more triggers than for earlier cameras
Typical image from integration of 200 frame
Total ~5000 photons

## Slide 45: Bright Event

## Slide 47: Summary
More than 4 years data from 3 cameras accumulated
Analysis ongoing
  Correlation with environmental parameters
  Fits to time sequences of total amplitudes
  Identification of spatial patterns
Next steps  tomorrow talk by R. Barbier

## Slide 48: END

## Slide 49: how to be sure we don't see noise
13000 dark events
0.78 p.e. per frame
every ~200 frames, we do observe a ~10 p.e. signal which comes from an ion feedback reaching the cathode → real threshold @ 14 photoelectrons
5 p.e. threshold can be obtained with temporal filtering or ion feedback identification
ADCU
single pe peak

## Slide 50: Results
biocam is fully fonctionnal since middle of december
about 30 events occurs (1 to 10 sec. duration)
photon counting imaging experiment : → p.e. position (X,Y) at time t (it's the new contribution from this biocam version) → Number of p.e. vs time
different kinds of recorded events
event typology | fixed | moving
constant | ✔ | ✔
flashing | ✔ | 

## Slide 51: what we see
20-30 photons signal is too low to
build an image, this is integrated over
200 frames.
more to see on videos ...
main features:
  about 15 pixels central part
  about 120 pixels halo part
assumption : object is very close to lens, even may strike the glass window and thus give luminescence. so the object is not well focused (dmin=30cm) the order of magnitude of the object size is mm

## Slide 52: most frequent event
sudden event of 20-30 photons per frame
relative slow decay 1-2 s
more statistics needed

## Slide 53: flashing events