## Slide 1: Analysis Summary
V. Blackmore
CM32, RAL, 10/02/12

## Slide 2: p-m Beam Contamination
Developed two techniques for determining the amount of p-contamination in our m beam.
  The Time-of-Flight (TOF) of muons and pions can coincide in different runs. Compare the overlap between muon and pion peaks in pion runs:
M. Bogomilov, D. Orestano, A. Blondel, Y. Karadzhov
Determine: and

## Slide 3: p-m Beam Contamination
Developed two techniques for determining the amount of p-contamination in our m beam.
  Or: extract templates for muons and pions in fixed TOF windows from the pion runs.
  Fit the fraction of muons and pions in muon runs within the same TOF window.
~96% m
~4% p
~100% m
~0% p
M. Bogomilov, D. Orestano, A. Blondel, Y. Karadzhov
Very promising technique!

## Slide 4: The Optics of Step IV
MICE Note 88 revival (U. Bravar, 2004)
  Optics solutions for MICE Steps IV, V and VI for ‘old’ coil parameters. Much has changed re: coil parameters.
  Solutions are compatible with coil limitations, are periodic (can be extended to future steps), and are scalable.
Tested the various TRD-based Step IV configurations in MAUS, making sure there is a match.
Next, rematching Step IV using the as-built coil dimensions.
Bz (T)
b (mm)
z (m)
z (m)
U. Bravar, P. Snopok

## Slide 5: Multiple Scattering and the MICE Tracker
Scattering angle measured in tracker through AFC + LH2
Smear
10 20 30 40 50 60 70 80
No Smear
Simulate m down the channel, inc. absorbers.
Re-simulate through empty channel: Upstream to downstream, downstream to upstream.
Calc. angle between them  scattering angle.
Do this with and without smearing the ‘tracker’ reconstruction.
Can measure multiple scattering with the tracker.
 | No Smear | Smear | PDG | Paraxial beam
No AFC | 1.04e-9 | 3.01e-4 |  | 
AFC (windows) | 7.55e-5 | 3.84e-4 |  | 
LH2 | 2.6e-4 | 7.8e-4 | 6.6e-4 | 2.37e-4
LiH | 4.6e-4 | 7.7e-4 | 1.15e-3 | 6.39e-4
Amount of smearing needs more thought!
 It could be an overestimate.
T. Carlisle

## Slide 6: e+e- Puzzle
The problem: TOF between e+ and e- is different.
Investigated in Dec. run.
Variation in the number of particle triggers/spill introduces a difference in the measured TOF of e+ and e- (~100ps) despite identical beamline settings.
Now this is a “rate effect” problem!
The problem 
Y. Karadzhov

## Slide 7: CKOV
MAUS CKOV software is taking shape.
Dec. run processed soon.
Particles are well-separated in time distribution
  Currently, momentum cuts made ‘by eye’
Looking promising!
1-2 pe
>40 pe
electrons
pion
muon
Below Ckov threshold
Electrons always
above threshold.
L. Cremaldi

## Slide 8: Step I Beams
Simulations of Step I (i.e. real muons!) through cooling channel show cooling.
Lots of work to do studying the beam behaviour.
V. Blackmore

## Slide 9: Analysis Group Summary
Analysis Group was rebooted in Nov.
  Fortnightly meetings (everyone is welcome!)
  Many topics since November: Online reconstruction, run plans, CKOV performance, e+e- puzzle, p-m separation, magnetic fields analysis, optics, multiple scattering in Steps IV & V, particle rates through the EMR, Step I beams, TOF pulse height – many analysis topics!
Already have some excellent results (Bogomilov) and some very promising avenues to chase for Step IV (Bravar, Carlisle).
Plus we can all rest easy knowing our electrons/positrons aren’t disobeying relativity (Karadzhov)!
Many more topics being explored.
Watch this space.