## Slide 1: Seventh CW and High Average Power RF Workshop 2012
Waveguide Directional Couplers
Standing Wave Issue
Nikolai Schwerg - CERN BE RF KCA

## Slide 2: Waveguide TE10-Mode
A
B
C
B
A
C
E-Field
H-Field

## Slide 3: Directional Coupler
E-Field
H-Field

## Slide 4: Electric Field Coupling
E-Field
Current

## Slide 5: Electric Field Coupling
E-Field
Current
|E|
d
I/2
I/2

## Slide 6: Magnetic Field Coupling
Voltage
H-Field
U/2
U/2

## Slide 7: Coupling & Directivity
U/2
U/2
I/2
I/2
U1 = I/2 ZL
U2 = I/2 ZL
❶
❷
 U(d, a) = ZL I(d)
= U
= 0
+ U/2
- U/2

## Slide 8: Coupling & Directivity
U/2
U/2
U1 = I/2 ZL
U2 = I/2 ZL
❶
❷
+ U/2
- U/2
= 0
= U
 U(d, a) =-ZL I(d)
I/2
I/2

## Slide 9: Calibration Procedure
Coupling:
|E|
d
Directivity:
-60
-59
-61
Coupling:
Directivity:
-100
-90
-80
337
377 MHz
337
377 MHz

## Slide 10: Calibration Procedure
90 dB Isolation close to VNA noise floor
Aim for directivity first
Maintaining good directivity when
  Re-connecting loads
  Re-attaching couplers
  Swapping couplers

## Slide 11: Directivity Issue
15 dB Variation!

## Slide 12: Isolation Signal
Reflection of transition
causes miscalibration!
S-Parameter
Isolation
Coupling
Reflection
Voltages
ideal
Standing
wave
Miscalibration

## Slide 13: Extracting “Real” Isolation
Isolation
(in complex plane)
Im
Re

## Slide 14: Extracting “Real” Isolation

## Slide 15: Extracting “Real” Directivity
Measurement
Points
Reconstruction

## Slide 16: Extracting “Real” Isolation
Isolation and “variable” Fraction

## Slide 17: Application
FWD
RFL
FWD*
RFL*
from Circulator
Cavity
Waveguide
Directional Coupler

## Slide 18: Summary
Loop couplers are more “resistant” than we thought
Inevitable standing waves strongly affect directivity
With increased effort standing waves can be compensated for

## Slide 19
Thank you for your attention!