## Slide 1
BI instruments concerned by the LIU
  SEM grid (injection septum PSB-PS)
  New Fast Wire Scanner
  Longitudinal Profile
  Fast Beam Loss Monitor
Documents received
  Injection Septum : From Rende, description of the replacement of the septum 42.
  Because of space constraints, we need to know precisely what OP needs in the transfer line PSB-PS.
  → Document update to be provided.
LIU specifications for BI

## Slide 2
  Longitudinal Profile : From Heiko, very good starting point that has leaded to an interesting BE discussion.
Conclusion
  Heiko’s template to be re-used :
    OP ABP RF (…) involved
    Observable and beam parameters
    Type of measurements
    Timing
    Data precision
    Logging
    Location of the instruments (if needed)
  Need inputs from OP
  Work unit for January 2012 to be updated after reviewing all new future requests.