## Slide 1: GridPix studies at Saclay
Avalanche fluctuations
D. Attié, A. Chaus, P. Colas, M. Titov
RD51
GridPix workshop, Feb. 22, 2012

## Slide 2: On-going work at Saclay
Until now in LCTPC (EUDET, AIDA)
  Concept of digital TPC: single-electron sensitivity yields ultimate resolution and cluster counting dE/dx
If a light higgs is discovered, the emphasis might turn to a standard pad TPC
In this case, CAST with X-ray focus or directional dark matter search might become the driving application

## Slide 3: On-going work at Saclay
Until now in LCTPC (EUDET, AIDA)
  Concept of digital TPC: single-electron sensitivity yields ultimate resolution and cluster counting dE/dx
If a light higgs is discovered, the emphasis might turn to a standard pad TPC
In this case, CAST with X-ray focus or directional dark matter search might become the driving application

## Slide 4
Tool for fundamental studies of gases
  Ionization
  Counting of X-ray induced electrons, Fano factor measurements
  Avalanche fluctuations
Octopuce: 8-chip
Send to a Friend or Friends

## Slide 5: TPC at 1T
He/Iso 80/20
Vmesh = 400V
Time mode

## Slide 6
The Octopuce module at DESY
(Nikhef-Saclay)

## Slide 7: Electron counting and avalanche statistics
M. Lupberger’s Diploma thesis (2009-2010, Saclay and Freiburg)
Now being continued by Andrii Chaus (PhD student supervised by M. Titov)

## Slide 8: Electron counting
Direct access to Fano fluctuations

## Slide 9: Avalanche fluctuations
Avalanche size fluctuates according to a distribution. The rms of this distribution is an important ingredient to single electron efficiency and resolution of a position-sensitive detector.
Common parametrization: polya

## Slide 10: Avalanche fluctuations
Time over threshold calibration

## Slide 11: Direct measurement of avalanche size distribution using TOT

## Slide 12: Efficiency for single electron detection

## Slide 13
December 15, 2011 : good news, Yevgen Bilevytch came with 3 boxes of 16 good InGrids on TimePix chips, done by wafer-scale post-processing at IZM Berlin. Boxes shared between Bonn, Nikhef and Saclay
Tested by Harry van der Graaf et al. before Christmas.

## Slide 14
At Saclay we bonded 5 chips on boards.
At first they had a wrong connection to HV
After correcting this, a 1st chip worked for 1-2 days, and suddenly died at the highest voltage in Ar Isobutane 5%
A second chip looked unstable and was discarded
A 3rd chip is now taking good data in our new, optimized gas box (Heinrich Schindler, Rob Veenhof). Calibration, electron counting, efficiency vs threshold, avalanche fluctuations, are ongoing

## Slide 15
Chart: THL[e]
| 500 | 750 | 1000 | 1250 | 1500 | 2000 | 2500
 | 467 | 473 | 481 | 488 | 496 | 513 | 529
Threshold calibration using 10 -> 50 mV on a capacitor
Threshold can be set as low as 500 electrons (used to be 700)
WORK RE-STARTED AND IN PROGRESS !