## Slide 1
Outline
Summary of design goals and detector layout options
Update on R&D activities (selection of most relevant results)
  CMOS pixel detectors
  Mechanical structure and detector ladder prototypes
Conclusions
ITS Upgrade Studies – Progress Report
LHCC upgrade session, CERN 12th June 2012
L. Musa

## Slide 2
Design goals
1. Improve impact parameter resolution by a factor of ~3
Get closer to IP (position of first layer): 39mm 22mm
Reduce material budget: X/X0 /layer: ~1.14%  ~ 0.3%
Reduce pixel size
  currently 50mm x 425mm
    monolithic pixels  O(20mm x 20mm),
    hybrid pixels  O(30mm x 30mm), state-of-the-art O(50mm x 50mm)
2. High standalone tracking efficiency and pt resolution
Increase granularity: 6 layers  7 layers , reduce pixel size
Increase radial extension: 39-430 mm  22– 430(500) mm
3. Fast readout
readout of Pb-Pb interactions at > 50 kHz and pp interactions at > 2MHz
4. Fast insertion/removal for yearly maintenance
possibility to replace non functioning detector modules during yearly shutdown

## Slide 3
Upgrade options
Two design options are being studied
7 layers of pixel detectors
  better standalone tracking efficiency and pt resolution
  worse PID
3 inner layers of pixel detectors and 4 outer layers of strip detectors
  worse standalone tracking efficiency and momentum resolution
  better PID
7 layers of pixels
Option A
3 layers of pixels
4 layers of strips
Option B
Pixels: O(20x20µm2 – 50 x 50µm2)
Pixels: O( 20x20µm2 – 50 x 50µm2)
Strips: 95 µm x 2 cm, double sided
685 krad/ 1013 neq per year
Includes safety factor > 4

## Slide 4
Assumptions for physics performance studies (in ITSup CDR)
1. impact parameter resolution (at low pt only 2 innermost layers are relevant)
  position of first layer: 22mm
  material thickness of 2 innermost layers: X/X0 ~ 0.3% per layer
  srf = 4-12 mm, sz = 4-12 mm for 2 innermost layers
2. tracking efficiency and pt resolution (ITS + TPC)
3 inner layers: srf = 4-12 mm, sz = 4-12 mm
ITS – TPC high tracking matching efficiency (as current detector)
  outer 4 layers could be equipped with strips (srf =20 mm, sz = 830 mm)
3. PID capabilities of current TPC and TOF
The implementation of silicon strips with srf = 20 mm, sz = 830 mm requires a new design
but its feasibility does not require a dedicated R&D programme
Motivations for using pixel detectors for all layers:
Cost
improved standalone tracking efficiency and pt resolution

## Slide 5
Several technologies are being considered
Hybrid pixel detectors
  Edgeless sensors (100mm) + front-end chip (50mm) in 130 nm CMOS
Monolithic pixel detectors
  MIMOSA like in 180 nm CMOS
  INMAPS in 180 nm CMOS
  LePix in 90nm CMOS
Pixel detector technologies
TPAC prototype
50 µm pixel - over 150 CMOS transistors
MISTRAL prototype circuit (IPHC)
INMAPS (RAL)
Transistor test
Matrix1
Diode
Breakdown test
LePIX prototype circuit (CERN)
HYBRID (CERN)
Tower/Jazz
IBM
FEE chip
100mm
sensor
100mm

## Slide 6
Development for monolithic detectors using Tower/Jazz 0.18 µm CMOS technology:
Improved TID resistance due to smaller technology node
Available with high resistivity (~1k Ωcm) epitaxial layer up to 18 µm
Special quadruple-well available to shield PMOS transistors (allows in-pixel truly CMOS circuitry)
Design prototype chips in
Tower/Jazz 0.18 µm
Use existing structures (RAL)
Study radiation hardness and SEU
Study charge collection
performance
Monolithic Pixel Detectors
(R. Turchetta – RAL)

## Slide 7
2.2 mm
CMOS test structures
w/o deep p-well
Breakdown
diodes
MIMOSA 32 (IPHC Strasbourg)
Digital and analog blocks (2T and 3T structures with various diodes)
100 circuits delivered Jan 2012 ✓
Test with Fe55 source ✓
Irradiation tests (X-ray, neutron) ✓
Beam-test June 6-11, 2012 ✓
Monolithic Pixels – Evaluation of Tower/Jazz technology
3.7 mm
5.7 mm
4.1 mm
MONALICET1 (CERN/CCNU)
Single transistors
Breakdown structures
Memories
Digital structures
Shift register
Delivery early July 2012
Delivery: beginning July 2012
First test results on pixel matrix

## Slide 8
Charge Collection Efficiency (CCE) for 20x20 µm² pixels
  Seed pixel: ~40-50%
  2x2 pixel cluster: nearly 100 %
CCE identical with/without in-pixel PMOS Trans. (i.e. deep P-well)
CCE for elongated pixels (20x40 µm²), 1 diode/pixel
  Seed pixel: ~30%
  + 1st crown : ~76 % + 2nd crown : ~93%
CCE for elongated pixels (20x40 µm²), 2 diode/pixel
  Seed pixel: ~44%
  + 1st crown : ~83 % + 2nd crown : ~98%
  2 diodes implementation, noise increase x2
 High resistivity of EPI layer confirmed
 All pixel structures with source follower operational
MIMOSA 32 (IPHC) – Characterization with Fe55
3T structure
example of in-pixel circuit

## Slide 9
TID test: irradiation to 3 Mrad (X-ray, CERN)
With deep p-well
Pixel noise ~ 15-20 e- at RT (20°C) – not changed after 3 Mrad
Fe 55
MIMOSA 32 (IPHC) – Characterization with Fe55
Preliminary
(M. Winter et al.)

## Slide 10
NIEL test: irradiation to 0.3E13, 1E13, 3E13 neq (neutrons, Ljublyana)
Fe 55
Monolithic Pixels – MIMOSA 32
Preliminary
(M. Winter et al.)
Fraction of charge collected on seed pixel
Equivalent noise charge (electrons)

## Slide 11
MIMOSA 32 (IPHC) – Characterization at test beam
Parasitic running on T2-H4 with ~60 GeV π- beam
Data taking started June 7th  data shown collected until this morning …
Results are very preliminary!! (but consistent with lab test results)
Signal-to-Noise measured
with P1 (3T pixels) at T = 15 0C
before irradiation
SNR ~ 33.1 ± 0.9
Preliminary (M. Winter et al.)

## Slide 12
MIMOSA 32 (IPHC) – Characterization at test beam
Parasitic running on T2-H4 with ~60 GeV π- beam
Data taking started June 7th  data shown collected until this morning …
Results are very preliminary!! (but consistent with lab test results)
Signal-to-Noise measured
with P1 (3T pixels) at T = 15 0C
before irradiation
SNR ~ 33.1 ± 0.9
Preliminary (M. Winter et al.)

## Slide 13
MIMOSA 32 (IPHC) – Characterization at test beam
Signal-to-Noise measured
with P9 (deep P-well) at T = 15 0C
SNR ~ 32.6 ± 1.0
Signal-to-Noise measurement after irradiation
TID (10 keV X-Rays) ~ 3Mrad
1013 neq/cm2
Signal-to-Noise measured
with P9 (deep P-well) at T = 30 0C
SNR ~ 26.0 ± 0.5
Preliminary
(M. Winter et al.)

## Slide 14
ITS mechanical structure
290 mm
17 mm
stave
half barrel
barrel
layer1
layer2
layer3
Stiff-end
Structural shell

## Slide 15
The Stave Prototypes developed for ITS Layer1,2,3 can be divided in two groups that refer to two of the different cooling concepts under study
"cold plate"
"cooling pipes"
“cooling pipes"
Silicon micro-channel
Polyimide micro-channels
Polyimide tubes
R&D on mechanical structure

## Slide 16
~1,4 gram
M55J 6k
~1,3 gram
~1,0 gram
~0,6 gram
M60J 3k
M55J 6k (twist)
Fiber M55JB 6k Young modulus =540Gpa
Fiber M60 -3k Young modulus =588Gpa
Carbon fabric
Carbon roving
Fiber T300, Young modulus =250Gpa
~2,1 gram
~1,2 gram
T300
"cold plate"

## Slide 17
“cooling pipes"
    *Carbon fiber K1100, 70 µm thick; kFiber =550 W/mK
High thermal conductivity Carbon fibers wound around polyimide tubes
+ High Thermal Conductivity Carbon plate*
~1,1 gram
    Carbon fiber K13D-2U 2K, 70 µm thick : kFiber = 450 W/mK
~1,4 gram

## Slide 18
Material | Surface (%) | Tickness (µm) | X0 (cm) | X/X0 (%)
CFRP | 22 | 120 | 25 | 0,011
CFRP | 43 | 240 | 25 | 0,041
Polyimide Micro-channels walls | 21 | 200 | 28,6 | 0,015
Polyimide Micro-channels top and bottom covers | 100 | 100 | 28,6 | 0,035
Water | 79 | 200 | 36,1 | 0,044
total |  |  |  | ~0,14
MECHANICAL STRUCTURE +
POLYIMIDE MICRO-CHANNELS
Polyimide micro-channels
Composite: Carbon fiber fabric (0°/90°)
~1,4 gram

## Slide 19
R&D on mechanical structure
Ladder prototype equipped with dummy components

## Slide 20
MECHANICAL STRUCTURE +
POLYIMIDE TUBES
Material | Surface (%) | Tickness (µm) | X0 (cm) | X/X0 (%)
CFRP filament | 53 | 190 | 25 | 0,04
Polyimide tubes | 19 | 70 | 28,6 | 0,0045
Water | 19 | 1450 | 36,1 | 0,06
total |  |  |  | ~0,11
Composite: Carbon fiber filament
Polyimide tubes
(OD-15mm, wall thickness 35 µm)
Carbon Filament Section 0,190 mm2
Structure section
~1,4 gram
~1,1 gram

## Slide 21
R&D on mechanical structure
Ladder prototype equipped with dummy components

## Slide 22
Chart: SAG in the center (µm)
| 0.0 | 10.0 | 20.0 | 50.0 | 60.0 | 80.0 | 100.0 | 130.0 | 150.0 | 160.0 | 180.0 | 200.0 | 230.0 | 250.0 | 260.0 | 310.0 | 340.0 | 370.0 | 420.0 | 460.0 | 500.0 | 550.0 | 580.0
FW + TUBES | 0 | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 | 55 | 60 | 65 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150
FW | 0 | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 | 55 | 60 | 65 | 70 | 80 | 90 | 100
SHELL | 0 | 5 | 10 | 15 | 20 | 25 | 30 | 35
STEEL PIPE | 0 | 153
AL PIPE | 0 | 122.4
Steel tube
Aluminum tube
Wound truss + pipes
Open shell
Wound truss
STRUCTURE
STIFFNESS
TEST

## Slide 23
6 µm
5 gram = total distributed load
clamped
clamped
Deformation in working condition
First natural frequency = 596 Hz
6
3
1
µm
STRUCTURE STIFFNESS ANALYSIS

## Slide 24
Summary
Evaluation of 0.18μmCMOS technology for MAPS  very encouraging results
Very low noise (ENC ~ 15-20 e ) and good S/N
Small cluster size (seed pixel collects ~40-50% charge)
No significant degradation when irradiated at 3Mrad, 1013 neq
R&D on mechanical support structure
Evaluation of different mechanical structure geometries, composite materials (CFRP) and production processes
Several ultra-light mechanical structures (ladders) for first 3 inner layers have been realized (ladder weight 0.6-1.4 g)
Stiffness tests show very high mechanical stability (natural freq. ~600Hz)
Complete ladder prototype: two mechanical structure and cooling concepts + electrical bus + glue + dummy silicon  X/X0 ≤ 0.3%

## Slide 25
Improvement of impact parameter resolution
Option A: 7 pixel layers
Resolutions: srf = 4 mm, sz = 4 mm for all layers
Material budget: X/X0 = 0.3% for all layers
Option B: 3 layers of pixels + 4 layers of strips
Resolutions: srf = 4 mm, sz = 4 mm for pixels srf = 20 mm, sz = 830 mm for strips
Material budget: X/X0 = 0.3% for pixels X/X0 = 0.83% for strips
radial positions (cm): 2.2, 2.8, 3.6, 20, 22, 41, 43
Same for both layouts
Simulations for two upgrade layouts

## Slide 26
ITS standalone tracking efficiency
Option A (all pixel layers)
Resolutions: srf = 4 mm, sz = 4 mm for all layers
Material budget: X/X0 = 0.3% for all layers
Option B (3 layers of pixels + 4 layers of strips)
Resolutions: srf = 4 mm, sz = 4 mm for pixels srf = 20 mm, sz = 830 mm for strips
Material budget: X/X0 = 0.3% for pixels X/X0 = 0.83% for strips
radial positions (cm): 2.2, 2.8, 3.6, 20, 22, 41, 43
Same for both layouts
Simulations for two upgrade layouts
Central events at sqrt(sNN) = 5.5 TeV

## Slide 27
IZM Berlin
Hybrid pixel detector with 50 µm chip and 100 µm sensor
Tests with dummy components using ALICE SPD layout
2 ladders (5 chips + 1 sensor) and 8 singles with final thicknesses bonded
  Incomplete connection on one side on 7 single chip assemblies, no problems on the ladders
50 um chip
100 um sensor
Hybrid Pixel Detectors
Flip-chip bonding & thin assemblies

## Slide 28
Material | Surface (%) | Tickness (µm) | X0 (cm) | X/X0 (%)
CFRP | 53 | 190 | 25 | 0,04
Polyimide Micro-channels walls | 21 | 200 | 28,6 | 0,015
Polyimide Micro-channels top and bottom covers | 100 | 100 | 28,6 | 0,035
Water | 79 | 200 | 36,1 | 0,044
total |  |  |  | ~0,14
Polyimide micro-channels
MECHANICAL STRUCTURE +
POLYIMIDE MICRO-CHANNELS
Composite: Carbon fiber filament
Structure section
Carbon Filament Section 0,190 mm2
~1,3 gram