## Slide 1: RAL Tier1 Review Intervention History & Plans Availabilities
Gareth Smith
20th June 2012

## Slide 2: Interventions Aug/Sep 2011
Aug
Sep
Site firewall reboot
Brief site firewall outage
Oracle patches LFC/FTS/3D DBs
Atlas to write to T10KC tapes

## Slide 3: Interventions Oct/Nov/Dec 11
Oct
Dec
FTS re-config
Convert final CE to Cream
Update disk ctrl firmware
Nov
SAR -firewall link bounce; Tape robot microcode update
Tape library microcode update
CIP update
Update to RAL DNS servers
Roll-out UMD Top & Site BDIIs
firmware update batch disk servers
RAL firewall outage

## Slide 4: Interventions Jan/Feb/Mar 12
Jan
Mar
1 UI to UMD
APEL to UMD
Castor DB Migrtn(1); Rack moves
Feb
OS patching for SRMs; Update disk array on Castor stndby RAC.
Atlas 3D to Oracle 11
CIP update
Update rest RAL DNS servers
Oracle patches Atlas & LHCb 3D/LFC
MyProxy to UMD
Netwk update (Move C300, fix probs in UPS room) Move to UMD batch server
SRM update
SRM 2.11 updates
Castor 2.1.11-8 & H/W refresh
Atlas move LFC
Castor DB Migrtn(2); FTS 2.2.8; OPN addr extn.
Intervention on part of UPS infrastrc.

## Slide 5: Interventions Apr/May/Jun 12
Apr
Jun
Castor Repack to 2.1.11-9
May
Castor 2.1.11-9; Oracle 11 for FTS & LFC
CIP update
LHCb LFC Front ends to v1.8.2-2
Castor use Tape Gateway
All BDIIs updated
Intervention on part of UPS infrastrc.
Site netwk (SAR)
Remaining LFC Front ends to v1.8.2-2
Castor use Transfer Manager
Oracle 11 update for Castor

## Slide 6: Still To Do:
Completion of Network Changes:
  Site Network:
    Replacement (elimination) of UKLight Router (by end July)
  Tier1 Network:
    Insert new switches/routers into network & Enable routing for communication with new Border routers.
    Insert new ‘spine’ layer (may well be transparent)
Castor:
  2.1.12-4 Update (Will get “Repack” to 2.1.12 first). ~Jul – Sep.
  2.1.13?? Depends on CERN…
Databases:
  Move of LFC/FTS/3D RACs to new hardware/OS.
Infrastructure:
  Main Power Feeds to Site being updated (Jun – Dec)
Notes: Servers would have had to be replaced anyway
Move to 64 bit , gives more memory to play with (matches CERNs config)
Increased memory (from 3GB in Oracle to 20GB)
Enables up to date copies of important systems in the event of a power outage or hardware failure, switchover can be done anytime and only requires ~10 minute outage
Although hardware is duplicated for standbys, they are simpler to administer at each side due to less machines, simpler storage config

## Slide 7: Availabilities - 1
Chart: 
| 40634 | 40664 | 40695 | 40725 | 40756 | 40787 | 40817 | 40848 | 40878 | 40909 | 40940 | 40969 | 41000 | 41030
RAL Availability | 0.92 | 0.99 | 0.92 | 0.93 | 0.96 | 0.9 | 0.92 | 0.97 | 0.96 | 0.88 | 0.86 | 0.99 | 0.99 | 0.96
Average | 0.96 | 0.98 | 0.97 | 0.99 | 0.98 | 0.98 | 0.97 | 0.96 | 0.99 | 0.95 | 0.97 | 0.96 | 0.99 | 0.98
Atlas:
CMS:
Chart: 
| 40634 | 40664 | 40695 | 40725 | 40756 | 40787 | 40817 | 40848 | 40878 | 40909 | 40940 | 40969 | 41000 | 41030
RAL Availability | 0.99 | 1 | 0.92 | 0.94 | 0.99 | 0.96 | 0.95 | 0.99 | 0.98 | 0.97 | 0.92 | 0.99 | 1 | 0.97
Average | 0.97 | 0.97 | 0.96 | 0.98 | 0.99 | 0.98 | 0.96 | 0.96 | 0.98 | 0.98 | 0.98 | 0.97 | 0.98 | 0.98

## Slide 8: Availabilities - 2
Chart: 
| 40634 | 40664 | 40695 | 40725 | 40756 | 40787 | 40817 | 40848 | 40878 | 40909 | 40940 | 40969 | 41000 | 41030
RAL Availability | 0.86 | 0.89 | 0.98 | 0.98 | 1 | 0.99 | 1 | 0.99 | 0.99 | 0.97 | 0.91 | 0.98 | 0.98 | 0.97
Average | 0.9 | 0.92 | 0.95 | 0.98 | 0.98 | 0.97 | 0.97 | 0.95 | 0.95 | 0.94 | 0.97 | 0.98 | 0.99 | 0.99
LHCb:
Chart: 
| 40634 | 40664 | 40695 | 40725 | 40756 | 40787 | 40817 | 40848 | 40878 | 40909 | 40940 | 40969 | 41000 | 41030
RAL Availability | 0.97 | 1 | 1 | 0.97 | 1 | 0.99 | 0.98 | 1 | 0.97 | 0.96 | 0.84 | 0.99 | 1 | 1
Average | 0.97 | 0.98 | 0.97 | 0.98 | 0.97 | 0.97 | 0.97 | 0.97 | 0.98 | 0.99 | 0.97 | 0.98 | 0.98 | 0.99
OPS:

## Slide 9: Atlas Availabilities
Nov ‘11
Feb ‘12
Mar ‘12
Apr ‘12