## Slide 1: HIE-EBIS design parameters
Andrey Shornikov, HIE-EBIS workshop, CERN, 16-17.10.2012

## Slide 2: Outline
Infrastructure and users requests.
Technical parameters of the future EBIS.
Our preliminary view of it.
What we would like to focus on.

## Slide 3: A. HIE-ISOLDE chain
targets
REX-trap
REX-EBIS
linac
users
TSR@ISOLDE
1+ cw
mass separators
accumulating,
bunching, buffer
gas cooling
breeding to A/q<4.5
3/5.5/10 MeV/u

## Slide 4: A. Existing users requests
To EBIS: fast breeding, slow extraction, 2<A/q<4.5.
Current users: Coulex and nuclear transfer experiment + visitors
Present: 50 μs pulses with max rep. rate. (50 Hz, linac).
Request:
1.5 ms pulses ;
less particles per pulse, more pulses.
Dream (t>10y):
Tpulse = Tbreeding + 2 EBISes in a push-pull mode = cw output beam.

## Slide 5: A. Existing users requests
Coulomb excitation of 132Sn on 206Pb target, proposal by Reiter et al. for HIE-ISOLDE.
132Sn @ 5.5 MeV/u
q – irrelevant →
A/q<4.5 → q>30+ →
T~100 ms
←↓
-detectors saturation @ 10 Hz
100 Hz rep rate →
OK: 50 Hz st I/ 100 Hz st II →
Not OK: Je x 5/10
REXTRAP capacity limit
Half life limit ↓

## Slide 6: A. Prospective user request: TSR@HIE-ISOLDE
A/q ~ 3 for machine reasons;
H-like and bare up to 60+ for
physics;
Fast extraction <30 μs;
Low rep rate 0.5 Hz<f< 5Hz;
High pulse intensity.
Working for TSR@HIE-ISOLDE injection:

## Slide 7: A. EBIS cw injection for TSR@HIE-ISOLDE and very unstable ions for MINIBALL
2. Short lived isotopes with
τ ~ tbreeding should be shot
directly to reduce losses.
1.For a few Hz injection of
high intensity beams:
shoot directly to EBIS in cw
due to low REXTRAP capacity of 107-8 ions.
EBIS should be capable of effective capturing 10π mm mrad beam in cw.
REXTRAP
EBIS
Charge bred q+ ions
A/q
separator
Cleaned q+
beam to linac
1+ ions
from
ISOLDE
Bunched
1+ ions

## Slide 8: A. General requests
Increased capacity (increase space charge of the EBIS);
Capturing efficiency in cw over 50%, breeding efficiency over 10 % (new optics). Base scenario: keep REXTRAP for most of the cases;
Minimized unscheduled downtime;
Minimized R&D and untested solutions.

## Slide 9: B. Technical parameters
Z~60, He-like, H-like, bare, 10% of CSD, 0.5-5 Hz
A/q ~ 4.0, 100 Hz
I. P. ~ 50 keV
Competing RR
Gun bias ~ 150 kV
Jτ ~ 104 C/cm2
τ =0.2-2 s
Jτ ~ 102 C/cm2
τ =10 ms
CX
P < 10-12 mbar
CW injection
I-e heating
Deep radial SC
I=2-5 A
J=104 A/cm2
Design:
Requests:
Compression> 3500, Brillouin gun

## Slide 10: B. Operation conditions required
Beam parameters | Value
Energy, keV | 150
Current, A | 3.2
Magnetic field of the main solenoid, T | 6
Cathode temperature, K | 1500
Carthode radius, mm | 6
RH beam, μm | 50
Current density, A/cm2 | 40000
Space charge of the beam, V | 150
Geometrical acceptance @ 30kV injection, π mm mrad | 5.0 π
Breeder length, m | ~ 1
Collector power, kW | 200

## Slide 11: B. Ba example
He-, H- like and bare Ba is reachable only with ion-ion cooling
P~1E-12 mbar is sufficient to supress CX.
Heating rate of Ba+56 in the trap 3.9 keV/s, breeding time ~ 500 ms.

## Slide 12: B. Technical parameters. Vacuum
Reliability:
Separate magnet cryostat;
Separable gun chamber;
Redundant pumping.
Goal: reach pressure <10-12 mbar.
Option I
Option II
High current operation:
Differential pumping stages;
High rate distributed pumping.

## Slide 13: C. Preliminary general layout

## Slide 14: D. Focus on
Electron gun/optics/collector – beam dynamics
Vacuum options
Atomic physics processes @104 C/cm2: e-i heating,
i-i cooling, RR, DR, CX, something we are not aware of

## Slide 15: Thank you, let’s dig into details!
We are happy to see here expert from
our funding agency for this opportunity
We’d like to thank:
and our administrative officers
for organization
Delphine Rivoiron
Flora Ayda Berrenger
Elodie Kurzen-Brarda

## Slide 16: Spares. Option I. Heat loads
Assuming 40K shield D=100 mm, vac tube D=150 mm, length 2 m
From mech. polished Steel to mech. polished Alu/Cu/Ag on Cu
Radiative heat load 18/12/4 W at 40 K @ 35-40 W available on CH
If NEGs have high ε combining will be impossible.

## Slide 17: Spares. Option II. Pumping speed
Assuming D=150 mm tube of 2 meters, R(H2, NEG=Ti-V-Zr)=0.3 l/cm2
The total pumping rate of the trapping region = 2800 l/sec