## Slide 1
Experimental cavern movements
2nd HL-LHC PLC meeting
25.09.2012
A. Behrens, J.-C. Gayde, D. Mergelkuhl
BE/ABP/SU-EM

## Slide 2: CMS Stability: Deep references and cavern floor points
Reference:
5 deep references
10 Floor points
ML1
ML2
MR1
MR2
PL1
PL2
PR1
PR2
L54 side
R56 side
M0
P0
Xsu
Ysu
CMS detector

## Slide 3: CMS Stability: Cavern floor leveling
Chart: [mm]
| PL2 | PL1 | P0 | PR1 | PR2
JAN 2008 - MARCH 2007 | -0.67 | -0.58 | -0.18 | 0.43
MARCH 2009 - MARCH 2007 | -0.63 | -0.89 | -0.32 | 0.21
FEB 2011 - MARCH 2007 | -0.89 | -1.38 | -0.66 | 0.01
FEB 2012 - MARCH 2007 | -0.84 | -1.39 | -0.62 | 0.04
Chart: [mm]
| ML2 | ML1 | M0 | MR1 | MR2
JAN 2008 - MARCH 2007 | -0.75 | -0.44 | -0.08 | 0.42
MARCH 2009 - MARCH 2007 | -0.71 | -0.95 | -0.36 | 0.23
FEB 2011 - MARCH 2007 | -1.03 | -1.42 | -0.75 | 0.1
FEB 2012 - MARCH 2007 | -1.01 | -1.45 | -0.77 | 0.1
L54 Side
R56 Side
FLOOR POINTS FAR SIDE
FLOOR POINTS NEAR SIDE
No significant movement
downwards
of floor points
during last year!
JAN 2008
Total load 14600t

## Slide 4
Bedplate
Bedplate
6 HLS points on the Bedplates
A side
C side
TCUSA
TAUSA
ATLAS Stability – HLS points on bedplates
Reference:
2 HLS points
USA side
US side
BCUSA
BMUSA
BAUSA
BAUS
BMUS
BCUS
Trench C
Trench A

## Slide 5
VARIATION OF DIFFERENCES IN HEIGHT
OF HLS SENSORS
FROM 20 NOV 2009 TO 21 AUG 2012
Shock on TAUSA sensor
TS 2010-11
TS 2011-12
0.5 mm
Values normalized to TCUSA sensor
ATLAS Stability – HLS system
Max. movement upwards
of 0.6mm
during last 2 years!