## Slide 1: ATLAS High pT Measurements in Pb+Pb Collisions
Zvi Citron
בס"ד
Strangeness in Quark Matter
25 July 2013

## Slide 2
ATLAS has excellent jet, photon, electron, and muon reconstruction using charged tracking + calorimetry/muon spectrometry
Pb+Pb runs at √s=2.76 TeV in 2010 (8 μb-1) and 2011 (.15 nb-1)
Tracking
Precise tracking and vertexing
coverage: |η|<2.5
B (solenoid) =2T
Pixels (Si): σ = 10 μm [rφ]
80M channels ; 3 layers and 3 disks ;
SCT (106 Si strips ): σ = 17 μm [rφ]
Transition Radiation Tracker
HI at ATLAS
Lar-Pb EM calorimeter (|η|<3.2)
e/γ trigger, identification; measurement
Granularity: 0.025x0.025 in Φxη
3 long. layers + presampler(0 <|η|<1.8) 180x103 channels
Hadronic Calorimeter
|η|<1.7: Fe/scint. Tiles (Tilecal)
3.2 <|η|<1.5: Cu-Lar (HEC)
3.1<|η|<4.9: FCAL Cu/W-Lar
Muon spectrometer (MS)
Air-core toroid magnetic field
Covers up to |η|=2.7
Triggers
Filtering provided by the calorimeters
Tracking in B field for momentum
Measurement matching with Inner Detector (ID) to improve resolution and vertex capabilities
Notes: SCT= silicon microstrip (semiconductor tracker)

## Slide 3
High pT Probes in Pb+Pb
Electroweak Bosons
Do not interact with the QCD medium – standard candles for energy loss
Production expected to scale with <Ncoll>
Check pQCD predictions
Check for modification, effects of nuclear PDF
Hadrons, Jets
Access to quarks, glouns
Interact with the QCD medium
Modification of color sensitive objects in the medium
Quantify and understand where energy goes, what happens in medium interactions

## Slide 4
Direct Photon Measurement
Subtract underlying event
  Iterative subtraction in Δη=0.1 slices, excluding jets
  Elliptic flow sensitive
Isolated photons
  Cut on a maximum energy in cone around photon
  Fragmentation photons reduced
Shower shape cuts
  Multiple layers of EM calorimeter, and hadronic calorimeter
  Rejection of jet fakes
Signal Extraction
  “Double sideband” method
Isolation E
https://cdsweb.cern.ch/record/1451913

## Slide 5
Direct Photon Spectra
Corrected yield scaled by nuclear thickness ~ <Ncoll>, and compared to JETPHOX predictions
https://cdsweb.cern.ch/record/1451913
Agreement with pQCD model, binary collision scaling observed to 200 GeV!

## Slide 6
Select leptons (underlying event subtraction for electrons)
Pair the selected leptons
Select Z boson in mass window 66-102 GeV
Signal Purity ~ 95% in Zee and ~99% in Zμμ
Simulation is PYTHIA in HIJING events, reconstructed
Z→ee, Z→μμ Mass
Phys. Rev. Lett 110, 022301 (2013)

## Slide 7
Z→ll Corrected Yields
Model is composed of Pythia
events normalized to the Z → ll cross section in p + p taken from next-to-next-to-leading-order (NNLO) calculations and scaled by ⟨TAA⟩.
Good model agreement in y shape and binary collision scaling observed!
Phys. Rev. Lett 110, 022301 (2013)

## Slide 8
Jets as a Probe of the Medium
Partonic jet shower in vacuum composed of: Leading Parton and Radiated Gluons
Qin and Müller QM2011
E transfer to medium via elastic collsions
Gluons radiated due to medium interactions
E transfer to medium via elastic collsions
Shunted out of jet cone from multiple scattering
Add the medium:

## Slide 9: Full Jet Reconstruction
Anti-kt (R=0.2 – 0.6) reconstruction algorithm
Event-by-event background subtraction:
  Anti-kt reconstruction prior to a background subtraction
  Underlying event estimated for each longitudinal layer and ƞ slice
Jets corrected for flow contribution to background
Underlying event fluctuations rejected by matching jets to track jets or electron/photon

## Slide 10
Di-Jet Asymmetry
Full jet reconstruction with anti-kt algorithm (R=0.4)
Azimuthal correlation consistent in all systems p+p, MC, and peripheral Pb+Pb consistent – asymmetry peaked at zero
Central Pb+Pb has peak away from zero
Momentum balance from hard scattering not kept within di-jets
Phys. Rev. Lett. 105, 252303 (2010)
Direct observation of jet quenching – jets still back to back!

## Slide 11
Jet Nuclear Modification Factor
Inclusive jet production measured
Increasing suppression with centrality
Roughly flat in pT for central events
Centrality dependent suppression of inclusive jet production!
Phys. Lett. B 719 (2013) 220-241

## Slide 12
Azimuthal Distribution of Jets
Φ2
Jet v2 is not “Jet hydrodynamic flow”
Rather, a look at the jets as a function of the amount of medium they traverse
Δϕ
https://cdsweb.cern.ch/record/1472938

## Slide 13
Azimuthal Distribution of Jets
https://cdsweb.cern.ch/record1472938
Z boson v2
Signifcant v2 in jets
Compare to null result in Z boson no quenching case
Jet yields show significant variation in angle with respect to reaction plane, i.e. quenching varies with path length traversed

## Slide 14
Jet Cone Size Dependence
Is lost energy hiding in larger cones?
Vary cone sizes (R) in anti-kt algorithm
R dependence seen at lower pT
Small but significant increase in RCP with larger cone size – jets broadened?
Phys. Lett. B 719 (2013) 220-241

## Slide 15
Internal Jet Structure
Enhancement at low z
Suppression at intermediate z
No change at high z - leading particle unaffected?
Significant modification of jet structure
Apparent push to low pT (at large angle?)
http://cdsweb.cern.ch/record/1472936
D(z) are background subtracted and unfolded

## Slide 16
Photon+jet
Fully unfolded and corrected data
Back to back correlation preserved, momentum ratio of jet/photon reduced in central events
https://cdsweb.cern.ch/record/1473135

## Slide 17
…and Z+jet
Fully unfolded and corrected data
Back-to-back correlation preserved
Reduction in the momentum ratio of jet / Z boson
Low statistics but intriguing qualitative observation
https://cdsweb.cern.ch/record/1472941

## Slide 18
Boson+Jet
Consistent results from jet correlations with photon and Z
Reduction in momentum ratio
Reduction in jet yield per boson
ATLAS-CONF-2012-121
Reduction in momentum ratio and jet yield per boson increasing with centrality
https://cdsweb.cern.ch/record/1473135 , https://cdsweb.cern.ch/record/1472941

## Slide 19
Summary
  Electroweak bosons - Direct photons, and Zee,μμ measured consistent with binary collision scaling
    Confirms understanding of collision geometry
    Provides ‘standard candle’ for energy loss
Suppression of particles sensitive to color interactions
  Di-Jet asymmetry for a direct look at quenching, but di-jets still back to back
  Jet rate suppression, and path length dependence observed
  Cone size dependence of jet suppression may hint at broadening
  Fragmentation measurement shows modification of parton showering
EW boson + jet – the ‘Golden Channel’
  Attenuation of jet momentum and reduced yield compared to boson
  Back to back correlation maintained

## Slide 20
Backup Information

## Slide 21
Charged Hadron Suppression
At limit that HI peripheral≈p+p,
generally RCP>RAA
https://cdsweb.cern.ch/record/1355702
High pT charged particle suppression
Apparent flattening at highest measured pT
Increase hinted at in RHIC data, dramatically measured
Charged particle production (suppression) mapped to ~100 GeV!

## Slide 22
Inclusive muon spectrum dominated by heavy flavor decays
Decompose muons (4<pT<14 GeV) into those from HF and background
Heavy Quark Measurement with μ
https://cdsweb.cern.ch/record/1451883
p balance
Scattering angle significance
Ability to select muons from heavy flavor decay, with good purity

## Slide 23
Heavy Quark Yield
Roughly flat in pT
Somewhat different from inclusive hadrons – HF acting ‘heavy’?
https://cdsweb.cern.ch/record/1451883
Suppression of muons from heavy flavor, but less suppression than unidentified hadrons!
RCPhadrons

## Slide 24
2011
Data Samples
2010
Run: | 2010 | 2011
Lint | 8 ub-1 | 0.15 nb-1
Triggers | Min Bias | γ(e), μ, jets, Min Bias, UPC
Nevents (0-80)% | 30-40M | 750-800M

## Slide 25
Triggers in Run 2011
Photon (e) triggers are based on LAr
For ET>20 GeV, efficiency = 98.1 ± 0.1%
Pair efficiency:
99.9 ± 0.1%
>90%
Muon triggers is a combination:
L1 trigger with pT>4 GeV
HLT trigger with pT>10GeV
95-99% weak centrality dependence
MB triggers: (LAr ET>50GeV) OR (ZDC & track)

## Slide 26
Binary
Collisions
Centrality
 | <Npart>
0-5% | 382 ± 1%
5-10% | 330 ± 1%
10-20% | 261 ± 2%
20-40% | 158 ± 3%
40-80% | 46 ± 6%
Phys.Lett. B707 (2012) 330-348
Participants
Spectators
<Ncoll>
1683 ± 8%
1318 ± 8%
923 ± 7%
441 ± 7%
78 ± 9%
26
Precise control over collision geometry!

## Slide 27
Direct Photon Efficiency & Purity
Efficiency for reconstruction, identification, and isolation
1-Purity = 1-NsigA/NobsA, correction for residual background

## Slide 28
Z→ee, Z→μμ Measurement
10-20% Centrality, mee = 92.2 GeV, pTZ = 4.8 GeV
Electron Selection
  ET >20 GeV
  |η|<2.5
  Shower shape and energy cuts in calorimeter
  Subtract underlying event energy from each electron
10-20% Centrality, mee = 102 GeV, pTZ = 5.0 GeV
Muon Selection
  pT > 10 GeV
  |η|<2.7
  Track quality cuts

## Slide 29
Photon-Jet Effect of Unfolding
No big changes from unfolding

## Slide 30
Z Boson-Jet Effect of Unfolding
Basic physics observable even without unfolding

## Slide 31
Photon – Jet Δφ Summary