## Slide 1
ESR_3
S.Puddu
Supervisors: M. Silari, F. Murtas

## Slide 2: Nice to meet you
Name: Silvia Puddu
Born in Cagliari-Sardinia (Italy)
Study: Università degli Sutdi di Cagliari
  Bachelor thesis: Development of a portable system For the test on MWPC at ALICE esperiment
  Master Thesis: Development of a diagnostic system for burning plasma (INFN-LNF/ENEA)
    Poster APS 2009 X-ray detector for burning plasmas – S. Puddu , F. Bombarda, G. Pizzicaroli, F. Murtas
    Nuclear Instruments and Methods, doi :10.16/j.nima.2009.06.101(2009)
    Design of a GEM-based detector for the measurement of fast neutrons. B. Esposito, F. Murtas, R.Villari, M. Angelone, D. Marocco, P. Pillon and S. Puddu

## Slide 3: ESR 3
Study of applications of triple GEM detector
  Beam monitoring for CERF and CNAO
  Beam monitoring for spallation source
  Neutron dosimetry
  Radioactive waste
90°

## Slide 4: ESR 3
Study of applications of triple GEM detector
  Beam monitoring for mip CERF and CNAO
  Beam monitoring for spallation sources
  Neutron dosimetry
  Radioactive waste

## Slide 5: Results @ n_TOF: ieee 2012
108 107 106 105 104 103 102 10 (eV)
10-7 10-6 10-5 10-4 10-3 10-2 10-1
Photon Time(s)
105
104
F(dg/dlnt/cm2/pulse)
103
102
Neutron flux vs energy
Prompt g flash at ~ 600 ns
~4.7 ms
~63.7 ms
Measurements range
“Slow” photons from several processes
+
g from neutrons radiative capture in the beam dump
C. Guerrero Sanchez, The neutron beam and the associated physics program of the CERN n_Tof facility, ATS seminar
E. Chiaveri et al, CERN n_TOF facility performance report, CERN-SL-2002-053 ECT (2002)

## Slide 6: Results @ n_TOF: ieee 2012
Particle conversion, charge amplification and signal induction zones are physically separated
Time resolution depends on geometry and gas: 9.7 ns for Ar-CO2 (70-30)
Spatial resolution depends on geometry (up to 200 m), however is limited by readout
Dynamic range: from 1 to 108 particles/cm2 s
Effective gain is given by the formula:
F. Sauli NIM A386 531
M. Alfonsi et al., The triple-Gem detector for the M1R1 muon station at LHCb, N14-182, 2005 IEEE-NSS
70 mm
140 mm
50 mm

## Slide 7: Results @ n_TOF: ieee 2012
Particle conversion, charge amplification and signal induction zones are physically separated
Time resolution depends on geometry and gas: 9.7 ns for Ar-CO2 (70-30)
Spatial resolution depends on geometry (up to 200 m), however is limited by readout
Dynamic range: from 1 to 108 particles/cm2 s
Effective gain is given by the formula:
F. Sauli NIM A386 531
M. Alfonsi et al., The triple-Gem detector for the M1R1 muon station at LHCb, N14-182, 2005 IEEE-NSS
3mm
1mm
1mm
2mm

## Slide 8: Results @ n_TOF: ieee 2012

## Slide 9: How detect fast neutrons
Neutron converter 60 mm PE + 40 mm Al
Gas mixture Ar-CO2 70%-30%
Measurements near to the beam dump
Low g sensitivity: HV at 870V  gain ~ 300
Neutrons interact with CH2, and, due to elastic scattering processes, protons are emitted and enter in the gas volume generating a detectable signal.
Aluminium thickness ensures the directional capability, stopping protons that are emitted at a too wide angle.
200 m

## Slide 10: Low Sensitivity to Photons
Counts (Hz)
HV scan with n_TOF and Cs137 with a gate of 1 second
HV(V)
Chart: 
| 770 | 800 | 840 | 860 | 870 | 880 | 890 | 900 | 910 | 920 | 930 | 940 | 950 | 970 | 980 | 1000 | 1010 | 1020 | 1030 | 1040 | 1050
HV scan with 1 s of internal trigger with n_TOF and gamma sources n_TOF c/s | 0 | 3 | 15 | 20 | 30 | 38 | 46 | 63 | 72 | 89 | 103 | 120 | 172 | 199 | 217 | 295 | 304 | 336 | 435 | 432 | 496
HV scan with 1 s of internal trigger with n_TOF and gamma sources Cs137 c/s | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0.5 | 1 | 5 | 7 | 13 | 28 | 60 | 110
Photons
Neutrons
Counts (Hz)
HV(V)
Working point (870V)

## Slide 11: Results @ n_TOF: ieee 2012
Delay 2000 ns, HV 870 V, gate 10 ms
Two different intensity beams arrive to the facility
Instantaneous counts (10 msec)
Cumulative counts
y
y
x
x
Constant: 3640 ± 40
Mean1: 5.9 ± 1.8 cm
Mean2: 5.5 ± 1.8 cm

## Slide 12: Results @ n_TOF: ieee 2012
136000± 4000
49000 ± 1000
Beam 1
Beam2
From proton beam monitor
10 ± 3 hits
26 ± 5 hits
From gem neutron monitor
Beam1
Beam2
Mean efficiency 2.0 ± 0.1 e-4

## Slide 13: Results @ n_TOF: ieee 2012
The FPGA can detect neutrons vs a delay in time allowing to make a time (i.e. Neutron energy) scan that allows the efficiency vs energy to be measured (uncertainty ~0.1 ÷1%, ~20% at 10 MeV ) .
100 keV
2 x10-4
3 MeV
10 MeV
13
Number of neutrons acquired
Number of neutrons detected

## Slide 14: TANKS
14