## Slide 1: CSIC WP9.4 Activities Status report AIDA 2nd Annual meeting WP9.4
Iván Vila Álvarez
Instituto de Física de Cantabria

## Slide 2: Outline
Review of CSIC commitments
Smart mechanics
Microstrips sensors with resistive electrodes (charge division on microstrips)
Summary

## Slide 3: Overall task´s deliverables
Baseline
Deliverable
Two orthogonal layers of u-strips
HPK SiLC sensors ?
AVP25 based hybrid
Provide precise entry point to calorimeter
Advanced Deliverable
Integration with CaloDAQ
Deliverable 2nd QT 2014
Ultra-light strip layer of thin sensors (230 um)
Conventional mechanics
Demonstrator of ILD silicon tracker
Integrated PA or 2D-Poly silicon or short strip sensors.
APV25 based hybrid
Light mechanics with embedded Fiber Optic Sensors
Integration with caloDAQ
Offline software
Offline Software
No deadline
ivan.vila@csic.es, AIDA 2nd Annual meeting

## Slide 4: CSIC commitments for the BBL Deliverable
SMART CFRP supports: self-monitoring of deformations and temperature.
Implementation of the charge division method in microstrip sensors

## Slide 5: SMART Mechanics: Initial proposal
The aim is to manufacturea a few ILD FTD support petals, both for real sensor support and thermo- mechanical mock-up
Petals matching the geometry of the 3th FTD geometry has been chosen, being the biggest one
Equiped with CNM manufactured sensors (four inches Wafers) , the structure will be scaled 0.65 :1
Petals mechanical and thermal behavior will be tested
Embeding of FOS sensors for selfmonitoring.

## Slide 6: Demostrator plate demostrator @ DESY
The First step is to manufacture and test this self monitoring structures
This demonstrator is a CFRP plate with ten FBG sensors embedded at a define position, allowing us to measure deformations under Torsion and Flexion loads, and temperature
When a torsion or a flexion load is applied to the sheet, we know from simulations the expected measured value of each sensor.
,
Flexion sensors
Torsion sensors
Top layer
Botton layer

## Slide 7: New approach for cross calibration
Fixed Edge
Torsión apply edge
Micrometric screw
spring
Demonstrator plate
Next steps.
  Manufacture a first technological demonstrator .
  Design and manufacture torsion and flexion calibration systems
  Calibrate the technological demonstrator using profile meter (< 1 um accuracy) or/and 3D CMM ( < 10 mm accuracy).

## Slide 8: Demonstrator simulation under flexion loads
8

## Slide 9: Demonstrator simulation under flexion loads
9

## Slide 10: Demonstrator simulation under flexion loads
10

## Slide 11: Demonstrator simulation under flexion loads
11

## Slide 12: Demonstrator simulation under flexion loads
12

## Slide 13: Demonstrator simulation under flexion loads
13

## Slide 14: Demonstrator simulation under flexion loads
14

## Slide 15: Demonstrator simulation under flexion loads
15

## Slide 16: Demonstrator simulation under flexion loads
16

## Slide 17: Demonstrator simulation under flexion loads
17

## Slide 18: Demonstrator simulation under torsion loads
18

## Slide 19: Demonstrator simulation under torsion loads
19

## Slide 20: Demonstrator simulation under torsion loads
20

## Slide 21: Demonstrator simulation under torsion loads
21

## Slide 22: Demonstrator simulation under torsion loads
22

## Slide 23: Demonstrator simulation under torsion loads
23

## Slide 24: Demonstrator simulation under torsion loads
24

## Slide 25: Demonstrator simulation under torsion loads
25

## Slide 26: Demonstrator simulation under torsion loads
26

## Slide 27: Demonstrator simulation under torsion loads
27

## Slide 28: PART 2 CHARGE. DiVISION IN MICROSTRIPS SENSORS.

## Slide 29: Charge-Division Concept in ustrip Sensors (1)
Charge division used in wire chambers to determine the coordinate along the sensing wire.
Same concept with conventional microstrips with slightly resistive electrodes (doped polysilicon)

## Slide 30: Prototypes from CNM
two new prototypes with double-end readout and different resistivity.
Strip:
  length =20 mm
  width =20 um
Pitches:
  Implant=80 um
  readout= 80 um
Electrode:
  R/um = 2.8 Ohms/um
  R/um = 12.2 Ohms/um
Beatle chip

## Slide 31: Spice simulation (1): Equivalent Circuit
Detector cell model including five consecutive strips.
Total sensor: periodic structure composed of 80 cells.
Realistic parameters (from sensor electrical characterization)
Already validated microstrip simulation.
charge sensitive preamplifier + CR-RC filter, which peaking time 25 ns.

## Slide 32: Data vs. Simulation: Fractional position (1)
High resistivity sensor: 12.2 Ω/μm, RC = 450ns

## Slide 33: Data vs. Simulation: Fractional position (2)
Low resistivity prototype: 2.8 Ω/μm, RC = 100ns

## Slide 34: Simulation SNR vs longitudinal position
High resistivity
Low resistivity

## Slide 35: The Test Beams

## Slide 36: Test beam (2)
SPS H6 test beam line
Standalone data taking (parasitic) Oct 2011 and inside the AIDA telescope (main users) Nov 2012

## Slide 37: Synchronizing ALIBAVA r/o and AIDA telescope
TRIG IN
Fan Out 1
Dual Timer 1
Scaler
TLU
BUSY getting data
BUSY
TRIG
Dual Timer 2
OR
Alibava
Fan Out 2
END MARKER
LOAD
BUSY sending data
TELESCOPE DAQ
NIM CRATE
Alibava
DUT DAQ
TRIG IN

## Slide 38: Synchronizing ALIBAVA r/o and AIDA telescope (2)
TRIG
BUSY
TRIG IN
BUSY getting data
7 ms
BUSY sending data
END MARKER
200ns
Sample Size triggers count
50ns 1us
LOAD
200ms
Triggers enabled
Trigger / Busy sequence
Triggers disabled
Getting data
Sending data

## Slide 39: VERY Preliminary results (1)
Imaging of the SPS beam profile.
Cluster correlation between opposite ends

## Slide 40: Very preliminary results (2)
Poor Signal/Noise for prototypes AND
Reference sensors
Resistive sensor
Reference sensor
Resistive sensor

## Slide 41: New prototype run (1)
Signal routing to one end of the sensor

## Slide 42: New prototype run (2)

## Slide 43: New prototype run (3)
    Dimensions: 25x8mm2
    34 strips with 160um pitch
Pad con/sin p-stop
    N-type contact width: 40um
    PolySi contact width: 40um
    R_bias 3um wide & 255 squares
Pad con/sin p-stop
(10-11)
(12-13)

## Slide 44: Summary
“Smart Mechanics” demonstrator plate is being produced with embedded fiber optic sensors for shape and temperature monitoring.
Charge Division in microstrips (POLYSTRIPS):
  laser measurements very well reproduced by electrical simulation
  Poor SNR in test beam as well as reference sensor.
A new generation of POLYSTRIPS sensors in production with routing tracks and screening structures ready by JUNE

## Slide 45
THANK YOU