## Slide 1: Flash-box results
by Alexey Dubrovskiy
thanks to Roger Ruber, Marek Jacewicz and Volker Ziemann
CTF3 working meeting
October 11, 2012

## Slide 2: Layout of FlashBox experiment
ACS Tank
Flash Box
Corrector
Pick up
1
2
3
4
5
6
7
Cu
1
2
3
4
5
6
7
Ag
e-
e+
ACS1
Drive beam line
Probe beam line
RF
ACS2
1 m
+
-
U=20-60 V
FlashBox applications:
Fundamental BD study;
Compact beam spectra analyzer.

## Slide 3: Low energy electrons: measurement
Noise
Poor resolution
Electrons

## Slide 4: Low energy electrons: distributions
Without channels Cu8, Ag1-8

## Slide 5: High energy electrons: measurement
Measurement has been improved

## Slide 6: High energy electrons: distributions
2 MeV
10 MeV
3 MeV
Subtracted background

## Slide 7: Ions: measurement
1880 ns
1480 ns
V≈1.7m/1480ns=0.3-0.4%c
V≈0.125m/80ns=0.5%c
From the magnet: m/e = 2.1-4.5×103 me/e+:
H21, He2, Cu26-29 etc

## Slide 8: Obstacles: Probe beam is ON
ACS Forward power
ACS Transmitted power
ACS Reflected power
Probe beam current
FlashBox signals
The probe beam has a strong influence on the flash box signals

## Slide 9: Obstacles: Wrong polarity
Secondary electrons
Solved!
Wrong polarity on the plates was the reason of signals ringing and creating secondary electrons.

## Slide 10: Obstacles: Ag signals ringing
Ag signals revealed ringing at a higher sampling frequency. New connection plate might help to rid of it.

## Slide 11: Ions: programme
Covered in Summer 2012
(visibility range was limited due to
a short time window)
Found H2+
9 dipole magnet strengths (red dashed lines on the plot) for the same RF conditions =>
Needed No Pulses ≈ 9 Dipole sets × 3 RF power levels × 50 BDs / 10-4 BDR ≈ 107 pulses
≈ 400 days (8 hours a day of operation)
To complete the ion scan it is necessary to apply
It is essential to have a high BDR of 10-2 -10-3 => 2 months can be enough!
1500 BDs are wanted!!!

## Slide 12: Summary
Energy of emitted electrons was measured in the KeV-MeV range.
H2 ions were detected with an energy of a few KeV.
Acquisition system has been improved.
The FlashBox experiment programme has been worked out.
Currently the ion scan is completed by only 0.67%.
The more BDs the more results!