## Slide 1: RF Simulations for the LHC
Beam Instrumentation Day 2012
Andriy Nosych
CERN Fellow BE / BI / QP
Dec 6, 2012

## Slide 2
Beam loss
Heating
HOMs
BPMs
Collimators
WCMs
Non-linearities
Tools
Outline
Modeling
Meshing
Strip-lines
BSRT

## Slide 3
1. real device
2. model
3. mesh
4. realistic result
Electromagnetic tools Modeling process
EM tools usage
Beam, TD, FD
FD
Beam, TD, FD

## Slide 4
1. real device
2. model
3. mesh
4. realistic result
4. Otherwise…
surrealistic result
Electromagnetic tools Modeling process
EM tools usage
Beam, TD, FD
FD
Beam, TD, FD
Bunch charge distribution in Time
Bunch charge distribution spectrum, Freq
Max bunch frequency
Simulation constraints:
Smallest/largest meshcell
Total meshcount
Simulation timestep
Frequency range
Geometry & Smallest detail

## Slide 5
EM study of PS-dedicated Wall Current Monitors
Simulated time response of resistors for both types of WCM.
Transition WCM
+ Simple feedthroughs
+ Resistors on circular arc
- Long design
- Resonant cavity
Pill-box WCM
+ Short
+ No transitions
- Resistors on elliptical arc
- More complex feedthroughs
Target: a WCM with 3GHz bandwidth to be used for beam shape monitoring and longitudinal tomography.
Feedthrough design for WCM

## Slide 6
Beam Position Monitors: types / purposes / meshing
Flat-head buttons:
Transfer lines
Curved-head
buttons: LHC
Movable buttons:
LHC Collimators
Strip-lines: directional PS/LHC BPMs
3.4 cm
1 cm
12 cm
3.4 cm

## Slide 7
Beam Position Monitors: 1D/2D non-linearity and correction
What is BPM non-linearity?
Geometrical scaling factor
BPM readout
SPS-LHC
transfer line BPMI
An approximation!

## Slide 8
Beam Position Monitors: 1D/2D non-linearity and correction
What is BPM non-linearity?
Geometrical scaling factor
BPM readout
Average error in beam allowed area: 1.1 mm
Max error for on-diag beam: 6mm!
Max error for on-diag beam: < 100 um
BPMD 131 mm
Before BPM “pillow-shaped” readback versus initial beam position map After
An approximation!

## Slide 9
Beam Position Monitors: BI MD4 IR8 scan (29 Nov. 2012)
BPMSW.1L8.B1
B1 Vertical orbit. Snapshot in time
Single-term poly used
Difference btw Optics prediction and BPM measurement: ~2mm
EM Model: prediction map
Cross-term poly used
Difference between positions: ~1.8mm
Overlay of scan trajectory over prediction map.
Single-term poly correction
Single-term poly
VS.
Cross-term poly

## Slide 10
Collimators with embedded BPMs: LHC prototype in SPS
Small pick-ups increase model’s mesh density.
Delicate BPM parts require manual mesh refinement
Local mesh density increase
Smallest mesh edge length: ≤ 0.5 mm!
mm
mm
1 m
4 small buttons
Used for LHC beam-cleaning, the cryo-cooled collimators have embedded button BPMs in the ends of each jaw to ensure fast and accurate centering of jaws around the beam.

## Slide 11
Collimators with embedded BPMs: non-linearities
Animation of simulated H&V beam-sweep maps.
Jaws gaps vary: 2, 10, 20, 40, 60 mm
2D non-linearity: Jaw gaps VS. BPM signals
By mapping beam offsets for various jaw gaps it is possible to build a 2D correction polynomial (3D surface): Xbpm = f(Gap,LRsignals)
Typical view of upstream/downstream port time signals for displaced beam
Very good agreement between simulated and measured horizontal non-linearities.
without non-linearity correction
with
correction

## Slide 12
Collimators with embedded BPMs: SPS coasting MD (5 Dec.2012)
Using the most advanced corrections at the moment: for electronic gain/offset (M.Gasior) and 2D non-linearity correction (A.Nosych) , the SPS collimator with embedded BPMs was used for beam position measurement and automatic centering with moving Collimator jaws (jaw position and jaw distance).
The compensation of the BPM and electronics errors allowed large improvement of the absolute accuracy of the beam position measurement.
Credits: S. Redaeli, M. Gasior, G. Valentino, R. Bruce, B. Salvachua, A. Nosych

## Slide 13
Objective:
Study structure for HOMs and Estimate heating areas
CLIC damping ring ODR chamber: modes of operation
With L. Bobb
CERN, Uni. of Cornell, R.H. Uni. Of London
2. Replacement chamber inserted.
Detector hidden from the beam.
E-field magnitude of a single bunch (s = 10mm) pass through ODR
Several strong resonances observed when the detector is IN the beam.
No trapped modes when using replacement chamber.
Beam
1. ODR detector (fork) in the beam.
Replacement chamber retracted.
20 cm

## Slide 14
CLIC ODR chamber: HOM and Power loss calculation
Search for trapped modes (HOMs) with Eigenmode Frequency domain solver:
many eigen-solutions, but it doesn’t mean that they are all excited by beam
1.26 GHz
1.19 GHz
1.018 GHz
1.017 GHz
…..

## Slide 15
CLIC ODR chamber: HOM and Power loss calculation
1.26 GHz
1.19 GHz
1.018 GHz
1.017 GHz
……
It appears that not all resonant modes are present in current ODR setup:
only a few can be selected as potential beam power loss / heating threat

## Slide 16
CLIC ODR chamber: HOM and Power loss calculation
1.017 GHz
1.26 GHz
1.19 GHz
For each resonant modes the Beam Power Loss is calculated (for 1-2 cm bunch).
Surface loss maps are calculated from H-field of resonant mode (surface tangents complex magnitude)
Ploss_total = 0.6W
1.017 GHz
1.19 GHz
1.26 GHz
Credits: Elias Métral, CERN LRFF meeting, 20/03/2012
Considered:
R: longit. shunt impedance
I = 1 mA
M = 1 (num of circ. bunches)
Pdb(f) = 0 (assumed for f < 2 GHz)
Total Power loss estimation for Sharp resonances (cycling beam)
Surface power loss maps
for given eigenmodes

## Slide 17
LHC BSRT extraction mirror: Power loss calculation
BSRT is placed in a beampipe of extended diameter (212 mm vs. normal 80mm)
Transition-to-transition length of ~20m makes it a long cavity
beam
Downstream view into BSRT
beam
mirror
Extraction mirror holder forms another cavity
Silicon Low Tq ferrite
With Profile Measurements section / CERN

## Slide 18
LHC BSRT extraction mirror: Power loss calculation
BSRT is placed in a beampipe of extended diameter (212 mm vs. normal 80mm)
Transition-to-transition length of ~20m makes it a long cavity
beam
Downstream view into BSRT
beam
mirror
Extreme RF heating of the mirror holder (up to 500 C) lead to intervention and replacement, and still poses a threat to LHC machine protection until LS1.
Before Aug.2012 Main damage: clamps, mirror After Sept.2012
With Profile Measurements section / CERN

## Slide 19
Longit. wake impedance of BSRT
with Ferrite damping and without
LHC BSRT extraction mirror: RF resonance + Power loss calculation
Time domain: 6 LHC bunches with 50 ns spacing.
First bunch introduces clear resonance, next bunches contribute.
Measured LHC bunch power spectrum. A 650 MHz resonance is very dangerous.
LHC bunch power spectrum
F = 650 MHz
P_loss = 10-50W
Credits: T.Mastoridis,
P.Baudrenghien/CERN
B-filed of the beam in Time Domain.
Red = Hot (bigger current density)
Blue = Cold
Mirror Back
Mirror front

## Slide 20
Longit. wake impedance of BSRT
with Ferrite damping and without
LHC BSRT extraction mirror: RF resonance + Power loss calculation
Time domain: 6 LHC bunches with 50 ns spacing.
First bunch introduces clear resonance, next bunches contribute.
E-field of a dominant resonating mode at 650 MHz.
(Q = 1263 / Rsh = 25841 Ohm)

## Slide 21
Acknowledgements:
Marek Gasior, Christian Boccard, Eva Calvo, Ralph Steinhagen and each and every one in QP section;
Special thanks to Rhodri Jones, Federico Roncarolo, Gianluca Valentino, Jeroen belleman, Benoit Salvant, Jorg Wenninger, Oleksiy Kononenko, and many others!
Conclusions, plans, wishlist

## Slide 22
Acknowledgements:
Marek Gasior, Christian Boccard, Eva Calvo, Ralph Steinhagen and each and every one in QP section;
Special thanks to Rhodri Jones, Federico Roncarolo, Gianluca Valentino, Jeroen belleman, Benoit Salvant, Jorg Wenninger, Oleksiy Kononenko, and many others!
Thank you!

## Slide 23
Available slot: 1 m
Pick-up is designed to cover the available slot length and aimed for proton/ion bunches up to 50 ns in length.
A close-up on electrodes, standard configuration (and a proposed “triangled” mod.)
Simulated time and freq response of up-stream / down-stream ports.
No significant influence of electrode modification yet.
EM study of a PS-dedicated stripline pick-up prototype
Reserved 1

## Slide 24
Reserved 2
Two-beam directional stripline BPM (around interaction points): BPMSW, BPMS:
BPMSW:
120mm stripline length
61mm beampipe diameter
~1M mesh cells (less for longer bunches)
20 minutes of CPU time per simulation (3.1 GHz 2 core PC)
E-field of a short bunch (sigma=25mm) passing through BPMSW
V(time) & V(Freq) of upstream and downstream ports
Upstream port
Downstream port
Horizontal non-linearity
LHC stripline

## Slide 25
Reserved 3
Flat button BPM
Flat LEP-button BPM family (transfer lines warm pick-up): BPMI, BPMIA, BPMBV, BPMBH
BPMI:
60mm beampipe diameter
34mm button head diameter
~2M mesh cells
40 minutes of CPU time per simulation
BPMI non-linearity map
V(time) and V(Freq) response for offset bunch
E-field of the off-centered nominal LHC bunch passing through BPMI

## Slide 26
Position scan with LHC beam
Obtained noisy measurements
Position measurement errors for single/cross term poly
Non-linearity correction experiment with LHC beam
Objective: Scan BPMSY with LHC beam & test the new simulated correction polynomial.
Result of the scan:
Verification of CROSS-term polynomial correction.
On axis beam: correction identical to single-term polynomial.
Off-axis beams: cross-terms reduce error down to ~20 um within 10mm (~500 um with single-terms)
81mm BPMSY
Reserved 4