## Slide 1: Long-Term Data Preservation
Jamie.Shiers@cern.ch
DPHEP Project Manager
International Collaboration for Data Preservation and
Long Term Analysis in High Energy Physics

## Slide 2: Overview
Data Preservation activities in HEP (DPHEP);
Significant events in past year relating to Open Access to Data and Long-Term Data Preservation;
Implications and wish-list for HEPiX community;
Outlook: EU H2020, NSF and other funding

## Slide 3: Nota Bene
People often confuse “data preservation” with “bit preservation” (we need a better name…)
This is part of the problem but by no means all (and even this is far from trivial and can be (very) costly over time
What is required is the ability to fully interpret and use the data in the long-term (includes s/w, build systems, meta-data, DCIs…)
What is long? Different timescales / discipline and per Use Case
Rule of thumb: “long” means adapting to inevitable, and possibly unforeseeable, changes: nothing can be safely assumed to be constant!

## Slide 4: Reliability
File loss is unavoidable and needs to be factored in at all stages
Good news: it has been getting better for both disk and tape
Disk storage reliability greatly increased by EOS over CASTOR disk
  RAID-1 does not protect against controller or machine problems, file system corruptions and finger trouble
Tape reliability still ~O(1) higher than EOS disk
  Note: single tape copy vs. 2 copies on disk

## Slide 5: [ CERN Tape Reliability Figures ]
On 17th March at 17:30:45 we have cleared the complete tape verification backlog and therefore scanned all full tapes.
It took 2 years, 7 months and 4 days.
Overall statistics:
total tapes analyzed : 51545
total tapes with data: 51519 ; empty tapes: 26
tapes with [ERROR] : 69
tapes with [WARN] : 1693
tapes with [OK] : 49780
total verified data : 106958.45 TB
average performance per drive and tape : 138.697 MB/s
aggregate performance for all drives : 1.26 GB/s
WLCG Service Incident Reports & Repack experience e.g. from KEK also relevant

## Slide 6: DPHEP: From Birth to Blueprint
Study Group started in January 2009
  Workshop in DESY
2 more workshops in SLAC (May) and CERN (Dec)
  First recommendations released in December 2009
Tour of labs continues
  Workshops in KEK (July 2010) and FNAL (May 2011)
  Release of the Blueprint in May 2012;
Priorities:
    Secure data in all experiments
    Consolidate the on-going international cooperation: DPHEP “organisation”
    Promote common multi-experiment projects and/within interdisciplinary cooperation
arXiv:0912.0255
  Jan 2009: DESY May 2009: SLAC Dec 2009: CERN Jul 2010: KEK May 2011: Fermilab Nov. 2012: Marseille
Slide: Cristinel Diaconu, DPHEP chair

## Slide 7: The DPHEP Organisation (aka “Collaboration”)
Retain the basic structure of the Study Group, with links to the host experiments, labs, funding agencies, ICFA
Installation of a full time DPHEP Project Manager, who acts as the main operational coordinator
The DPHEP Chair (appointed by ICFA) coordinates the steering committee and represents DPHEP in relations with other bodies

## Slide 8: The DPHEP Organisation/Collaboration
Retain the basic structure of the Study Group, with links to the host experiments, labs, funding agencies, ICFA
  October, 2012: CERN endorses the blueprint and appoints the DPHEP Project
The collaboration agreements are being defined and will become effective in 2013
Slide: Cristinel Diaconu, DPHEP chair

## Slide 9: From Blueprint to Now
A summary of DPHEP Blueprint was submitted to ESPP (September) – data preservation retained in draft update
Research Data Alliance launched (US, EU, AUS) – output will influence EU Horizon 2020 and other funding lines
EU Commission Recommendation on “access to and preservation of scientific information” (July)
EU Coordination Workshop on above (October)
e-IRG workshop on Data (December)
Collaboration with numerous other disciplines strengthened significantly (e-IRG, EUDAT, RDA, APA, …)
CERN Director for Research and Scientific Computing proposes to provide DPHEP Project Leader 2013 – 2015
RDA kickoff + EU / EIROforum workshop (March)
DP is one of the areas targetted in H2020 (also by NSF) (see backup)

## Slide 10: 2020 Vision for LT DP in HEP
N.B. Long-term – e.g. LC timescales: disruptive change(s)
  By 2020, all archived data – e.g. that described in Blueprint, including LHC data – easily findable, fully usable by designated communities with clear (Open) access policies and possibilities to annotate further
  Best practices, tools and services well run-in, fully documented and sustainable; built in common with other disciplines, based on standards
Many of the tools / services involved are those with which HEPiX is concerned
Opportunity for improving coordination across sites and / or considering the impact of an important Use Case

## Slide 11: DPHEP – S.W.O.T.
Strengths | DPHEP is well established within the community and recent contacts to other disciplines are very encouraging
Weaknesses | Effort is very scarce within the project at a time when manpower is already stretched to the limit elsewhere
Opportunities | Through a convergence of events there are clear possibilities for significant funding and collaboration in the EU’s Horizon 2020 programme and most likely corresponding programmes in other areas of the world, e.g. NSF-funded projects
Threats | Failure to invest now would jeopardise attempts to “rescue” LEP data as well as to take other preservation events (BaBar, Tevatron, Hera etc.) to a stable and sustainable state. It could also limit our ability to prepare for – and hence participate in – future projects

## Slide 12: Recommendations to ICFA
Adopt the OAIS model across HEP Long-Term Data Preservation Projects;
Actively participate in the Research Data Alliance and its Working Groups with the intent to influence EU, US (NSF) and other funding agencies;
Build on existing contacts with other disciplines to share best practises and where possible also tools and services;
Ensure that there are sufficient resources (2013 / 2014) to allow the vision of Long-Term, Sustainable Archives to be realized;
Address true long-term preservation by R&D into handling change in all areas of the archive environment and in particular that of the software and offline infrastructure. Long-term commitment also required.

## Slide 13: ICFA Statement on LTDP
The International Committee for Future Accelerators (ICFA) supports the efforts of the Data Preservation in High Energy Physics (DPHEP) study group on long-term data preservation and welcomes its transition to an active international collaboration with a full-time project manager. It encourages laboratories, institutes and experiments to review the draft DPHEP Collaboration Agreement with a view to joining by mid- to late-2013.
ICFA notes the lack of effort available to pursue these activities in the short-term and the possible consequences on data preservation in the medium to long-term. We further note the opportunities in this area for international collaboration with other disciplines and encourage the DPHEP Collaboration to vigorously pursue its activities. In particular, the effort required to prepare project proposals must be prioritized, in addition to supporting on-going data preservation activities.
ICFA notes the important benefits of long-term data preservation to exploit the full scientific potential of the, often unique, datasets. This potential includes not only future scientific publications but also educational outreach purposes, and the Open Access policies emerging from the funding agencies.
15 March 2013

## Slide 14: After the collisions have stopped
Finish the analyses! But then what do you do with the data?
  Until recently, there was no clear policy on this in the HEP community
  It’s possible that older HEP experiments have in fact simply lost the data
Data preservation, including long term access, is generally not part of the planning, software design or budget of an experiment
  So far, HEP data preservation initiatives have been in the main not planned by the original collaborations, but rather the effort a few knowledgeable people
The conservation of tapes is not equivalent to data preservation!
  “We cannot ensure data is stored in file formats appropriate for long term preservation”
  “The software for exploiting the data is under the control of the experiments”
  “We are sure most of the data are not easily accessible!”

## Slide 15: The difficulties of data preservation in HEP
Handling HEP data involves large scale traffic, storage and migration
  The increasing scale of the distribution of HEP data can complicate the task
Who is responsible? The experiments? The computing centres?
  Problem of older, unreliable hardware: unreadable tapes after 2-3 years
  The software for accessing the data is usually under the control of the experiments
Key resources, both funding and person-power expertise, tend to decrease once the data taking stops
And a rather key ingredient to all this is: why do it?
  Can the relevant physics cases be made?
  Who says we want to do this anyway?
  Is the benefit of all this really worth the cost and effort?

## Slide 16: What is HEP data?
Digital information
The data themselves, volume estimates for preservation data of the
order of a few to 10 PB
Other digital sources such as databases to also be considered
Expertise and people
Documentation
Internal publications, notes, manuals, slides
Publications
Software
Simulation, reconstruction, analysis, user, in addition to any external dependencies
Meta information
Hyper-news, messages, wikis, user forums..

## Slide 17: DPHEP models of HEP data preservation
Preservation Model |  | Use Case | 
1 | Provide additional documentation | Publication related info search | Documentation
2 | Preserve the data in a simplified format | Outreach, simple training analyses | Outreach
3 | Preserve the analysis level software and data format | Full scientific analysis, based on the existing reconstruction | Technical Preservation Projects
4 | Preserve the reconstruction and simulation software as well as the basic level data | Retain the full potential of the experimental data | 
These are the original definitions of DPHEP preservation levels from the 2009 publication
  Still valid now, although interaction between the levels now better understood
Originally idea was a progression, an inclusive level structure, but now seen as complementary initiatives
Three levels representing three areas:
  Documentation, Outreach and Technical Preservation Projects

## Slide 18: Open Access Policies
Simplified example from LHCb. (CMS similar)
Can we harmonize policies:
  Across experiments? Across labs?
Level-1 data: Published results | All scientific results are public. …
Level-2 data: Outreach and education | [Samples made public.] The data are for educational purpose only, not suitable for publication
Level-3 data: Reconstructed data | LHCb will make reconstructed data (DST) available to open public; 50% 5 years after data is taken, 100% after 10 years. Associated software will be available as open source, together with existing documentation. Publications must include disclaimer.
Level 4 data: Raw data | [Not directly accessible to collaboration] But must still be preserved!

## Slide 19: Suggested Topics for DPHEP7
“Ingest Issues” (10’)
  How did you (the experiment) decide what data to save, how to make it discoverable / available, how is it documented, where is the data / meta-data etc. What are the access policies and target communities?
  What tools do you use?
“Archive issues”: (10’)
  How is the archive managed? How are errors detected and handled? What is the experience?
  What storage system / services are used?
“Offline environment issues”: (20’)
  What have been the key challenges in keeping the offline environment alive? What are the key lessons learned / pitfalls to be avoided? What would you have done differently if long-term preservation had been a goal from the early days of the experiment?

## Slide 20: “Conclusions” from DPHEP7
“Ingest Issues”
  How did you (the experiment) decide what data to save?
  The raw data, the latest reprocessing & MC samples and associated calibrations etc.
  How to make it discoverable / available, how is it documented, where is the data / meta-data etc. What are the access policies and target communities?
  What tools do you use?
  Strong overlap in terms of tools -> more coherence & coordination could help both now and in the future.
  IMHO a “DPHEP portal” is called for to provide a single entry point to all of the above.
  This could be achieved by a TECH or FELL working between IT & the experiments
“Archive issues”
  How is the archive managed? How are errors detected and handled? What is the experience?
  What storage system / services are used?
  Site specific – coordination (& standard interfaces?) could help a lot here: HEPiX?
“Offline environment issues”:
  What have been the key challenges in keeping the offline environment alive? What are the key lessons learned / pitfalls to be avoided? What would you have done differently if long-term preservation had been a goal from the early days of the experiment?
  An automated test system is likely to be installed for / by the LHC experiments

## Slide 21: Where to Invest – Summary (WLCG OB)
Tools and Services, e.g. Invenio: could be solved. (2-3 years?)
Archival Storage Functionality: should be solved. (i.e. “now”)
Support to the Experiments for DPHEP Level 4:
must be solved – but how?

## Slide 22: Digital Curation Centre Guidelines
Collect as much information as possible about your data at the time of creation and processing, when rich information is available and might be automatically captured
Appraise your data and select what is really worthwhile preserving
Ingest, secure and maintain both the physical data as well as its content, syntax and semantics
Data and tools will need to evolve to keep pace with both IT technological developments, but also scientific demands including data transformation, new analytics, changed descriptions and so on
Plans for data preservation need to be regularly reviewed and updated

## Slide 23: Technical Projects: DPHEP preservation levels 3 and 4
  This is really the main focus of the data preservation effort
  Level 3: Access to analysis level data, MC and the analysis level software
  Level 4: Access to reconstruction and simulation software, retain the full capability
Deciding on level 3 or 4 depends on the scope of your project
  What do you want to be able to do in N years time?
  Only level 4 gives full flexibility, but this also means not relying on frozen executables and binaries but rather retaining the ability to recompile: more work
Remember: it’s not about the data, but about still being able analyse it
  Either keep your current environment alive as long as possible
  Or adapt and validate your code to future changes as they happen
Two complimentary approaches taken at SLAC and DESY
  Both employing virtualisation techniques, but in rather different ways
    The majority of DPHEP experiments aim for DPHEP level 4 preservation

## Slide 24: The BaBar Long Term Data Access archival system
New BaBar system installed for analysis until at least 2018
  Isolated from SLAC, and uses virtualisation techniques to preserve an existing, stable and validated platform
  Complete data storage and user environment in one system
    Required large scale investment: 54 R510 machines, primarily for data storage, as well as 18 other dedicated servers
  Resources taken into account in experiment’s funding model during analysis phase!
  From the user’s perspective, very similar to existing BaBar infrastructure

## Slide 25: The BaBar Long Term Data Access archival system
Crucial part of design is to allow frozen, older platforms to run in a secure computing environment
Naïve virtualisation strategy, not enough
  Cannot support an OS forever
  Security of system under threat using old versions
Achieved by clear network separation via firewalls of part storing the data (more modern OS) and part running analysis (the desired older OS)
Other BaBar infrastructure not included in VMs is taken from common NFS
More than 20 analyses now using the LTDA system as well as simulation

## Slide 26: The sp-system at DESY
Automated validation system to facilitate future software and OS transitions
  Utilisation of virtual machines offers flexibility: OS and software configuration is chosen by experiment controlled parameter file
  Successfully validated recipe to be deployed on future resource, e.g. Grid or IT cluster
  Pilot project at CHEP 2010, full implementation now installed at DESY
Essential to have a robust definition of a complete set of experimental tests
  Nature and number dependent on desired preservation level
Such a system will likely be established for the LHC expts

## Slide 27: Example structure of the experimental tests: H1 (Level 4)
Compilation
Validation
Including compilation of individual packages: about 250 tests planned by H1

## Slide 28: Digesting the validation results
Display the results of the validation in a comprehensible way: web based interface
The test determines the nature of the results
  Could be simple yes/no, plots, ROOT files, text-files with keywords or length, ...

## Slide 29: Current status of the HERA experiments software
Common baseline of SLD5 / 32-bit achieved in 2011 by all experiments
  Validation of 64-bit systems is a major step towards migrations to future OS
  The system has already been useful in detecting problem visible only in newer software
Note that this system does not concern data integrity
  The investigation into data archival options is underway

## Slide 30: Summary of information from the (pre-LHC) experiments

## Slide 31: Take-Home Messages for HEPiX
There is significant, if not complete, overlap with the core IT services required for DPHEP & those coordinated by HEPiX
Can HEPiX expand its activities to include the LTDP Use Case?
  e.g. coordination of management of long-term archives; inter-site data recovery; long-term commitment to LTDP requirements
  IMHO, experiments should not be talking about media migration at DPHEP workshops!
N.B. there are tensions between long-term & short-term needs but these will need to be balanced, in particular for the LHC experiments

## Slide 32: DPHEP Collaboration Agreement
Intent is for main accelerator labs to sign the CA
This could also be relevant for those sites providing primary / secondary copies of data
  If not done at a higher level, e.g. that of funding agency
I have not talked about collaboration with other disciplines, nor about H2020 / NSF funding, but these are important issues to be resolved <(<) to the Fall HEPiX
  E.g. prior to RDA-2 in September

## Slide 33: Conclusions
My top priority for this meeting is to seek agreement / confirmation that management of the data is a long-term site responsibility
  e.g. checking for and recovering from faulty media
  Migrating data to new media (repack)
  (Other actions described in OAIS reference model / ISO std)
And that the techniques and policies will be coordinated across sites
This is something valuable that we can bring to future H2020 (and other) projects
It is not too late to prepare – but it is certainly not too early either!

## Slide 34: Long-Term Data Preservation: It’s About Time!
Jamie.Shiers@cern.ch
DPHEP Project Manager
International Collaboration for Data Preservation and
Long Term Analysis in High Energy Physics

## Slide 35: storing, managing and preserving research data
Scenario: Diversity is likely to remain a dominant feature of research data – diversity of formats, types, vocabularies, and computational requirements – but also of the people and communities that generate and use the data.
Europe needs to develop an integrated and service-driven approach to e-infrastructures for the data of a wide range of research communities.
Europe should therefore step-up the available capacity to cope with extremely large, heterogeneous and complex datasets incorporating advanced computing and software.
Furthermore, costs of storing and preserving data can be significant if one needs to keep it well managed for long periods to be used by others.
Different institutions archive their research data in different ways - making access difficult from outside the institution - whereas storage and computing media evolve and become quickly obsolete.
How will we preserve and maintain future access to priceless research data?
Data management plans are intended to help researchers, funders and data repositories to get maximum value from research data at minimum cost.
Source: Research Data e-Infrastructures: Framework for Action in H2020