Muon Cooling for a Neutrino Factory and Muon Collider
RAL Computing - Issues
Chris Rogers,
ASTeC,
Rutherford Appleton Laboratory

---
RAL Computing Issues
- Features
  - Site wide network outage
  - Christmas PPD rack room outage
  - This weekend
- Description of systems and services running at RAL (not MICENet)
  - Configuration Database (CDB) hot backup/slave
  - micewww.pp.rl.ac.uk and redmine
  - MICE bastion (mousehole)
  - EPICS archiver
  - EPICS gateway
  - Elog
  - Micehall web cams
  - Networking (facilities-users)
- Also
  - Printer passwords

---
System Prioritisation
- Systems prioritised according to:
  - High – used for offsite access to operations
  - Medium – used for development work
  - Low – used for development work; but a workaround exists
- Service prioritisation
  - Mousehole – high
  - EPICS gateway – high
  - Elog - medium
  - Redmine and micewww – medium
  - Config DB hot back up and web service - medium
  - Config DB test server - low
  - MAUS test servers – low
  - MICEHall web cams - low

---
Features
- Site wide electrical failure (date?)
- Site wide network outage due to fire in RAL rack room 8th November
  - Rogers started monitoring server uptime
  - > 9 hour downtime
- PPD rack room outage 26th December – beginning of January
  - Air conditioning failure in rack room
  - RAL shut over christmas
  - 7 day downtime
- Weekend 16-17 February (tomorrow)
  - Electrical tests in Atlas building switch room
- Several systems failures, of which most significant was the outage over christmas

---
Downtimes
Fractional Downtime since 8th November

---
PPD rack room outage (1)
- RAL closed December 24th – January 2nd
  - ISIS goes off for radiation cooldown
- 11:37 25/12/12: Rack room air conditioning failed
- 14:00 25/12/12: RAL estates fixed air conditioning; rack room temperature stable
- 14:00 26/12/12: Air conditioning again failed; Chris Brew took decision to shutdown all linux services
- 15:00 30/12/12: Chris Brew attempted to restart linux services; MICE services failed to restart
- 02/01/13: Henry Nebrensky find failed disk on heplnm067; replaces disk
- 08/01/13: Antony Wilson resolves failure in postgres

---
PPD rack room outage (2)
- Successes:
  - All data recovered from disk failure
  - Better-than Service Level Agreement
    - Next Business Day or 2 weeks on these services
- Failures:
  - No plan/awareness for AFC tests and SS tests
  - Magnet tests were not considered properly as “operations”
  - MOM not informed
- Two wash-up/review meetings were held to understand how we improve services
  - Documented at
    - http://micewww.pp.rl.ac.uk/projects/operations/wiki/PPDMICE_computing_outage_christmas_2012

---
System Prioritisation (2)
- Low priority systems remain as-is
- Medium priority systems will be placed on Virtual Machine infrastructure
  - Hardware triply redundant
  - Physical location in two rack rooms – (tbc)
- High priority systems will be placed on Virtual Machine infrastructure and we can envision an additional layer of redundancy
  - Mousehole could have PPD bastion and RAL bastion
  - EPICS Gateway – needs some investigation as to how a backup can be provided
- RAL PPD provides at least NBD service for hardware and OS
- MICE provides at least NBD service for software and services
  - Needs an expert list, NBD call out list, expert training
  - Note: this is for vacation cover etc
  - We can consider covering RAL holidays, depending on operational need

---
Per System - eLog
- eLog master should be hosted on MICENet
- Local mirrors for other operations e.g. SS tests
- This should be set up as a set of master-master systems
  - So each is modifiable and replicates to other systems when network available
  - Should be automated on an e.g. nightly basis

---
Per System - Mousehole
- Mousehole goes onto HyperV
- PPD bastion as an alternative (also hosted on HyperV)
- Investigate RAL bastion as a backup

---
Per System – EPICS Gateway
- EPICS gateway should be moved onto HyperV
- Need better documentation/local expertise to understand this service

---
Per System - ConfigDB
- ConfigDB hot swap/web service goes onto HyperV
- Need to test that this is still visible to MICENet
  - ConfigDB web service is the system by which MAUS and non-RAL locals access CDB data
  - ConfigDB hot swap is the backup for CDB server on MICENet
  - Same DB and postgres service

---
Per System - Redmine
Redmine goes onto HyperV

---
Further Thoughts
- Issues like: site-wide network outage; site-wide power outage; can not be addressed locally
  - STFC directorate is aware that MICE has been affected by these problems
  - We are not the only ones
  - Solution will not be quick
- MICE can do the best job to protect itself from these problems
  - Redundancy in computing systems
  - Redundancy in wetware

---
Printer Passwords
- MICE oki printer (R76) passwords were allowed to escape onto google cache
  - Printer server may now be taken offline for security analysis
  - Some bureaucracy
- This should not happen!
  - Please be careful

---
Networking
- I am aware of networking issues
  - Specifically facilities-users/RADIUS server
- I prioritised the PPD server room issue first