## Slide 1: Measurements with Micromegas Detector Prototypes for the Atlas Myon System
Anna Ravensburg and Pascal Grobecker
CERN Internship 08.04. – 19.04.2013
http://www.atlas.ch/photos/muons-tgc.html

## Slide 2: Micromegas

## Slide 3: The ATLAS - Detector
*http://core.physicsinfo.co.uk/filestore/104/atlas.jpg
Task: To build Myon-Detectors (blue) which work faster
Time: About 5 years

## Slide 4: Setup of a Particle Detector
+
-
+
Argon
Electric Field
Particle
-
+
-

## Slide 5: Avalanche-Effect
+
-
+
Argon
Electric Field
Particle
-
+
-
-
+
Notes: Many ionisation
 Ar+ is too slow for high rates in ATLAS

## Slide 6: Micro-Mesh Gaseous Detector
Changed from http://en.wikipedia.org/wiki/File:MMPrincipe.png
Notes: Higher rate because avalanche-effect is only in small part of the chamber
Each readout-strips can induce a signal  position of the particle is detected

## Slide 7: Problems at ATLAS with Micromegas

## Slide 8: Dust between Mesh and Strips
Changed from http://en.wikipedia.org/wiki/File:MMPrincipe.png
Notes: Dust between Mesh and the strips cannot be avoided in large scale  cleanage was impossible

## Slide 9: Irragularities of the Electric Field
Notes: Difficulties is producing mesh and strips in large scale  there are no machines

## Slide 10: Our tasks

## Slide 11: Building a Micromegas Detector
Gas in
Gas out
Preamplifier
Fe55

## Slide 12: Building a Setup for Measurements
Oscilloscope
To Power Supply
To Amplifier

## Slide 13: Building a Setup for Measurements
A Strips: +534V
B Drift: -300V

## Slide 14: Our Measurements
Notes: A signal from the micromegas detector

## Slide 15: Our Measurements
Chart: Channel
Fe55: radioactive source
6 keV
Ar: Excitation
Notes: First peak: excitation of Ar
Second peak: Fe55
 Position depends on gain in the detector  Gain=# of electrons in strip/# of ionisations  Gain depends on electric field, gas, …

## Slide 16: Peakposition
Deviation from average

## Slide 17: Building a Micromegas Detector
Gas in
Gas out
Preamplifier
Fe55

## Slide 18: Full Width at Half Maximum (FWHM)
Chart: Channel
Half Maximum
FWHM

## Slide 19: Gain Curve
Chart: Voltage
| 530 | 525 | 520 | 515 | 510 | 505 | 500 | 495 | 490 | 485 | 480 | 475 | 470
Peakposition [channel] | 51 | 44 | 38 | 35 | 29 | 28 | 25 | 21 | 18 | 17 | 15 | 15 | 16
Notes: Higher voltage  higher electric field  bigger gain  peakposition moves to higher channel

## Slide 20: Measurement of cosmic radiation

## Slide 21: Setup
Scintillators
Lead
Micro-megas
Notes: Scintillators: measurements are only saved, if both scintillators detect a particle  only high energy particles because of lead
Depending on which strips a signal is induced, the path of the particle can be detected

## Slide 22: Our Measurements
Fit Panel
Console
Data of a Micro-megas detector with fitting line

## Slide 23: Comparision of different Detectors
Notes: Very bad results  normally there should be gain curves
Reasons: fitting not always very well, noise

## Slide 24: Conclusion

## Slide 25: Thank you for giving us the chance to come to CERN and have 12 great days!
Notes: Practical Experiences
Interesting insights into the work in a Lab
Super supervisors
Good explanations for difficult facts about ATLAS
- Not much work