## Slide 2: Work Organization, Maintenance Planning and Maintenance Experience session
Pierre Bonnal
Christophe Delamare
Marine Gourber-Pace
Damien Lafarge
Christophe Mugnier
Goran Perinić
Regis Pilon
Ingo Ruehl
Eric van Uytvinck
David Widegren
Zornitsa Zaharieva
Asset Maintenance Management
Workshop
AMMW 2013
15th November 2013
DG-DI
GS-ASE
BE-CO
EN-HE
TE-EPC
TE-CRG
TE-EPC
EN-HE
EN-EL
GS-ASE
BE-CO

## Slide 3: Safety Organization of the ATLAS experiment
Many conventional risks in the same place
Many specific risks in the same place
Projects to define solutions in radioactive environments (live biometry monitoring and remote handling)
Notes: Electrical risks, work at height…
Liquid argon, Liquid nitrogene, confined spaces…

## Slide 4: Maintenance in the CERN cooling and ventilation group
KPIs calculated based on WO data
Importance of quality and completeness of data in WOs for KPIs calculation
Mobile devices application
Online vibration analysis

## Slide 5: LS1 maintenance for the cryogenic installations
Very good performance (~92% availability)
Systematic analysis of origins of downtimes
Maintenance plans defined in details through BOM, procedures & schemes
Offline vibration analysis

## Slide 6: Inspections of EN/EL transformers
Periodic interventions on transformers ~preventive
List of parameters evaluated or measured
Triggers corrective interventions
Parameters automatically analyzed

## Slide 7: Maintenance of Power Conv. based on Failures Data
Analysis of failures data to optimize maintenance
Weibull approach to detect obsolescence of diodes based on 5 defects out of 10’000 diodes
Triggers replacement plan for diodes
Importance of completeness and quality of data

## Slide 8: Spare part management in the EN-CV group
Important number of references to manage
Workflow based on pick tickets for traceability
Efforts put on improvement of stock thanks to KPIs and standardization

## Slide 9: Contract management, contract adjudication, outsourcing
Presentation of the Best Value for Money method
Method evaluating bid mark adding price mark and quality mark
41 contracts adjudicated since 2008 out of 78 contracts at CERN
Notes: Experience cannot be taken into account