## Slide 2
An approximate electromagnetic model for superconducting helically
wound cables and cable-in-conduit conductors
V. Zermeno, F. Grilli
Karlsruhe Institute of Technology
victor.zermeno@kit.edu

## Slide 3: Content
Geometrical model for
3-phase cables
Electromagnetic model for coaxial
cables
Extension to CICC

## Slide 4: Content
Geometrical model for
3-phase cables
Electromagnetic model for coaxial
cables
Extension to CICC

## Slide 5: Content
Geometrical model for
3-phase cables
Electromagnetic model for coaxial
cables
Extension to CICC

## Slide 6: Content
Geometrical model for
3-phase cables
Electromagnetic model for coaxial
cables
Extension to CICC

## Slide 7: The modeler’s dilemma
Real vs.
Possible
Feasible
Practical

## Slide 8: What is a model?

## Slide 9: Exact Solution
Analytic Approximation

## Slide 10: Exact Solution
Numeric Approximation 1

## Slide 11
Exact Solution
Numeric Approximation 2

## Slide 12: Exact Solution
Numeric Approximation 3

## Slide 14: Ampacity project
Phase | # of tapes | radius | Pitch angle
A | 22 | 36.1 mm | 17.44°
B | 26 | 42.1 mm | 17.44°
C | 30 | 48.2 mm | 17.44°

## Slide 15
How to model a 3-phase helically wound cable?

## Slide 16
How to model a 3-phase helically wound cable?

## Slide 17: Original model design dissected
1 pitch length of each phase

## Slide 18: 1 phase

## Slide 19: 1 phase
Geometry can be modelled in 2D using helical coordinates
Stenvall, A. et al. IEEE TAS 23 -3 2013

## Slide 20: 2 phases

## Slide 21: 2 phases
Geometry must be modelled in a small 3D section
K Takeuchi et al Supercond. Sci. Technol. 24 (2011) 085014

## Slide 22: 3 phases
Geometry must be modelled in a large 3D section

## Slide 23: 3 phases
Geometry must be modelled in a large 3D section?

## Slide 24: Model size
With constant pitch angle (17.44 deg), there are different pitch lengths for each phase:
  Phase 1 -> 361.013100007 mm
  Phase 2 -> 421.015277294 mm
  Phase 3 -> 482.017490868 mm

## Slide 25: Model size
With constant pitch angle (17.44 deg), there are different pitch lengths for each phase:
  Phase 1 -> 361.013100007 mm
  Phase 2 -> 421.015277294 mm
  Phase 3 -> 482.017490868 mm
Lmc(361,421,482)=73254842… so, the spatial period is >73km 

## Slide 26: Model size
With constant pitch angle (17.44 deg), there are different pitch lengths for each phase:
  Phase 1 -> 361.013100007 mm
  Phase 2 -> 421.015277294 mm
  Phase 3 -> 482.017490868 mm
Assume the tolerance is on our side and approximate the actual layout with something similar .

## Slide 27: 1-phase layout

## Slide 28: 1-phase layout

## Slide 29: 1-phase layout

## Slide 30: 1-phase layout

## Slide 31: 3-phase layout

## Slide 32: 3-phase layout

## Slide 33: 3-phase layout projected

## Slide 34: 3-phase layout projected

## Slide 35: 3-phase layout projected
Search for periodicity candidates

## Slide 36: Search for periodicity candidates
radius=20 µm

## Slide 37: Find minimum period per phase
30 26 22

## Slide 38: Find minimum period per phase
30 26 22

## Slide 39: Find minimum period per phase
30 26 22

## Slide 40: Search for candidate geometries
Use integer combinations of the minimum periods per phase
3
4
5

## Slide 41: Search for candidate geometries
3
4
Use integer combinations of the minimum periods per phase
5

## Slide 42: Search for candidate geometries
3
4
Use integer combinations of the minimum periods per phase
And test for the corresponding
pitch angles
16° 17.44° 18°
5

## Slide 43: Approximate pitch length of the cable
Designs under 0.66 m

## Slide 44: Approximate pitch length of the cable
Designs under 0.66 m

## Slide 45: Approximate pitch length of the cable
Designs under 0.66 m

## Slide 46: Approximate pitch length of the cable
Designs under 0.66 m

## Slide 47: Approximate pitch length of the cable
Designs under 0.66 m

## Slide 48: Approximate pitch length of the cable
Designs under 0.66 m

## Slide 49: Approximate pitch length of the cable
Designs under 0.66 m

## Slide 50: Approximate pitch length of the cable
Designs under 0.66 m

## Slide 51: Approximate pitch length of the cable
Using an approximate pitch length of 16.193 mm for each phase:
  Phase 1 -> 17.659 deg (0.219 deg error)
  Phase 2 -> 17.44 deg (0 deg error)
  Phase 3 -> 17.313 deg (0.127 deg error)

## Slide 52: Model of cable by several 2D slices
a b c
a b c
a b c

## Slide 53: Model of cable by several 2D slices
a b c
a b c
a b c
2.5-D

## Slide 54: Model of cable by two 2-D slices
M Nakahata and N Amemiya Supercond. Sci. Technol. 21 (2008) 015007

## Slide 55
Takes into account the different relative position of tapes along length (as a result of the pitch)
Good results expected for low pitch angles
Neglects axial field
Manageable computing time (per slice)
Model of cable by subsequent 2D slices

## Slide 56
Magnetic flux density and
Normalized current density
Using H-formulation, Brambilla et al. SUST 20-1 (2007)

## Slide 57
Magnetic flux density and
Normalized current density
Using H-formulation, Brambilla et al. SUST 20-1 (2007)

## Slide 58
Magnetic flux density and
Normalized current density
Using H-formulation, Brambilla et al. SUST 20-1 (2007)

## Slide 59
Surface: |B| (mT) Streamlines: (B1,B2)
Magnetic field profile in different slices

## Slide 60: Assessing the need for several slices
Magnetic field is almost azimuthal in the inter-phase region:
  For several time steps and several slice positions

## Slide 61: Assessing the need for several slices
Magnetic field is almost azimuthal in the inter-phase region:
  For several time steps and several slice positions
Computed AC losses using several slices (3-5) provided estimates with less than 0.5% variation.

## Slide 62: Assessing the need for several slices
Magnetic field is almost azimuthal in the inter-phase region:
  For several time steps and several slice positions
Computed AC losses using several slices (3-5) provided estimates with less than 0.5% variation.
One slice can provide accurate estimates.
  Fast time to solution.

## Slide 63
If the Ic of all tapes is assumed to be equal to 170 A, then the corresponding Ic per phase is:
22 X 170 A = 3740 A
26 X 170 A = 4420 A
30 X 170 A = 5100 A
Total Ic 13260 A
Cable’s Ic is limited by the capacity of phase “a”.
Original design: 1
22
26
30
1

## Slide 64
If the Ic of each phase is assumed to be equal to that of phase “a” of the original design, then the Ic per phase is:
22 X 170 A = 3740 A
26 X 143.85 A = 3740 A
30 X 124.67 A = 3740 A
Total Ic 11220 A
15% less Ic than original design (cheaper design)
Optional design: 2
2
22
26
30

## Slide 65
If the Ic of each phase is assumed to be equal to that of phase “b” of the original design, then the Ic per phase is:
22 X 201 A = 4420 A
26 X 170 A = 4420 A
30 X 147.3 A = 4420 A
Total Ic 13260 A
Same Ic as original design (similar price design)
Optional design: 3
3
22
26
30

## Slide 66
AC loss in original design
Chart: AC loss (W/m)
| Original cable 75 % Ic | Option a 75 % Ic | Option b 75 % Ic | Original cable 90 % Ic | Option a 90 % Ic | Option b 90 % Ic
Phase 1 | 1.285 | 1.285 | 0.938 | 2.724 | 2.724 | 1.876
Phase 2 | 0.807 | 1.03 | 0.807 | 1.498 | 1.983 | 1.498
Phase 3 | 0.52 | 0.915 | 0.668 | 1.016 | 1.946 | 1.335
75% Ic 90% Ic _
Design 1 (original) | Design 2 | Design 3
Design 1 (original) | Design 2 | Design 3
22 X 170 A
26 X 170 A
30 X 170 A

## Slide 67
AC loss comparison for other designs
Chart: AC loss (W/m)
| Original cable 75 % Ic | Option a 75 % Ic | Option b 75 % Ic | Original cable 90 % Ic | Option a 90 % Ic | Option b 90 % Ic
Phase 1 | 1.285 | 1.285 | 0.938 | 2.724 | 2.724 | 1.876
Phase 2 | 0.807 | 1.03 | 0.807 | 1.498 | 1.983 | 1.498
Phase 3 | 0.52 | 0.915 | 0.668 | 1.016 | 1.946 | 1.335
75% Ic 90% Ic _
Design 1 (original) | Design 2 | Design 3
Design 1 (original) | Design 2 | Design 3
Cheaper
(15 % less Ic) 23% more loss
Cheaper
(15 % less Ic) 27% more loss
22 X 170 A
26 X 143.85 A
30 X 124.67 A

## Slide 68
AC loss comparison for other designs
Chart: AC loss (W/m)
| Original cable 75 % Ic | Option a 75 % Ic | Option b 75 % Ic | Original cable 90 % Ic | Option a 90 % Ic | Option b 90 % Ic
Phase 1 | 1.285 | 1.285 | 0.938 | 2.724 | 2.724 | 1.876
Phase 2 | 0.807 | 1.03 | 0.807 | 1.498 | 1.983 | 1.498
Phase 3 | 0.52 | 0.915 | 0.668 | 1.016 | 1.946 | 1.335
75% Ic 90% Ic _
Design 1 (original) | Design 2 | Design 3
Design 1 (original) | Design 2 | Design 3
Similar price*
(same Ic)
8% less loss
Similar price*
(same Ic)
11% less loss
22 X 201 A
26 X 170 A
30 X 147.3 A

## Slide 69
AC loss comparison for other designs
Chart: AC loss (W/m)
| Original cable 75 % Ic | Option a 75 % Ic | Option b 75 % Ic | Original cable 90 % Ic | Option a 90 % Ic | Option b 90 % Ic
Phase 1 | 1.285 | 1.285 | 0.938 | 2.724 | 2.724 | 1.876
Phase 2 | 0.807 | 1.03 | 0.807 | 1.498 | 1.983 | 1.498
Phase 3 | 0.52 | 0.915 | 0.668 | 1.016 | 1.946 | 1.335
75% Ic 90% Ic _
Design 1 (original) | Design 2 | Design 3
Design 1 (original) | Design 2 | Design 3

## Slide 70
Optional design:4
If the Ic of all tapes is assumed to be equal to 170 A and 22 tapes are used in each phase, then the corresponding Ic per phase is:
22 X 170 A = 3740 A
22 X 170 A = 3740 A
22 X 170 A = 3740 A
Total Ic 11220 A
15% less Ic than original design (cheaper design)
4
22
22
22

## Slide 71
Original design:4

## Slide 72
Original design:4
Field in the inter-phase regions is not azimuthal: Several slices needed

## Slide 73
Chart: AC loss (W/m)
| Original cable 75 % Ic | 22 tapes/phase 75 % Ic (0) | 22 tapes/phase 75 % Ic (11) | 22 tapes/phase 75 % Ic (20) | Original cable 90 % Ic | 22 tapes/phase 90 % Ic (0) | 22 tapes/phase 90 % Ic (11) | 22 tapes/phase 90 % Ic (20)
Phase 1 | 1.285 | 1.262 | 1.303 | 1.26 | 2.724 | 2.678 | 2.754 | 2.675
Phase 2 | 0.807 | 1.243 | 1.346 | 1.275 | 1.498 | 2.399 | 2.632 | 2.466
Phase 3 | 0.52 | 1.703 | 1.821 | 1.777 | 1.016 | 3.404 | 3.632 | 3.55
75% Ic 90% Ic _
Design 1 (original) | Design 4 (slice #1) | Design 4 (slice #12) | Design 4 (slice #21)
Design 1 (original) | Design 4 (slice #1) | Design 4 (slice #12) | Design 4 (slice #21)
Cable with 22 tapes per phase

## Slide 74
Chart: AC loss (W/m)
| Original cable 75 % Ic | 22 tapes/phase 75 % Ic (0) | 22 tapes/phase 75 % Ic (11) | 22 tapes/phase 75 % Ic (20) | Original cable 90 % Ic | 22 tapes/phase 90 % Ic (0) | 22 tapes/phase 90 % Ic (11) | 22 tapes/phase 90 % Ic (20)
Phase 1 | 1.285 | 1.262 | 1.303 | 1.26 | 2.724 | 2.678 | 2.754 | 2.675
Phase 2 | 0.807 | 1.243 | 1.346 | 1.275 | 1.498 | 2.399 | 2.632 | 2.466
Phase 3 | 0.52 | 1.703 | 1.821 | 1.777 | 1.016 | 3.404 | 3.632 | 3.55
75% Ic 90% Ic _
Design 1 (original) | Design 4 (slice #1) | Design 4 (slice #12) | Design 4 (slice #21)
Design 1 (original) | Design 4 (slice #1) | Design 4 (slice #12) | Design 4 (slice #21)
Cable with 22 tapes per phase
Design 2
Design 2

## Slide 75: How about CICC?
Similar strategy can be followed:
  Pitch length now relates to wires and filaments rather than to layers.

## Slide 76: In helically wound cables:
3
4
5

## Slide 77: In CICC:
larger pitch length
# of bundles in wire
smaller pitch lentgh # of wires in bundle

## Slide 78: In CICC:

## Slide 79: In CICC:

## Slide 80: In CICC:

## Slide 81: Test design

## Slide 82: Test design (2.5-D)
Surface: |J/Jc| Streamlines: (B1,B2)
Use of several slices provided similar AC loss calculation (~1% difference)
Using H-formulation, Brambilla et al. SUST 20-1 (2007)

## Slide 83: Test design (3-D)
Jx/Jc
Using CSM: Campbell, A. SUST 22-3 (2009)
(DOI: 10.1088/0953-2048/22/3/034005)

## Slide 84: Using H-formulation 3-D
Lyly, M. et al. IEEE TAS 23-3 (2013)

## Slide 85: Conclusions
An approximated geometrical model for 3-phase helically wound cables was developed.
  Actual layout of original cables is approximated within tolerance.

## Slide 86: Conclusions
An approximated geometrical model for 3-phase helically wound cables was developed.
  Actual layout of original cables is approximated within tolerance.
AC losses were computed using a 2.5-D model consisting of a finite collection of slices.
  For the particular case of cables where Magnetic field is almost azimuthal in the inter-phase region one slice is sufficient.

## Slide 87: Conclusions
An approximated geometrical model for 3-phase helically wound cables was developed.
  Actual layout of original cables is approximated within tolerance.
AC losses were computed using a 2.5-D model consisting of a finite collection of slices.
  For the particular case of cables where Magnetic field is almost azimuthal in the inter-phase region one slice is sufficient.
A similar methodology was used for CICC.
  Pitch length now relates to wires and filaments rather than to layers.

## Slide 88: Conclusions
An approximated geometrical model for 3-phase helically wound cables was developed.
  Actual layout of original cables is approximated within tolerance.
AC losses were computed using a 2.5-D model consisting of a finite collection of slices.
  For the particular case of cables where Magnetic field is almost azimuthal in the inter-phase region one slice is sufficient.
A similar methodology was used for CICC.
  Pitch length now relates to wires and filaments rather than to layers.
The CICC geometrical model was used for simulating the electromagnetic transient response of the cables in transport conditions by means of FEM using H-formulation.

## Slide 89: Conclusions
An approximated geometrical model for 3-phase helically wound cables was developed.
  Actual layout of original cables is approximated within tolerance.
AC losses were computed using a 2.5-D model consisting of a finite collection of slices.
  For the particular case of cables where Magnetic field is almost azimuthal in the inter-phase region one slice is sufficient.
A similar methodology was used for CICC.
  Pitch length now relates to wires and filaments rather than to layers.
The CICC geometrical model was used for simulating the electromagnetic transient response of the cables in transport conditions by means of FEM using H-formulation.
A 3-D model based in the CSM was implemented