## Slide 1: Straw L0 Trigger Studies
Vito Palladino
NA62 Collaboration Meeting - Liverpool

## Slide 2: The Test
First bunch of 30 final covers (15 right and 15 left) have been delivered at CERN for testing.
An electrical test has been performed at CERN.
The test performs measurements of absorbed currents and measure all the voltages. Moreover a check on dead/swapped channels is performed.

## Slide 3: Results
6 left and 6 right covers have been tested.
2 out of 12 boards presents problems.
  One is reading a wrong current.
  The second one is not able to write in DAC for thresholds setting.
Further investigations are on going and only the second board seems to experience real problems (current mismatch can be explained as a too tight range in current checking)