## Slide 1: RICH WG
M.Lenti

## Slide 2: Outlook
Mirror Support Vidyo meeting on June 12, 20, 27 and on July 4 and 11
RICH WG meeting on august 27
Vessel status (see Ferdi’s presentation last Tuesday)
Mirror Support Status (V.Carassiti)
Mirror Support Prototypes (G.Anzivino)
PM installation (M.Lenti)
RICH TDAQ status (M.Piccini, reported in the TDAQ summary)

## Slide 3: THE MIRRORS– FRONT VIEW

## Slide 4: STABILIZING RIBBONS & MIRROR SUPPORTS

## Slide 5: THE HOLES ON THE SUPPORTING PANELS

## Slide 6: THE HOLES ON THE SUPPORTING PANELS - DETAIL
TENSIONING RIBBON
MIRROR SUPPORT (CONE)
TRANSMISSION SUPPORT
PLANE B

## Slide 7: THE TENSIONING RIBBONS

## Slide 8: THE HALF CENTRAL MIRROR
TWO DOWELS

## Slide 9: THE HALF CENTRAL MIRROR
MIRROR SUPPORT
TENSIONING RIBBON
(HORIZONTAL AXIS ROTATION)
SLIDING DOWEL SYSTEM
(VERTICAL AXIS ROTATION)

## Slide 10: THE SLIDING DOWEL SYSTEM - DETAIL
MIRROR SUPPORT
KNOB SUPPORT
SLIDING DOWEL
ACTUATING BAR
KNOB
FIXED DOWEL

## Slide 11: THE HALF MIRROR IN PLACE

## Slide 12: THE TOOLING ASSEMBLING THE MIRROR – FINAL UPGRADE

## Slide 13: Prototype 2.0 (1 mirror)

## Slide 14: Prototype 2.0: done
Stabilizer Ribbon added

## Slide 15: Prototype 3.0 (3 mirrors) in preparation in Perugia
FRAME
MIRROR
HONEYCOMB PLATE

## Slide 16: MIRRORS ASSEMBLY – PUT THE MIRROR IN PLACE -1 INSERTION SYSTEM – UPDATED DESIGN
THE INSERTION OF THE DOWEL INTO THE
MIRROR’S HOLE HAS TO BE DONE CAREFULLY
THE MIRROR CAN’T BE HELD BY HAND DURING
THE CONECCTION AND THE TENSIONING OF THE
RIBBONS
THE INSERTION SYSTEM DOES
HAVE 3 AXES MOTION
AFTER THE CONNECTION OF THE
RIBBONS THE LIFTING FRAME IS
DISMOUNTED AND THE INSERION
SYSTEM CAN MOVE TO THE NEXT
MIRROR

## Slide 17: Material procurement in Perugia
Honeycomb panel
  order placed beginning of August
  delivery expected mid september
Frame to host the panel
  same as the panel
Insertion tool
  in production, same delivery time
Order for aluminium for the whole production of cones and additional pieces for the mirror support
  a little bit delayed, but
  we have in the workshop the material necessary for the production of the pieces for the prototype
Giuseppina Anzivino

## Slide 18: Front view of RICH PM and electronics
HV
SIG
HV
SIG
16 X 32 CH
HV FILTER
HV
SIG
HV
SIG
PMT
PMT
SUPPORT
SUPPORT
5x TEL62

## Slide 19
I: 28 super-cells
7 up-boards
224 channels
II: 33 super-cells
8+1/4 up-boards
264 channels
III: 33 super-cells
8+1/4 down-boards
264 channels
1
0
7
2
6
5
4
80
10
9
13
8
12
11
17
21
18
19
16
20
15
14
24
23
22
25
26
27
44
45
43
32
46
47
48
49
50
51
40
41
42
38
39
37
36
34
35
31
33
28
29
30
52
53
54
55
56
57
58
59
60
3
79
78
77
76
75
74
73
72
71
70
69
68
67
66
64
65
63
82
62
61
81
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
IV: 28 super-cells
7 down-boards
224 channels
JURA side
16 FE up-boards
(32 ch each)
512 ch total
16 FE down-boards
(32 ch each)
512 ch total
I
I I
I I I
I V
Super-Cells Numbering
RACK
Numbering is chosen to optimize cable lenght and PM-Crate distance
Saleve side is equal (not specular) with rack on the right

## Slide 20: Supercell
L
R
PMs are grouped in Supercells of 8 PM each (to be used in multiplicity trigger)
Two HV channels (L and R) feed one Supercell

## Slide 21: PM Lodging disks
Each disk has 976 holes; there are two lodging disks
In each hole a thin o-ring 1 mm thick (13.5-17.5 mm Ø) is inserted in a gorge at the downstream end
It is the arrest of the PM (and protection against ambient light from the back)

## Slide 22: New sockets (test sample)
HV connector
Signal cable
without connector
New socket
Thick o-ring
(6 mm thick)
A thick o-ring is inserted upstream of each socket+PM to keep it in position, protect from
ambient light and provide a good thermal contact

## Slide 23: PM+socket insertion
Upstream view of the disk
Fixation bar inserted
A fixation bar in inserted every two rows of PMs
to keep them in position and facilitate the dissipation
of the residual heat produced by the sockets

## Slide 24: Work in clean room
Ready to install all the PM+sockets

## Slide 25: Conclusions
Approaching final design of the mirror support system
Intense prototyping ongoing on the mirror support: people training, details checking, etc
PM installation on the lodging disks started: first step of a full (laser) test of all the electronics chain before installation at CERN
Some delay in RICH vessel construction