## Slide 1: B-Field Mapping
Liverpool 28-08-2013

## Slide 2
1.5m
3.0m
Inside tube
Outside tube
Magnet Mapping Bench
Felix Bergsma, Francois Garnier + Piere-Ange Giudici,
Two measurement series (upstream/downstream side

## Slide 3: Mapping Bench
Installed and aligned on upstream side

## Slide 4
80
80
80
60 3D Hall probes (3 x 10 per plane)
800
295
Sensor Panel
2 sensor layers in Z

## Slide 5: Measurement Grid
Foresee: 100 measurement positions in z (every 8 cm => ΔZ=4cm)
No. of points 60x100x19 = 114’000
(Z position can be multiples of 4cm)

## Slide 6: Planning
The measurement starts on Sept. 9th and must be finished by Sept. 26th (before open-day WE)