## Slide 1
Francesca Bisello
Dosepix
Midterm Review Preparatory Meeting
ARDENT Project
June 13th, CERN

## Slide 2
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix
Training & Conferences
To do
About Me...
..where I come from
Where I am now…

## Slide 3
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
About Me..
..in between:
University of Padua: Bachelor Degree
Erasmus at Ludwig Maximilians Universität München
University of Bologna : Master Degree in Applied Physics
Master Thesis: „Characterization of a radiochromic film Gafchromic EBT2 in relation to a Ir-192 source“, Sant´Orsola-Malpighi hospital, Bologna
Hello everybody!
Outline
Dosepix - General
To do and what I have done

## Slide 4
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Overview
ARDENT ESR 10
Goal
Development of a medical Quality Assurance for different Xray modalities devices with Dosepix detector
Methods:
Chip evaluation at different radiation energy
Reconstruction and analysis of Radiation Spectra
Optimization of the device in different design
Hello everybody!
Outline
Dosepix - General
To do and what I have done

## Slide 5
Dosepix
Few words about Dosepix …
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - General
To do and what I have done

## Slide 6
Dosepix
Hybrid Silicon Pixel Detector
Dosepix – Hybrid Silicon Pixel Detector
Read out Electronics
Time-Over-Threshold
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - General
To do and what I have done

## Slide 7
Dosepix – Hybrid Silicon Pixel Detector
PARAMETER | SPECIFICATION
Pixel Pitch | 220 µm x 220 µm
No. of Rows | 16
No of Columns | 16
Sensitive Area | 3.52 mm x 3.52 mm
Sensor Thickness | 300 µm
Sensor Material | Silicon
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - General
To do and what I have done

## Slide 8
Dosepix
Hybrid Silicon Pixel Detector
Dosepix – Read-out Electronics
Read-out Electronics
Time-Over-Threshold
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - General
To do and what I have done

## Slide 9
Dosepix – Read-out Electronics
Three Operation Mode:
Integration-Mode:
Measure the sum of energies of incoming radiation
Counting-Mode:
Counts the number of events during the irradiation
Dosi-Mode:
Counts the number of photon in each Energy Bin
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - General
To do and what I have done

## Slide 10
Dosepix
Hybrid Silicon Pixel Detector
Read-out Electronics
Time-Over-Threshold
Dosepix – Time-Over-Threshold
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - General
To do and what I have done

## Slide 11
Dosepix – Calibration
Before the measurements:
Calibration Methods
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - Calibration
To do and what I have done

## Slide 12
Dosepix – Calibration
ThS-Equalization
Analogue Test Pulse
Energy Binning
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - Calibration
To do and what I have done

## Slide 13
Dosepix – Threshold Equalization
Different threshold pixelwise
Homogeneity of the detector
Detection of the
noise-level
Starting Point
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - Calibration
To do and what I have done

## Slide 14
Dosepix – Threshold Equalization
Different threshold pixelwise
Homogeneity of the detector
Detection of the
noise-level
Goal
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - Calibration
To do and what I have done

## Slide 15
Dosepix – Threshold Equalization
Different threshold pixelwise
Homogeneity of the detector
Detection of the
noise-level
Method
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - Calibration
To do and what I have done

## Slide 16
Dosepix – Analogue TestPulse Calibration
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 1 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 0 | 7 | 0 | 0 | 0 | 0 | 3
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110 | 0 | 5 | 0 | 0 | 0 | 0 | 3
4 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 133 | 0 | 18 | 0 | 0 | 0 | 0 | 3
21 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 249 | 0 | 32 | 0 | 0 | 0 | 0 | 11
46 | 6 | 0 | 0 | 1 | 0 | 0 | 0 | 72 | 0 | 91 | 0 | 0 | 2 | 0 | 10
179 | 25 | 0 | 3 | 9 | 2 | 2 | 0 | 255 | 0 | 55 | 0 | 1 | 25 | 3 | 6
201 | 26 | 0 | 5 | 10 | 0 | 6 | 0 | 199 | 0 | 3 | 0 | 4 | 17 | 10 | 4
36 | 26 | 0 | 7 | 9 | 4 | 5 | 0 | 211 | 0 | 114 | 0 | 0 | 20 | 6 | 17
97 | 83 | 0 | 14 | 52 | 15 | 31 | 0 | 45 | 7 | 205 | 0 | 7 | 109 | 75 | 30
130 | 223 | 0 | 166 | 44 | 171 | 150 | 1 | 28 | 22 | 23 | 0 | 62 | 243 | 249 | 131
85 | 217 | 0 | 179 | 55 | 176 | 147 | 1 | 235 | 37 | 68 | 0 | 73 | 217 | 114 | 45
110 | 88 | 0 | 121 | 17 | 96 | 162 | 238 | 64 | 119 | 36 | 0 | 190 | 212 | 191 | 6
92 | 46 | 0 | 234 | 248 | 26 | 72 | 115 | 230 | 138 | 253 | 0 | 216 | 76 | 78 | 178
175 | 173 | 0 | 139 | 250 | 157 | 114 | 128 | 32 | 171 | 187 | 0 | 2 | 128 | 41 | 87
147 | 54 | 0 | 54 | 65 | 53 | 49 | 228 | 216 | 80 | 143 | 0 | 195 | 58 | 65 | 126
196 | 188 | 0 | 235 | 223 | 243 | 230 | 18 | 101 | 2 | 253 | 0 | 155 | 144 | 222 | 94
3 | 33 | 0 | 81 | 66 | 80 | 69 | 10 | 114 | 39 | 79 | 0 | 250 | 252 | 75 | 35
228 | 46 | 0 | 116 | 107 | 165 | 147 | 217 | 199 | 122 | 135 | 0 | 106 | 140 | 34 | 129
89 | 189 | 0 | 135 | 99 | 183 | 165 | 174 | 141 | 155 | 132 | 0 | 91 | 119 | 83 | 118
126 | 103 | 0 | 50 | 11 | 232 | 89 | 199 | 109 | 62 | 181 | 0 | 150 | 155 | 117 | 156
63 | 150 | 0 | 146 | 28 | 55 | 152 | 33 | 114 | 111 | 199 | 0 | 46 | 194 | 3 | 14
87 | 214 | 0 | 28 | 191 | 81 | 254 | 146 | 117 | 198 | 95 | 0 | 128 | 114 | 224 | 146
4 | 28 | 0 | 199 | 93 | 250 | 169 | 50 | 0 | 40 | 1 | 0 | 4 | 29 | 68 | 99
2 | 96 | 0 | 104 | 149 | 208 | 82 | 185 | 1 | 77 | 3 | 0 | 232 | 71 | 110 | 19
0 | 11 | 0 | 80 | 20 | 80 | 74 | 5 | 0 | 52 | 0 | 0 | 115 | 15 | 20 | 143
0 | 3 | 0 | 25 | 9 | 30 | 17 | 116 | 0 | 147 | 0 | 0 | 64 | 0 | 10 | 150
0 | 1 | 0 | 29 | 11 | 41 | 28 | 99 | 0 | 115 | 0 | 0 | 26 | 1 | 6 | 119
0 | 0 | 0 | 5 | 0 | 17 | 10 | 120 | 0 | 114 | 0 | 0 | 23 | 0 | 1 | 93
0 | 0 | 0 | 1 | 0 | 0 | 1 | 197 | 0 | 28 | 0 | 0 | 5 | 0 | 0 | 251
0 | 0 | 0 | 0 | 0 | 1 | 0 | 127 | 0 | 3 | 0 | 0 | 1 | 0 | 0 | 176
0 | 0 | 0 | 4 | 0 | 7 | 1 | 22 | 0 | 23 | 0 | 0 | 3 | 0 | 0 | 5
0 | 0 | 0 | 0 | 0 | 1 | 0 | 248 | 0 | 6 | 0 | 0 | 2 | 0 | 0 | 19
0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 84
0 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77
0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46
0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16
0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55
0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46
0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24
0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 136 | 0 | 1 | 0 | 0 | 73 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 146 | 0 | 0 | 0 | 0 | 78 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 231 | 0 | 0 | 0 | 0 | 207 | 0 | 3 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 0 | 0 | 0 | 0 | 71 | 0 | 4 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 210 | 0 | 7 | 0 | 0 | 6 | 0 | 29 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 116 | 0 | 20 | 0 | 0 | 28 | 0 | 37 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 108 | 0 | 56 | 0 | 0 | 139 | 0 | 61 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 0 | 53 | 0 | 0 | 131 | 0 | 11 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 119 | 0 | 28 | 0 | 0 | 172 | 0 | 140 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 68 | 0 | 7 | 0 | 0 | 52 | 0 | 3 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 254 | 0 | 140 | 0 | 0 | 120 | 3 | 199 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 170 | 0 | 101 | 0 | 0 | 131 | 7 | 9 | 0
0 | 2 | 0 | 0 | 0 | 0 | 0 | 111 | 0 | 75 | 0 | 0 | 237 | 11 | 79 | 0
0 | 6 | 0 | 0 | 0 | 0 | 0 | 53 | 0 | 75 | 0 | 0 | 148 | 42 | 50 | 0
0 | 24 | 0 | 0 | 0 | 0 | 0 | 194 | 0 | 99 | 0 | 0 | 30 | 122 | 21 | 0
0 | 37 | 0 | 0 | 0 | 0 | 0 | 237 | 0 | 201 | 0 | 0 | 62 | 98 | 176 | 0
0 | 57 | 0 | 0 | 0 | 0 | 0 | 145 | 0 | 44 | 0 | 0 | 30 | 233 | 59 | 0
0 | 84 | 0 | 0 | 0 | 0 | 0 | 99 | 0 | 85 | 0 | 0 | 13 | 43 | 78 | 0
0 | 163 | 0 | 0 | 0 | 0 | 0 | 82 | 0 | 108 | 0 | 0 | 9 | 42 | 25 | 0
0 | 117 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 2 | 199 | 139 | 0
0 | 206 | 0 | 0 | 0 | 1 | 0 | 17 | 0 | 69 | 0 | 0 | 0 | 158 | 46 | 0
0 | 50 | 0 | 0 | 0 | 3 | 0 | 19 | 0 | 218 | 0 | 0 | 1 | 219 | 44 | 0
0 | 44 | 0 | 0 | 0 | 10 | 0 | 10 | 0 | 177 | 0 | 0 | 0 | 83 | 15 | 0
0 | 79 | 0 | 0 | 0 | 70 | 1 | 1 | 0 | 104 | 0 | 0 | 0 | 255 | 5 | 0
0 | 169 | 0 | 0 | 0 | 121 | 5 | 4 | 0 | 42 | 0 | 0 | 0 | 135 | 1 | 0
0 | 233 | 0 | 0 | 0 | 157 | 2 | 0 | 0 | 52 | 0 | 0 | 0 | 154 | 1 | 0
0 | 12 | 0 | 0 | 0 | 208 | 2 | 0 | 0 | 7 | 0 | 0 | 0 | 176 | 0 | 0
0 | 126 | 0 | 0 | 0 | 210 | 8 | 0 | 0 | 5 | 0 | 0 | 0 | 167 | 0 | 0
0 | 9 | 0 | 0 | 0 | 47 | 41 | 0 | 0 | 6 | 0 | 0 | 0 | 112 | 0 | 0
0 | 146 | 0 | 0 | 2 | 212 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 104 | 0 | 0
0 | 90 | 0 | 0 | 8 | 247 | 164 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0
0 | 60 | 0 | 0 | 11 | 236 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0
0 | 16 | 0 | 0 | 38 | 87 | 174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 10 | 0 | 0 | 93 | 10 | 159 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
0 | 13 | 0 | 0 | 72 | 144 | 85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
0 | 4 | 0 | 0 | 68 | 67 | 195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 3 | 0 | 0 | 164 | 225 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
0 | 0 | 0 | 0 | 195 | 166 | 220 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14
0 | 0 | 0 | 7 | 146 | 53 | 77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22
0 | 0 | 0 | 5 | 7 | 194 | 197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11
0 | 0 | 0 | 15 | 46 | 55 | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36
0 | 0 | 0 | 13 | 85 | 201 | 184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40
0 | 0 | 0 | 43 | 79 | 11 | 215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54
0 | 0 | 0 | 101 | 106 | 8 | 83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81
0 | 0 | 0 | 201 | 38 | 0 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77
0 | 0 | 0 | 248 | 192 | 0 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 244
0 | 0 | 0 | 173 | 141 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 203
0 | 0 | 0 | 236 | 74 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 207
3 | 0 | 0 | 142 | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81
0 | 0 | 0 | 27 | 143 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109
21 | 0 | 0 | 31 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 129
41 | 0 | 0 | 239 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 249
140 | 0 | 0 | 171 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 223
250 | 0 | 0 | 195 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21
255 | 0 | 0 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25
185 | 0 | 0 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26
171 | 0 | 0 | 132 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 208
35 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 149
20 | 0 | 0 | 57 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 31
62 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 85
177 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 41
220 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 178
114 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 79 | 0 | 0 | 0 | 0 | 85
72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190 | 0 | 0 | 0 | 0 | 21
232 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 182 | 0 | 0 | 0 | 0 | 141
145 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57 | 0 | 0 | 0 | 0 | 99
69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 53 | 0 | 0 | 0 | 0 | 68
The pixels are „equalized“:
they detect the noise at the same level of threshold
Pixels
Level of the
Analogue Threshold
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - Calibration
To do and what I have done

## Slide 17
Dosepix – Analogue TestPulse Calibration
Analogue Test Pulse
Calibration Curve:
Analogue Test Pulse - ToT
Chart: Analogue Test Pulse
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - Calibration
To do and what I have done

## Slide 18
Dosepix – Energy Binning
Energy Binning
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Chart: Analogue Test Pulse
Hello everybody!
Outline
Dosepix - Calibration
To do and what I have done

## Slide 19
Dosepix – Energy Calibration
Energy Calibration
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Chart: Tin Flourescence Line
Energy Calibration:
Flouresce line of different material
Different for each pixel
Hello everybody!
Outline
Dosepix - Calibration
To do and what I have done

## Slide 20
Dosepix - Measurements
and then…measurements
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - Measurements
To do and what I have done

## Slide 21
Dosepix – Measurements
I – Mammo Device
IBA Dosimetry, Schwarzenbruck
Energy | 22-35 KeV
Anode | Mo
Filters | Mo Rh
Dosepix | Different experimental Setup
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - Measurements
To do and what I have done

## Slide 22
Dosepix – Measurements
Energy Current | 40-120 KeV 1-40 mA
Anode | W
Filters | 3,8 mm Al
Dosepix | Slot 1: 15mm PMMA Slot 2 : Free Slot 3: 200µm Sn
II – Xray Tube ECAP
Erlangen University
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - Measurements
To do and what I have done

## Slide 23
Informations about Tube Energy
Chart: Small Pixels Air
Dosepix – Measurements
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - Measurements
To do and what I have done

## Slide 24
Define the region of use of the device : Pileup Problem
Current
Chart: 70 KV PMMA Big Pixels
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - Measurements
To do and what I have done
Dosepix – Measurements

## Slide 25
Informations about Pile-up
Current
Chart: 70 KV PMMA Big Pixels
Chart: PMMA 70 KV Big Pixels
| 1 | 2 | 3 | 10 | 20 | 30 | 35 | 25 | 15 | 22 | 17 | 12 | 40
 | 1612499 | 3256847 | 4927422 | 16141003 | 31520187 | 45087478 | 51844490 | 38106406 | 23859851 | 33834611 | 26918123 | 19301502 | 52715087
Dosepix – Measurements
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
Hello everybody!
Outline
Dosepix - Measurements
To do and what I have done

## Slide 26
Hello everybody!
Outline
Dosepix
To do and what I have done
To do and what I have done:
I – Fluorescence Calibration
II – Pileup Understanding : Analysis of spectra with different filters
MonteCarlo Simulation Monte-Carlo with
EGSnrc (M.Birkner) 13 May 2013
III – Radiation Hardness Test V National School INFN Padova,
15-19 April 2013
IV – Firmware Improvement : Modify the speed of read-out
New Setup
V – Participation to 2013 IEEE Nuclear Science Symposium and Medical Imaging Conference, Seoul October 27- November 2
@ IBA Dosimetry: Training on Absolute and Relative Dosimetry (A. Giuliacci)
End…
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN

## Slide 27
Francesca Bisello, ESR 10 Midterm ARDENT Meeting, June 13th 2013, CERN
…Thanks!