## Slide 1: Outline of the beam test in 2012
Kanagawa Univ., Waseda Univ.A，Yokohama National Unvi.B，Tokyo Univ. ICRRC，JAXA/SEUCD，Siena Univ/INFNE，Florence Univ./INFNF，Rome Univ. Tor Vegata/INFNG，
Pisa Univ.H，NASA/GSFCI，Washington Univ.-St.LouisJ
T.Tamura，S.ToriiA，K.KasaharaA，S.OzawaA，T.KotaniA，Y.NakagawaA，Y.UeyamaA，
T.NiitaA，M.NakamuraA，R.KatahiraA，S.KanekoA，Y.KatayoseB，Y.AkaikeC，清水雄輝D，P.S.MarrocchesiE，P.MaestroE，G.BigongiariE，S.BonechiE，P.BrogiE，O. AdrianiF，N. MoriF，S.OleksandrF，R.SarvoliG，L.MarcelliG，V.Di FeliceG，F.PalmaG，A.BastiH，S.TolainiH，A.OrsiniH，J.W.MitchellI，B.RauchJ
Kanagawa Univ., Waseda Univ.A，Yokohama National Unvi.B，Tokyo Univ. ICRRC，JAXA/SEUCD，Siena Univ/INFNE，Florence Univ./INFNF，Rome Univ. Tor Vegata/INFNG，
Pisa Univ.H，NASA/GSFCI，Washington Univ.-St.LouisJ
T.Tamura，S.ToriiA，K.KasaharaA，S.OzawaA，T.KotaniA，Y.NakagawaA，Y.UeyamaA，
T.NiitaA，M.NakamuraA，R.KatahiraA，S.KanekoA，Y.KatayoseB，Y.AkaikeC，清水雄輝D，P.S.MarrocchesiE，P.MaestroE，G.BigongiariE，S.BonechiE，P.BrogiE，O. AdrianiF，N. MoriF，S.OleksandrF，R.SarvoliG，L.MarcelliG，V.Di FeliceG，F.PalmaG，A.BastiH，S.TolainiH，A.OrsiniH，J.W.MitchellI，B.RauchJ
Outline of the beam test in 2012

## Slide 2: Development of CALET
STM
(Structure Thermal Model)
BBM
(Bread Board Model)
（EM）
(Engineering Model)
FM
(Flight Model)
PFM
(Proto-Flight Model)
BBM：Bread Board Model
to verify a structure or electronics tentatively
STM：Structure Thermal Model
to verify a design of structure and temperature
(structure, material, device arrangement, mass, heat)
PFM：Proto-Flight Model
Equivalent to flight model
The CALET PFM become FM After AT
EM：Engineering Model
to verify mechanical and electrical function and
characteristics on mass, size, power etc.

## Slide 3: BBM／STM
BBM
  Structure
    IMC（1/4： X 2 layers, Y 2 layers）
    TASC（1/4： X 2 layers, Y 2 layers）
  Electronics
    VA chip readout（～10/112）
    IMC-FEC（1/8： X 2 layers）
    TASC-PMT-FEC（1/1: X 1st layer）
    TASC-APD/PD-FEC（1/11： Y 1st layer）
STM
  Structure
    CHD（all layers：X 1 layer, Y 1 layer）
      SciBar X 3 bars, Y 3 bars, Plastic（mass dummy）
    IMC（all layers：X 8 layers、Y 8 layers）
      All SciFi + support structure (sub-slate)
    TASC（all layers：X 6 layers, Y 6 layers）
      CFRP support structure, several PWOs, brass（mass dummy）
⇒ EM Assembled with BBM（electronics） and STM（structure）

## Slide 4: Engineering Model
 |  | PFM/FM | EM
CHD | SciBar | X:14x1 + Y:14x1 (28) | X:3x1 + Y:3x1 (6)
 | PMT | X:14x1 + Y:14x1 (28) | X:3x1 + Y:3x1 (6)
IMC | SciFi | X:448x8 + Y:448x8 (7168) | X:448x8 + Y:448x8 (7168) X:256x8 + Y:256x8 (4096)
 | MaPMT | X:14x4 + Y:14x4 (112) | X:8x4 + Y:8x4 (64)
TASC | PWO | X:16x6 + Y:16x6 (192) | X:3x6 + Y:3x6 (36)
 | Brass | － | X:13x6 + Y13x6 (156)
 | PMT | X:16x1 (16) | X:3x1 (3)
 | APD/PD | X:16x5 + Y:16x6 (176) | X:3x5 + Y:3x6 (33)
Detector Configuration
EM built up with BBM and STM

## Slide 5: Engineering Model
Electronics
BBM
  VA-readout
  IMC-FEC
  TASC-PMT-FEC
  TASC-APD/PD-FEC
Other electronics
  VME computer for DAQ system
  VME modules （Scaler, I/O register, Charge ADC）
  NIM modules for the trigger logic
  CAMAC modules （Peak hold ADC）
  FEC for bCALET（IMC, TASC）
  Test circuit （CHD）
FEC’s were read out by a VME LVDS I/F

## Slide 6: Assembling
IMC (STM)
CHD (STM)
TASC (STM)
CHD/IMC（STM)

## Slide 7: Detector Test
@Waseda
@CERN-SPS

## Slide 8: Objectives of Beam Test
  to verify the function of BBM-FEC
    Detection of 1 MIP
    Generation of trigger
    DAQ from IMC and TASC
  to verify the performance of CALET
  （comparison with MC simulation）
    Trigger efficiency
    Angular resolution
    Energy resolution
    Electron/Proton separation
    Charge resolution of CHD

## Slide 9: Beam Schedule 2012
Machine time
  2 weeks (Sep.24-Oct.8) @ H8
  1 week (Oct.8-Oct.15) @ H4
Data
AMS/Pamela/Auger/Explorer/Antares/Fermi/
LISA/Nestor/IceCube/Mice/Meg/T2K/Katrin/
WArP/HESS/Magic/ArDM/CREAM/Belle II/CBM/
Panda/CTA-PP/Planck/CALET/Borexino
⇒ Machine time available more than one week
（Feb. 2012）
H8
  muon: (898k) 180 GeV/c
  electron: (1,318k) 10, 20, 30, 50, 80, 100, 150, 200 GeV/c
  proton: (2,156k) 400 GeV/c
H4
  muon: (575k) 150 GeV/c
  electron: (547k) 10, 150, 200, 250, 290 GeV/c
  proton: (1,297k) 30, 100 GeV/c

## Slide 10: Installation at H8
Moving Table
TASC
Si detector
(Trk.+SIA)
Trigger Scinti.
Beam
■PWO
■Brass
CHD + IMC
Support Structure
beam pipe
moving table
CALET-EM
Si detector
(Trk.+SIA)
CHD
+IMC
TASC
Trig.
Scin.
beam
pipe
moving
table
CALET
EM
Si detector
(Trk.+SIA)

## Slide 11: Test Conditions
Detectors Configuration
  Beam angle
    0 deg. / 20.7 deg. @H8
    0 deg. @H4
  with / without SIA @H4
    to study unknown mass
    in the upstream of beam line
20.7 deg
CAL

## Slide 12: Test Conditions
Beam position (setting with moving table)
  Muon: whole IMC (position: A～I)
  Electron, Proton: center of TASC (position: J)

## Slide 13: Electron 290GeV Pos.J run833
Detector
X
Y
Y
Y
Y
Y
X
X
X
X
CHD
IMC
TASC
CHD
IMC
TASC(APD High)
TASC(APD Low)

## Slide 14: Summary
The CALET EM was assembled with the STM and BBM.
Beam tests with the CALET EM were done at CERN-SPS in Sep.-Oct. 2012.
Total collected data: muons 1.47M, electrons 1.86M , protons 3.45M.
Analyses => Akaike/Niita
Ion beam run carried in Jan.-Feb. 2013

## Slide 15: Backup charts

## Slide 16: Beam Tests for CALET at CERN-SPS
2009 Readout of BGO, PWO
  （IMC+）TASC Lead（18 r.l.）＋BGO, PWO (one crystal each)
2010 CALET prototypeⅠ
  IMC 32 SciFis×8 layers （X-direction）
  TASC 2 PWOs×8 layers （X-direction）
2011 CALET prototypeⅡ
  CHD 4 SciBars （X-direction）
  IMC 32 SciFis ×8 layers （X-direction）
  TASC 3 PWOs ×12 layers （X-direction）
2012 CALET STM/BBM Model

## Slide 17
Machine time:
  2 weeks (Sep.24-Oct.8) @ H8
  1 week (Oct.8-Oct.15) @ H4
Beam
  H8 (refer to Appendix A for more detail)
    muon: 180 GeV/c (897.5 k)
    e: 10, 20, 30, 50, 80, 100, 150, 200 GeV/c (1,317.8 k)
    p: 400 GeV (2,156 k)
  H4 (refer to Appendix B for more detail)
    muon: 150 GeV/c (575 k)
    e: 10, 150, 200, 250, 290 GeV/c (546.8 k)
    p: 30, 100 GeV/c (1,297.1 k)
Conditions
  beam position (refer to Appendix C)
    muon: whole (position: A～I)
    e, p: center of TASC (position: J)
  beam angle (p.4)
    0 deg. / 20.8 deg. @H8
    0 deg. @H4
  with / without SIA @H4 (p.5)
    to study unknown mass in the upstream of beam line

## Slide 18: CAL Trigger
CHD
  X-dir: Sum of 14 PMT×1: S/H
  Y-dir: Sum of 14 PMT×1: S/H
IMC
  X-dir: Sum of 14 Last Dynodes of MaPMT （SciFi 2 layers）×4: S/L/H
  Y-dir: Sum of 14 Last Dynodes of MaPMT （SciFi 2 layers）×4: S/L/H
TASC
  Top （X-dir） Sum of 16 PMT×1: S/L/H
Single (Track)
Electron/Gamma-ray Shower
  Low Energy
  High Energy
Heavy Nuclei
  Low Energy
  High Energy
Discri. Signals for Trigger
Triggers

## Slide 19
Single Trigger
1 MIP
CHD
IMC
TASC
Low Energy Trigger > 1 GeV
1 MIP
High Energy Trigger > 10 GeV
―
CAL Trigger
Heavy
Single
Trigger
Heavy
CHD
IMC
TASC
Heavy Low Trigger
Heavy (P.00)
Z≧10 (P.01)
Heavy High Trigger
CHD Single LD .
1 MIP
1 MIP
Low
CHD Single LD
CHD Single LD
Low
High
High
1 MIP
1 MIP
Low
Low
High
High
Single LD .
Heavy Nuclei
“Single Track”
Ultra
Heavy
Trigger
Z≧10
＞He
＞He (TBD)
（Page01）
―
Single LD .
Low LD
High LD
CHD Heavy LD
CHD Heavy LD
Low LD
High LD
CHD Heavy LD .
（Page00）
＞He
＞He (TBD)
―
（Page01）
（Page00）
Heavy (P.00)
Z≧10 (P.01)
1 MIP
Electron/Gamma-ray

## Slide 20: Beam Schedule 2012

## Slide 21
CALET prototype (2011)
・トリガーシンチレータ
・シリコンストリップ検出器 （0.7 μm間隔）
XY 90 mm幅 ×4層
・CHD
X 4本（32㎜幅）
・IMC
X 32㎜幅ベルト8層
・TASC
X 3本×12層
・可動テーブル
（コントロール室で操作）

## Slide 22: Data statistics taken at H8
Position | Total #
A | 21,000
B | 90,700
C | 0
D | 10,000
E (Center) | 575,800
F | 100,000
G | 0
H | 100,000
I | 0
muon (180 GeV/c)
electron
(Position J)
Energy (GeV/c) | Total Event Num. | Purity (%)
10 | 95,000 | 63
20 | 109,500 | 60
30 | 60,000 | 94
50 | 65,000 | 88
50 (low rate) | 67,000 | 79
100 | 122,000 | 80
150 | 250,000 | 20
200 | 400,000 | 12
200 (low rate) | 149,300 | 12
Beam file | Total #
H8A.799 | 1,845,400
H8A.950 | 310,600
protron (400 GeV/c)
(Position J)

## Slide 23: Data statistics taken at H4
Position | Total #
A | 57,500
B | 50,000
C | 50,000
D | 50,000
E (Cent.) | 105,000
F | 50,800
G | 61,700
H | 50,000
I | 100,000
muon (150 GeV/c)
electron
(Position J)
protron
(Position J)
Energy (GeV/c) | Total Event Num. | Purity (%)
10 | 50,000 *1 | 
150 | 112,600 | 91
200 | 190,900 *2 | 90
250 | 93,900 | 93
290 | 100,000 | 93
*1 including 50k events w/o SIA
*2 including 57k events w/o SIA
Energy | Total #
30 | 675,300 *3
100 | 621,800
*3 including 124k events w/o SIA

## Slide 24: Beam cycles

## Slide 25: Muon 150GeV Pos.E run134
CHD
IMC
TASC(APD High)
TASC(APD Low)
Detector
X
Y
Y
Y
Y
Y
X
X
X
X
CHD
IMC
TASC

## Slide 26: Proton 400GeV Pos.J run437
Detector
X
Y
Y
Y
Y
Y
X
X
X
X
⇒ 29aBF6 金子 「高エネルギートリガーシステム」
⇒ 29aBF7 村田 「粒子識別性能実証」
⇒ 29aBF8 片平 「エネルギー測定性能」
⇒ 29aBF9 小澤 「重粒子検出性能」
CHD
IMC
TASC(APD High)
TASC(APD Low)
CHD
IMC
TASC