## Slide 1: Outline of the ion test in 2013
Tadahisa TAMURA for Beam Testing Team
2013.5.28

## Slide 2: Ion beam test at H8
Control rooms for the H8 beam line
JC-detector
moving table
IC-CHD
Si Tracker
beam pipe
BBM3
H8 beam area

## Slide 3: Schematic drawing of Detectors and DAQ System
CHD SciBar
(2 bars)
IMC SciFi
(1 belt)
TASC PWO
(2 crystals)
MaPMT
PMT
PMT
FEC
BBM3
(TASC-X1)
bCALET
FEC
HV (bCALET)
LVDS I/F
VME
PC
control room (barrack)
Ext. Trigger
Scintillators + PMT’s
ion beam at H8
NIM
Discri./Coinc.
/Gate Gen.
/Level Adapt. etc.
Trigger
Visual
Scaler
Oscilloscope
DC
Power
CPU, Lupo, I/O-Reg.,
Scaler, PH-ADC,
Charge-ADC
HV
PMT
APD/PD
FEC
Test circuit
IT CHD
(3+3)
Si Trk
DAQ
Si Trk
HV (CP)
JC
IC
JC-detector

## Slide 4: Ion Beam Test at H8
Fragments (A/Z~2) from Pb (82,208) of 30 GeV/u
Schedule
  Jan.24-27
    Si Tracker + IC-CHD
    JC apparatuses were delayed one day to arrive at CERN.
    Trouble shooting of JC-DAQ
      BBM3 had been modified after October.
      VME Modules were unstable (due to the VME crate ?).
  Jan.27-Feb.4
    JC-CHD+SciFi+PWO + IC-CHD
    Si Tracker + JC-CHD+SciFi+PWO + IC-CHD
  Feb.4-6
    Oscar’s run

## Slide 5: Data Statistics
CHD ID | BBM3 input ch | HV [V] | Event number | 
 |  |  | w/o Si Tracker | with Si Tracker
0 | 5 (1) | 450(2) | 2.5 M | 1 M
1 | 12(3)(5) | 410(2) | 0.7 M | 
 |  | 360(4) | 28 k | 
 | 3(3) | 360(4) | 1.7 M | 1 M
Gain of amplifiers of ch5 was the same as flight model.
PMT output current was 480 fC for 1 MIP (nominal value of flight model).
Gains of amplifiers of the other channels were 4.4 times higher than flight model.
PMT output current was reduced by about 1/3.
Lower 4 (or more) bits of ADC were invalid.

## Slide 7: Data Acquisition diagram
BBM
TASC-X1
IMC-FEC
PreAMP
(HIC test)
Tracker
CHD-IT
S1
S2
Disc.
Disc.
Coin.
G.G.
G.G.
Adaptor
BOX
BBM-I/F
V-LUPO
QDC
V965A
VME-CPU
Delay
~150ns
Input Reg.
Output Reg.
HV (2ch x2, 1ch x1)
Div
Div
G.G.
/3
/8
/8
/8
/6
Scaler
Latch
USB
Coin.
Clock
Ped Run mode
Trigger
PH-ADC
DP
/2
Slow
Shaper
/4
CHD-PMT
PWO-PMT
MaPMT
APD/PD
HV
VME bus

## Slide 8: PMT gain calibration with proton
CHD#0 BBM ch5 HV-450V (High gain)
CHD#0 BBM ch5 HV-450V (Low gain)
CHD#1 BBM ch12 HV-410V (High gain)
CHD#1 BBM ch12 HV-410V (Low gain)
1MIP=562ch
1MIP=2570ch
1MIP=16.8ch
(480 fC/MIP)
1MIP=78ch
(480 fC/MIP)
Maximum range of low gain is 810pC (=1687 MIPs).
(Maximum range of high gain is 27pC (=56 MIPs).)
Energy deposit of Fe (Z=26) is equivalent to 480MIPs.
Energy deposit of Zr (Z=40) is equivalent to 1033MIPs.

## Slide 9: Fragments (A/Z=2, 30GeV/u)
CHD#0 BBM ch5 HV-450V (Low gain)
C
O
Si
He

## Slide 10: Fragments (A/Z=2, 30GeV/u)
CHD#1 BBM ch12 HV-410V (Low gain)
CHD#1 BBM ch3 HV-360V (Low gain)
C
O
Si
C
O
Si
He
He
x 1/2.5

## Slide 11: Correlation between two CHDs
D(p)
He
C

## Slide 12: Charge resolution around Z~6
CHD#0 BBM ch5 HV-450V (Low gain)
B
C
N
O
 | Mean μ [ADC] | St.Dev. σ [ADC] | Charge Res. R [e]
Be | 291.8 | 58.6 | -
B | 467.9 | 49.8 | 0.28
C | 650.7 | 46.2 | 0.25
N | 845.6 | 63.1 | 0.32
O | 1066.7 | 56.4 | 0.26
Be
Preliminary

## Slide 13: Charge resolution around z~26
CHD#0 BBM ch5 HV-450V (Low gain)
Fe
Particle selection with Si detector
(enlarged)
Mn
Fe
Co
 | Mean μ [ADC] | St.Dev. σ [ADC] | Charge Res. R [e]
Mn | 6658.5 | 175.9 | -
Fe | 7113.0 | 171.6 | 0.38
Co | 7563.8 | 158.0 | 0.35
Selected by Si detector
（Mn, Fe, Co）
Preliminary