## Slide 1
ECFA Preparatory Group "Shutdown constraints and radiation and activation effects”. O. Beltramello, G. Corti, B. Di Girolamo, R. Lindner, W. Riegler, C. Schaeffer, W. Zeuner
Disclaimer
Due to unsolvable scheduling conflicts and unavailability of key members
no preparatory group meeting took place after May 22
This will be made up leeway as soon as possible
We will keep the steering committee informed

## Slide 2
Three areas of work for the preparatory group
Radiation Protection
Upgrades of infrastructure and safety systems
Optimized planning for experiments and machine

## Slide 3
Radiation Protection
With LS3 CERN will enter be a new domain concerning radiation hazards
High activation levels in forward region and close to bp
Risk of contamination by activated fluids and dust
All experiments have to be prepared to be operated and maintained
under extreme radiation conditions for many years
For a safe execution of LS3 detailed calculations for all experiments are needed
A general picture exists that needs to be detailed in due time.
Procedures have to be adapted, some new equipment will be needed.

## Slide 4
Operation after LS3 will be a completely different story
To understand the scale of the problem calculations are needed NOW.
They are needed to asses:
Access conditions
Required cooling times
Possible air activation
Radiation zoning
Expected contamination risk,
Possible working times
Personal protection
Necessary level of dosimetry
Necessary changes on the infrastructure: HVAC, cooling, systems, gas systems
Adaption of procedure – ALARA level II & III
In our workshop session we should try to discuss (first and prelim.) ideas how working under these conditions could look like
Radiation Protection

## Slide 5
Upgrades of Infrastructure and Safety Systems
Around LS3 many of the infrastructure at the experimental sites will reach
their end of lifetime or have to be adapted to the changing operation conditions
The new operation conditions at HL-LHC might require new infrastructure
HVAC incl. air filtering
Cooling
Gas systems
Relocation of radiation sensitive equipment
Additional shielding of particular areas e.g. shafts, elevators, service rooms…
Addition/replacement of safety systems – e.g. sniffers, smoke detectors,
automatic fire extinguishers….
Access system upgrades with included dosimeter reading
Radioactive storage and waste zones
Workshops for activated material
….
In our session of the workshop we should discuss identified changes and how
they will impact LS3 and later operation

## Slide 6
Optimized Planning for the Experiments and LHC
From preliminary information available it appears clear that LS3 will by orders
of magnitude more complex than any previous shutdown.
For an optimized and coherent scheduling of LS3 activities long shutdowns
beyond LS3 should be started included into the long term planning
Typically the experiments plan their activities according to physics needs
longevity of components, ALARA considerations and funding availability
To understand the different needs the main drivers of LS3 from the different
experiments should be discussed.
Together with the information from planned infrastructure changes and the
upgrade of the accelerator one
might be able to asses preliminarily the amount of time and technical resources needed for LS3.