## Slide 1: Data Acquisition, Trigger and Control

## Slide 2: Definitions
Trigger System
  Selects in Real Time “interesting” events from the bulk of collisions. - Decides if YES or NO the event should be read out of the detector and stored
Data Acquisition System
  Gathers the data produced by the detector and stores it (for positive trigger decisions)
Control System
  Performs the overall Configuration, Control and Monitoring

## Slide 3: Trigger, DAQ & Control
Detector Channels
Front End Electronics
Event Building
High Level Trigger
Storage
HwTrigger
Monitoring & Control
DAQ

## Slide 4: LEP & LHC in Numbers

## Slide 5: Basic Concepts

## Slide 6: Trivial DAQ
External View
sensor
ADC Card
sensor
CPU
disk
Physical View
ADC
storage
Trigger (periodic)
Logical View
Proces-
sing

## Slide 7: Trivial DAQ with a real trigger
ADC
Sensor
Delay
Proces-
sing
Interrupt
Discriminator
Trigger
Start
storage
What if a trigger is produced when the ADC or Processing is busy ?

## Slide 8: Trivial DAQ with a real trigger (2)
ADC
Sensor
Delay
Proces-
sing
Interrupt
Discriminator
Trigger
Start
Set
Q
Clear
and
not
Busy Logic
Ready
storage
Deadtime (%) - the ratio between the time the DAQ is busy and the total time

## Slide 9: Trivial DAQ with a real trigger (3)
ADC
Sensor
Delay
Proces-
sing
Discriminator
Trigger
Start
Busy Logic
FIFO
Full
DataReady
and
storage
Buffers: De-randomize data -> decouple data production from data consumption -> Better performance

## Slide 10: Trivial DAQ in collider mode
ADC
Sensor
Proces-
sing
Discriminator
Trigger
Start
storage
Busy Logic
FIFO
DataReady
Timing
BX
Abort
Beam crossing
Full
We know when a collision happens the TRIGGER is used to “reject” the data

## Slide 11: LHC timing
» ms
p p crossing rate 40 MHz (L=1033- 4×1034cm-2 s-1)
25 ns
Level 1
40 MHz
» ms
Level 2
100 kHz
Level n
1 kHz
Level 1 trigger time exceeds bunch interval
Event overlap & signal pileup (multiple crossings since the detector cell memory greater than 25 ns)
Very high number of channels

## Slide 12: Trivial DAQ in LHC
ADC
Sensor
Proces-
sing
Pipelined
Trigger
Clock
storage
Busy Logic
FIFO
DataReady
Timing
BX
Accept/Reject
Beam crossing
Full
Analog
Pipeline
Front-end Pipelines: To wait for the trigger decision + transmission delays are longer than beam crossing period

## Slide 13: Less trivial DAQ
ADC
N channels
Proces-
sing
storage
ADC
Proces-
sing
N channels
ADC
Proces-
sing
N channels
Trigger
Some processing
can proceed in parallel
Proces-
sing
Event
Building

## Slide 14: The Real Thing
?
15 million detector channels
@ 40 MHz
= ~15 * 1,000,000 * 40 * 1,000,000 bytes
= ~ 600 TB/sec

## Slide 15: Trigger

## Slide 16: Trigger System
Typical ATLAS and CMS* event
20 collisions may overlap
This repeats every 25 ns
A Higgs event
The Trigger system detects whether an event is interesting or not
*)LHCb isn’t much nicer and in Alice (PbPb) it can be even worse

## Slide 17: Trigger Levels
Since the detector data is not promptly available and the trigger function is highly complex, it is evaluated by successive approximations:
  Hardware trigger(s):
    Fast trigger, uses data only from few detectors
    has a limited time budget
    Level 1, Sometimes Level 2
  Software trigger(s):
    Refines the decisions of the hardware trigger by using more detailed data and more complex algorithms.
    It is usually implemented using processors running a program.
    High Level Triggers (HLT)

## Slide 18
Luckily pp collisions produce mainly particles with transverse momentum “pt ” ~1 GeV
Interesting physics (old and new) has particles with large pt
pt
p
Hardware Trigger
Conclusion: in the first trigger level we need to detect high transverse momentum particles
Notes: 18

## Slide 19: Example: LHCb Calorimeter Trigger
Detect a high energy in a small surface
Don’t forget the neighbors
Compare with threshold

## Slide 20: LHC: Trigger communication loop
Trigger
Primitive
Generator
Font-End
Local level-1
Global Trigger
accept/reject
pipeline delay
 3ms
 3 s
latency
loop
Timing and trigger has to be distributed to ALL front-ends
40 MHz synchronous digital system
Synchronization at the exit of the pipeline non trivial.  Timing calibration

## Slide 21: Trigger Levels in LHCb
Trigger
level 0
Event
building
High level
Trigger
Processor
Farms
Storage
Detectors
Readout
buffers
40 MHz
1 MHz
Level-0 (4 ms) (custom processors)
  High pT for electrons, muons, hadrons
  Pile-up veto.
HLT (»ms) (commercial processors)
  Refinement of the Level-1. Background rejection.
  Event reconstruction. Select physics channels.
  Needs the full event
2 KHz

## Slide 22: Trigger Levels in ATLAS
Trigger
level 1
Trigger
level 2
Front-end
Pipelines
Event
building
Trigger
level 3
Processor
Farms
Storage
Detectors
RoI
Readout
buffers
Region of
interest
Level-1 (3.5 ms) (custom processors)
  Energy clusters in calorimeters
  Muon trigger: tracking coincidence matrix.
Level-2 (100 ms) (specialized processors)
  Few Regions Of Interest relevant to trigger decisions
  Selected information (ROI) by routers and switches
  Feature extractors (DSP or specialized)
  Staged local and global processors
Level-3 (»ms) (commercial processors)
  Reconstructs the event using all data
  Selection of interesting physics channels

## Slide 23: Data Acquisition

## Slide 24: Data Acquisition System
Gathers the data produced by the detector and stores it (for positive trigger decisions)
  Front End Electronics:
    Receive detector, trigger and timing signals and produce digitized information
  Readout Network
    Reads front end data and forms complete events - Event building
  Processing & Storage
    Data processing or filtering
    Stores event data

## Slide 25: Front-Ends
Detector dependent (Home made)
  On Detector
    Pre-amplification, Discrimination, Shaping amplification and Multiplexing of a few channels
    Problems: Radiation levels, power consumption
  Transmission
    Long Cables (50-100 m), electrical or fiber-optics
  In Counting Rooms
    Hundreds of FE crates : Reception, A/D conversion and Buffering

## Slide 26: Front-end structure
Amplifier
Filter
Shaper
Range compression
clock
Sampling
Digital filter
Zero suppression
Pipeline
Format & Readout
Buffer
Feature extraction
Detector

## Slide 27: DAQ Readout
Event-data are now digitized, pre-processed and tagged with a unique, monotonically increasing number
But distributed over many read-out boards (“sources”)
For the next stage of selection, or even simply to write it to tape we have to get the pieces together: Event Building

## Slide 28: Event Building
Data sources
Event Fragments
Event Building
Data storage
Full Events

## Slide 29: Event Filters
Event
building
Trigger
level 3,4
Event filter
Storage
LHC experiments can not afford to write all acquired data into mass-storage. -> Only useful events should be written to the storage
The event filter function selects events that will be used in the data analysis. Selected physics channels.
Uses commercially available processors (common PCs) But needs thousands of them running in parallel.
Higher level triggers (3, 4, …)

## Slide 30: Event Building to a CPU farm
Data sources
Event Fragments
Event Building
Data storage
Full Events
Event filter CPUs

## Slide 31: Readout Networks
data
sources
data
processors
We can build networks using buses or switches.
Switches vs. Buses
  Total bandwidth of a Bus is shared among all the processors. Adding more processors degrades the performance of the others. In general, Buses do not scale very well.
  With switches, N simultaneous transfers can co-exists. Adding more processors does not degrade performance (bigger switch). Switches are scaleable.

## Slide 32: LHC Readout Architecture
Detector Front Ends
Event Builder (Network)
Storage
Readout Units
Event Filter Units
Event Manager
Trigger Level 1/2
...
...

## Slide 33: LHC Experiments DAQ
Level-1
Event
Storage
kHz
MByte
MByte/s
ATLAS
100
1
200
CMS
100
1
200
LHCb
1000
0.05
150
ALICE
1
25
1250
Notes: 33
33

## Slide 34
40 GB/s
80 MB/s
Average event size 50 kB
Average rate into farm 1 MHz
Average rate to tape 3 kHz
LHCb DAQ

## Slide 35: Configuration, Control and Monitoring

## Slide 36: Experiment Control System
Detector Channels
Front End Electronics
Readout Network
HLT Farm
Storage
L0
Experiment Control System
DAQ
Detector Control System (HV, LV, GAS, Cooling, etc.)
External Systems (LHC, Technical Services, Safety, etc)
TFC
Monitoring Farm

## Slide 37: Control System
Control System Tasks
  Configuration
    Loading of parameters (according to RUN type)
    Enabling/disabling parts of the experiment
  Partitioning
    Ability to run parts of the experiment in stand-alone mode simultaneously
  Monitoring, Error Reporting & Recovery
    Detect and recover problems as fast as possible
  User Interfacing

## Slide 38: LHC Control Systems
Based on Commercial SCADA Systems (Supervisory Control and Data Acquisition)
  Commonly used for:
    Industrial Automation
    Control of Power Plants, etc.
  Providing:
    Configuration Database and Tools
    Run-time and Archiving of Monitoring Data including display and trending Tools.
    Alarm definition and reporting tools
    User Interface design tools

## Slide 39: Control Automation
Experiment runs 24/24 7/7
Only 2 (non-expert) operators
Automation
  Avoids human mistakes and speeds up standard procedures
  What can be automated
    Standard Procedures (Start of fill, End of fill)
    Detection and Recovery from (known) error situations
  How
    Finite State Machine tools
    Expert System Type Tools (automated rules)

## Slide 40: Monitoring
Two types of Monitoring
  Monitor Experiment’s Behaviour
    Automation tools whenever possible
    Good (homogeneous) User Interface
  Monitor the quality of the data
    Automatic histogram production and analysis
    User Interfaced histogram analysis
    Event displays (raw data)

## Slide 41: LHCb Run Control
  Homogeneous control of all parts of the experiment
  Stand alone operation (partitioning)
  Full Automation (Auto Pilot)

## Slide 42: LHCb Big Brother
  DCS
  Overall Control

## Slide 43: LHCb Histogram Presenter
  Monitor the quality of the data being acquired
  Compare with reference
  Automatic analyses

## Slide 44: LHCb Online Event Display

## Slide 45: Concluding Remarks
Trigger and Data Acquisition systems are becoming increasingly complex.
Luckily the requirements of telecommunications and computing in general have strongly contributed to the development of standard technologies:
  Hardware: Flash ADCs, Analog memories, PCs, Networks, Helical scan recording, Data compression, Image processing, ...
  Software: Distributed computing, Software development environments, Supervisory systems, ...
We can now build a large fraction of our systems using commercial components (customization will still be needed in the front-end).
It is essential that we keep up-to-date with the progress being made by industry.