## Slide 1: CRYOGENICS OPERATIONS 2008 CERN, Geneva, Switzerland
1
The world of cryogenics at CERN
L. Tavian, D. Delikaris

## Slide 2: Content
2
History & present inventory
Cryogenics at CERN
  LHC and its detectors
  Other detectors
  Test facilities and general services
  Cryogen storage and distribution
Cryogenics operation methodology
Conclusions

## Slide 3: Cryogenic history
3

## Slide 4: CERN accelerator complex
L. Tavian, D. Delikaris, 22th-26th September 2008
Cryogenics Operations 2008, CERN, Geneva, Switzerland

## Slide 5: Footprint of cryogenic plant
5
LHC accelerator
LHC detectors
Other detectors
Test areas
Central services
Standby

## Slide 6: Refrigeration capacity @ CERN
6

## Slide 7: Overall refrigeration capacity
7
T level | Overall installed capacity | # of plants
80 K | 5 MW | 9
4.5 K | 164 kW | 23
20 K | 60 W | 2
1.8 K | 19.6 kW | 9
300 mK | 350 mW | 1
Plants & ancillary equipment to be operated continuously with respect to CERN’s scientific program

## Slide 8: LHC accelerator in the tunnel
8
36’000 ton of cold mass
(superconducting magnets) distributed
over 26.7 km of the underground
accelerator to be cooled at 1.9 K

## Slide 9: LHC Accelerator Cryogenics
9
18 kW @ 4.5 K units
Typical
Helium Compressors station
&
Cold Boxes

## Slide 10: LHC Accelerator Cryogenics
10
IHI- Linde
Air Liquide
2.4 kW @ 1.9 K units
Warm Compressors &
Cold Boxes

## Slide 11: LHC Accelerator Cryogenics
11
LHC Cold Compressors (speed range 100 – 800 Hz)
IHI-Linde
Air Liquide

## Slide 12: ATLAS & CMS LHC Detectors
12
ATLAS, cooling at 4.5 K of a toroid superconducting magnetic system and central solenoid (1’275 t of cold mass)
ATLAS, liquid argon (83’000 liters) calorimeter system (660 t cold mass)
CMS, cooling at 4.5 K of a superconducting solenoid (225 t of cold mass)

## Slide 13: ATLAS Detector Cryogenics (LHC)
13
He Main Refrigerator: 6 kW @ 4.5 K
Nitrogen Refrigerator: 20 kW @ 84 K
He Shield Refrigerator: - 20 kW 40 - 80 K - 60 kW 300 - 100 K

## Slide 14: CMS Detector Cryogenics (LHC)
14
1.5 kW @ 4.5 K unit

## Slide 15: NA58 Compass Detector (SPS)
15
The Compass
magnet
& dilution
Refrigerator
(400 W @ 4.5 K
&
350 mW @ 300 mK)

## Slide 16: NA61, NA62 Detectors (SPS)
16
NA62: Liquid Krypton
calorimeter(10’000 liters)
NA61: 2 x 400 W @ 4.5 K
(2 magnets)

## Slide 17: CAST Detector
17
CERN Axion Solar Telescope
800 W @ 4.5 K

## Slide 18: Test Facilities for ATLAS & CMS (SPS)
18
CMS RD5 H2,
400 W @ 4.5 K
ATLAS H8, 400 W @ 4.5 K

## Slide 19: Test facilities & general services
19
…auxiliary
superconducting
magnets
400 W @ 4.5 K
400 W @ 4.5 K
Cryogenic
test benches
for wires,
cables and…

## Slide 20: SM18 Test benches (LHC magnets)
20
Test facilities & general services
12 cryogenic test benches for the LHC magnets nominally tested before underground installation (several years of intensive, 24h/24, 7d/7 cryogenic operation)

## Slide 21: Test facilities & general services
21
Central liquid helium
production in situ and distribution by means of mobile containers
(from 100 to 2000 liters)
of up to 250’000 liters
peryear
400 W @ 4.5 K
(R&D programs, accelerators & physics detectors without dedicated cryogenic plant)

## Slide 22: Test facilities & general services Cryogenic Laboratory (Cryolab)
CERN wide support for testing and validating technical solution.
Operation and development of special laboratory measuring equipment for CERN users.
Consultancy for scientific, technical study and development for cryogenics.
Cryogenics Operations 2008, CERN, Geneva, Switzerland
L. Tavian, D. Delikaris, 22th-26th September 2008

## Slide 23: Cryogen storage and distribution
Cryogenics Operations 2008, CERN, Geneva, Switzerland
L. Tavian, D. Delikaris, 22th-26th September 2008
LHC (accelerator & detectors) helium full inventory:
136 t, completed by July 08
(LHC accelerator storage capacity: 75 t in situ, 55 t of “virtual storage” in collaboration with industrial suppliers)
Present total helium inventory at CERN: 150 t
LHC (accelerator & detectors) liquid nitrogen needs for a full cool down: 11’500 t, completed by end of June 08
(LHC accelerator full cool down: 10’000 ton in 33 continuous days; equivalent to 500 standard transportable containers delivered by industrial suppliers)
Cryogen management (helium, nitrogen): Inventory

## Slide 24: Cryogen storage and distribution
Gas tank capacity [m3] | 250 (at 2.1 MPa) | 80 (at 1.5 & 2.1 MPa)
Number of units at CERN | 58 (58) | 65 (40)
Storage infrastructure (in brackets: capacity dedicated to LHC)
Liquid tank capacity [liter] | 120’000 (fixed) | 25’000 (fixed) | 11’000 (mobile) | 6’000 (fixed)
Number of units | 2 (2) | 1 | 2 | 1
Container capacity [liter] | 50’000 | 40’000 | 27’000 | 20’000 | 15’000 | 10’000 | 6’000
Number of units | 14 (13) | 2 | 1 | 2 | 2 | 1 | 7
Gas & liquid helium storage capacity at CERN
Liquid nitrogen storage capacity at CERN
Cryogenics Operations 2008, CERN, Geneva, Switzerland
L. Tavian, D. Delikaris, 22th-26th September 2008

## Slide 25: Cryogen storage and distribution
Cryogenics Operations 2008, CERN, Geneva, Switzerland
L. Tavian, D. Delikaris, 22th-26th September 2008
LHC helium storage
&
distribution

## Slide 26: Cryogen storage and distribution
L. Tavian, D. Delikaris, 22th-26th September 2008
Cryogenics Operations 2008, CERN, Geneva, Switzerland

## Slide 27: Cryogen storage and distribution
L. Tavian, D. Delikaris, 22th-26th September 2008
Cryogenics Operations 2008, CERN, Geneva, Switzerland

## Slide 28: Cryogenics operation methodology
Operation & Maintenance (O&M) of the cryogenic plants & ancillary equipments at CERN:
… - 1995 Under CERN’s direct responsibility
1995 - 2009 Strategic decision to outsource the O&M in the frame of a full task delegation contract by establishing partnership with specialized industrial services provider including performance evaluation with contractual indicators (bonus, penalties application)
Presently, 63 collaborators (42 operators, 17 for technical support & maintenance, 4 for the management team)
Cryogenics Operations 2008, CERN, Geneva, Switzerland
L. Tavian, D. Delikaris, 22th-26th September 2008

## Slide 29: Conclusions
Cryogenics at CERN: a long history, since 1960’s for physics and related R&D programs
Very large spectrum of applications and range of working conditions for the refrigeration plants (capacity, temperature, geographical location)
Use of “state of the art” industrial cryogenic equipment at the edge of the present technology (examples: 1.9 K cold compressors refrigeration units; 1200 g/s liquid helium circulators)
Very important cryogen inventory
Cryogenic operation reliability & availability to the users:
over the last 15 years, nearly 590’000 running hours have been cumulated with a mean non availability rate of < 1% depending on the application
Cryogenics Operations 2008, CERN, Geneva, Switzerland
L. Tavian, D. Delikaris, 22th-26th September 2008