## Slide 1: Alice overview New detector and chamber
ALICE TC

## Slide 2
The ALICE smaller diameter beampipe
ALICE wants to install a new beampipe in LS2. The reason is to build a new silicon tracker with greatly improved features in terms of determination of the distance of closest approach to the primary vertex, tracking efficiency at low transverse momenta, and read-out rate capabilities.
First request in LEB meeting 16.9.2010. Several options evaluated since then: outer diameter 3.4cm to 4cm, and wall thickness down to 500um.
The TDR for new ITS has recently been submitted to LHCC, and presented at the LHCC week the 2nd of December. Another detector, the MFT, has in the meantime been approved.
New beampipe ready for final LEB submission:
Outer diameter: 3.6cm (6cm now) and wall thickness of 0.8mm
Length: 550cm (+68cm wrt present pipe)
Bellows and flanges in Al (instead of SS)
Remote bakeout

## Slide 3
Present central beampipe
IP
Fixation Points
ALICE can align the beampipe – this was already done in 2008 to compensate a sag of support structures due to detector installation.

## Slide 4
MINI FRAME
DELPHI FRAME
CAGE OUT
CAGE IN
Beam pipe connection
Beam pipe in the Cage
Beam pipe external support
TPC
1)
2)
3)

## Slide 5
Detector/Service Barrel
Beampipe new support
Cage
New layout

## Slide 6
ALICE beam pipe central section, C-side
MFT
FIT
ITS
cage

## Slide 7
ALICE beam pipe central section

## Slide 8
ALICE beam pipe central section

## Slide 9
820
IP
5500
376
444
Central part
444
68.3
30
20
58.9
58.9
C-side Al section
A-side Al section
4680
4236
Central Be part
IP
OD 36
Layout new ALICE central beampipe (LS2) V6
A-side section
η=3.9
C-side section
OD 60
OD 50
OD 43
α=15°
α=15°
All dimensions in mm. Wall thickness 800μm everywhere (bellow thickness 300μm)
OD 60
Bellow OD56
α=15°
Bellow OD56
OD 43
63.8
15.4
α=15°
15
376
330.3
14
31.7
Support#3
Support#1
Support#2
204.3
26.1
21.4
18.7
4236
888
3956.1
9.4

## Slide 10: Tolerances
Quantity | Central part (A) | C-side part (B)
Construction and deflection | 0.6mm (1 | 0.5mm
Mechanical adjustment precision | 1.5mm (2 | 0.5mm
Survey to beamline uncertainty | 1.5mm (3 | 
Quad fiducial to beamline uncertainty | 0.5mm (3 | 
L3 movement | <0.5mm (4 | 
B field movement | <0.5mm | <5mm
Linear sum | 5.1mm | 8.5mm
LEB 21.3.12
LEB 4.11.10
LEB 22.2.12
LEB 23.3.12
A
B

## Slide 11: ALICE
Injection energy

## Slide 12: ALICE
Injection energy
min 13.1

## Slide 13: Conclusions
ALICE wants to install a new beampipe in LS2, with central section, 3.6cm OD and 88.8cm long, in Be
The tolerances are 5.1mm (central part) and 8.5mm (C-side part)
With these tolerances the n1 min (at injection) is around 13.1 sigma, and is located at the C-side of the pipe  to be confirmed by Massimo